## Load Shape (hidden)
Load Shape
JANUARY | 55557 | 7.355%
FEBRUARY | 89853 | 11.9%
MARCH | 72733 | 9.629%
APRIL | 74220 | 9.826%
MAY | 56732 | 7.511%
JUNE | 30749 | 4.071%
JULY | 44415 | 5.88%
AUGUST | 59442 | 7.869%
SEPTEMBER | 61657 | 8.163%
OCTOBER | 70000 | 9.267%
NOVEMBER | 70000 | 9.267%
DECEMBER | 70000 | 9.267%
Total | 755358

## Utility Summary
Dining Utility Summary
Building | Billing Month | 2017-07-01 | 2017-08-01 | 2017-09-01 | 2017-10-01 | 2017-11-01 | 2017-12-01 | 2018-01-01 | 2018-02-01 | 2018-03-01 | 2018-04-01 | 2018-05-01 | 2018-06-01 | Total | Check
VALLEY DINING | Electricity | 2487.43 | 3394.93 | 3646.98 | 3764.91 | 2917.23 | 2314.16 | 3247.72 | 2813.35 | 3279.53 | 3797.08 | 3506.93 | 3007.09 | 38177.34
COMMONS | Gas | 73.9 | 114.79 | 196.28 | 218.5 | 296.24 | 285.52 | 299.2 | 334.18 | -2419.05 | 612.31 | 300.97 | 49.82 | 362.66
| Water | 982.04 | 1516.4 | 3864.58 | 1604.36 | 1409.34 | 836.38 | 997.09 | 1728.57 | 1594.29 | 3437.4 | 2261.69 | 679.29 | 20911.43
| Chilled Water | 2468.78 | 2903.82 | 2527.91 | 1172.65 | 540.51 | 207.19 | 444.79 | 379.09 | 660.16 | 725.1 | 1113.37 | 2212.42 | 15355.79
Dining Expansion | Electricity | 6609.78 | 9564.93 | 9136.55 | 9265.22 | 7253.55 | 5733.99 | 9065.23 | 7750.43 | 8056.86 | 10052.07 | 7806.68 | 6618.68 | 96913.97
| Electricity | 9097.21 | 12959.86 | 12783.53 | 13030.13 | 10170.78 | 8048.15 | 12312.95 | 10563.78 | 11336.39 | 13849.15 | 11313.61 | 9625.77 | 135091.31 | 135091.31
| Gas | 73.9 | 114.79 | 196.28 | 218.5 | 296.24 | 285.52 | 299.2 | 334.18 | -2419.05 | 612.31 | 300.97 | 49.82 | 362.66 | 362.66
| Water | 982.04 | 1516.4 | 3864.58 | 1604.36 | 1409.34 | 836.38 | 997.09 | 1728.57 | 1594.29 | 3437.4 | 2261.69 | 679.29 | 20911.43 | 20911.43
| Chilled Water | 2468.78 | 2903.82 | 2527.91 | 1172.65 | 540.51 | 207.19 | 444.79 | 379.09 | 660.16 | 725.1 | 1113.37 | 2212.42 | 15355.79 | 15355.79
Total |  | 12621.93 | 17494.87 | 19372.3 | 16025.64 | 12416.87 | 9377.24 | 14054.03 | 13005.62 | 11171.79 | 18623.96 | 14989.64 | 12567.3 | 171721.19 | 171721.19
.
| CHECK Elec | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CHECK Gas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | 0 | 0 | 0 | 0
| CHECK Wat | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CHECK CHW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Notes:
(a) Electricity usage readings are available for each building separately.
(b) Water meter readings are available for Valley Dining and Terrace Center Commons, Tulare, Kern, and San Joaquin Halls only.
Other housing buildings are estimated based on a size-weighted average of readings for Tulare, Kern, and San Joaquin Halls.
Full-size buildings are 2/5 times (Tulare + Kern + San Joaquin Hall readings)
Half-size buildings are 1/5 times (Tulare + Kern + San Joaquin Hall readings)
(c) Gas meter readings at Valley terraces are available for 2 locations only: HOUSING/COMMONS/DINING & KITCHEN and LAUNDRY.
Individual buildings are estimated based on a weighted average of the two readings.
Valley Dining and Terrace Center Commons are 4/24 times the sum of both readings
Full-size housing buildings are 2/24 times the sum of both readings
Half-size housing buildings are 1/24 times the sum of both readings
(d) Chilled water usage readings are available through metering for each building separately.

## Electricity
Electricity
Building | Billing Month | 2017-07-01 | 2017-08-01 | 2017-09-01 | 2017-10-01 | 2017-11-01 | 2017-12-01 | 2018-01-01 | 2018-02-01 | 2018-03-01 | 2018-04-01 | 2018-05-01 | 2018-06-01 | Total | Check
| Read Date | 2017-08-03 | 2017-09-03 | 2017-10-01 | 2017-11-01 | 2017-12-01 | 2017-01-01 | 2018-02-01 | 2018-03-02 | 2017-04-01 | 2017-05-04 | 2017-06-01 | 2017-07-01
| Unit Cost ($/kWh) (a) | 0.15037 | 0.16031 | 0.15313 | 0.1637 | 0.14809 | 0.1437 | 0.14486 | 0.14745 | 0.15284 | 0.17472 | 0.1952 | 0.19396
VALLEY DINING | Reading (kWh)
COMMONS (Terraces Dining) | Usage (kWh) | 16542 | 21176.6158 | 23815.5 | 22999.3697 | 19698.8399 | 16104.0532 | 22418.9252 | 19080 | 21457.4658 | 21732.1606 | 17966.1237 | 15503.6448 | 238494.6987
| Charges | 2487.43 | 3394.93 | 3646.98 | 3764.91 | 2917.23 | 2314.16 | 3247.72 | 2813.35 | 3279.53 | 3797.08 | 3506.93 | 3007.09 | 38177.34
DINING EXPANSION | Usage (kWh) | 43956.5846 | 59663.4407 | 59663.44 | 56600.0463 | 48980.1586 | 39902.3939 | 62577.1187 | 52563.0246 | 52714.7435 | 57531.9507 | 39993.8957 | 34123.8387 | 96913.97
| Charges | 6609.78 | 9564.93 | 9136.55 | 9265.22 | 7253.55 | 5733.99 | 9065.23 | 7750.43 | 8056.86 | 10052.07 | 7806.68 | 6618.68 | 0
Total Usage (kWh) |  | 60498.5846 | 80840.0565 | 83478.94 | 79599.416 | 68678.9984 | 56006.4471 | 84996.0439 | 71643.0246 | 74172.2092 | 79264.1113 | 57960.0194 | 49627.4834 | 335408.6687 | 846765.3344
Total Charges |  | 9097.21 | 12959.86 | 12783.53 | 13030.13 | 10170.78 | 8048.15 | 12312.95 | 10563.78 | 11336.39 | 13849.15 | 11313.61 | 9625.77 | 38177.34 | 135091.31
Notes:
(a) Unit Cost is calculated from the main campus feeder (El Capitan) bill from PG&E (value comes from "electricity cost" tab
(b) The total for the Dining portion for Jovanna
Note on B5: ucmuser: = (Wilson + ElCap+ Sunpower +UCOP)/(Wilson+ElCap+Sunpower)

## Gas
Natural Gas
Building | Billing Month | 2017-07-01 | 2017-08-01 | 2017-09-01 | 2017-10-01 | 2017-11-01 | 2017-12-01 | 2018-01-01 | 2018-02-01 | 2018-03-01 | 2018-04-01 | 2018-05-01 | 2018-06-01 | Total | Check
| Read Date | 2017-08-03 | 2017-09-03 | 2017-10-01 | 2017-11-01 | 2017-12-01 | 2017-01-01 | 2018-02-01 | 2018-03-02 | 2017-04-01 | 2017-05-04 | 2017-06-01 | 2017-07-01
| Unit Cost ($/therm) (a) | 0.77656 | 0.77911 | 0.71353 | 0.74478 | 0.82768 | 0.85218 | 0.87689 | 0.9116 | 0.88771 | 0.83936 | 0.83554 | 0.85039
.
DINING BOILER | Reading (100 x cub-ft) | 56099 | 57677 | 60444 | 63416 | 67246 | 70901 | 74582 | 75150 | 42065 | 50373 | 54429 | 55048
| Usage (therms) | 1051 | 1578 | 2767 | 2972 | 3830 | 3655 | 3681 | 3668 | -33085 | 8308 | 4056 | 619 | -55048 | 0
| Charges | 816.17 | 1229.43 | 1974.33 | 2213.49 | 3170 | 3114.71 | 3227.85 | 3343.76 | -29369.96 | 6973.41 | 3388.96 | 526.39 | 608.54
LAUNDRY | Current Meter (100 x cub-ft) | 44738 | 44738 | 44738 | 44738 | 44738 | 44738 | 0 | 731 | 44738 | 44738 | 44738 | 44738
| Usage (therms) | 91 | 190 | 534 | 548.5 | 465 | 365.5 | 413.5 | 731 | 384.5 | 446 | 266.5 | 84 | 4519.5
| Charges | 70.6671 | 148.03 | 381.0242 | 408.5123 | 384.8692 | 311.471 | 362.596 | 666.3825 | 341.3253 | 374.3549 | 222.6722 | 71.4331 | 3743.3379
Total Usage (therms) |  | 1142 | 1768 | 3301 | 3520.5 | 4295 | 4020.5 | 4094.5 | 4399 | -32700.5 | 8754 | 4322.5 | 703 | -50528.5 | 7619.5
Total Charges |  | 73.9 | 114.79 | 196.28 | 218.5 | 296.24 | 285.52 | 299.2 | 334.18 | -2419.05 | 612.31 | 300.97 | 49.82 | 362.66 | 0
Notes:
(a) Unit Cost is calculated from the main campus supply bill from PG&E.
(b) There is multiple redudant metering for gas at Sierra Terraces. The reported reading is chosen first from manual readings at the common meter if available, then independent Bldg 1 and 2 meters if available, and then totalized readings in ALC when other readings are not available.
Note on B5: ucmuser: = PGE 0646833510
Note on G12: Gabriel: average usage from 2015/16 recharges
Note on H12: Gabriel: average usage from 2015/16 recharges
Note on I12: FMEnergy: last 2 year average
Note on K12: James Ly: Last 2 years' average

## Water
Water and Sewer
BUILDING | Billing Month | 2017-07-01 | 2017-08-01 | 2017-09-01 | 2017-10-01 | 2017-11-01 | 2017-12-01 | 2018-01-01 | 2018-02-01 | 2018-03-01 | 2018-04-01 | 2018-05-01 | 2018-06-01 | Total | Check
| Read Date | 2017-08-03 | 2017-09-03 | 2017-10-01 | 2017-11-01 | 2017-12-01 | 2017-01-01 | 2018-02-01 | 2018-03-02 | 2017-04-01 | 2017-05-04 | 2017-06-01 | 2017-07-01
| Unit Cost ($/1000 gal) | 5.5651 | 5.5709 | 5.5659 | 5.5698 | 5.5814 | 5.5889 | 5.6424 | 5.6039 | 5.589 | 5.5839 | 5.5716 | 5.5834
VALLEY | Reading (gal)
DINING COMMONS | Usage (gal) | 176465.24 | 272199.23 | 694331.92 | 288043.8 | 252505.3 | 149648.6 | 176714 | 308459 | 285252.6 | 615593.7 | 405928.91 | 121661.9 | 3746804.2
(metered) | Charges | 982.04 | 1516.4 | 3864.58 | 1604.36 | 1409.34 | 836.38 | 997.09 | 1728.57 | 1594.29 | 3437.4 | 2261.69 | 679.29 | 20911.43
Total Usage (gal) |  | 176465.24 | 272199.23 | 694331.92 | 288043.8 | 252505.3 | 149648.6 | 176714 | 308459 | 285252.6 | 615593.7 | 405928.91 | 121661.9 | 3746804.2 | 3746804.2
Total Charges |  | 982.04 | 1516.4 | 3864.58 | 1604.36 | 1409.34 | 836.38 | 997.09 | 1728.57 | 1594.29 | 3437.4 | 2261.69 | 679.29 | 20911.43 | 20911.43
Notes:
(a) Unit Cost is calculated from the main campus supply bill from the City of Merced.
(b) Estimated bills are a size-weighted average of readings for Tulare, Kern, and San Joaquin Halls.
Full-size buildings are 2/5 times (Tulare + Kern + San Joaquin Hall readings)
Half-size buildings are 1/5 times (Tulare + Kern + San Joaquin Hall readings)
(c) Beginning Sept 2011, water reading are based on more accurate metering in Aquacue system for Commons, Kern, Tulare, Mad, Kings, Fre, Stan, San J, Merced, Cal
Note on B5: ucmuser: =City of Merced $/(Actual*748/1000)

## Field Form (hidden)
Building | Electricity |  | Natural Gas |  | Water
| Read Date | 2007-04-05 | Read Date | 2007-04-05 | Read Date | 2007-04-05
VALLEY DINING COMMONS | Reading (kWh) | 397812 | Reading (100 x cub-ft) | 1893 | Reading (gal) | 652198
TERRACE CENTER COMMONS | Reading (kWh) | 191212 | Reading (100 x cub-ft) | 4741 | Reading (gal) | 1221637
KERN HALL | Reading (kWh) | 91887 |  |  | Reading (gal) | 660331
TULARE HALL | Reading (kWh) | 20160 |  |  | Reading (gal) | 990145
MADERA HALL | Reading (kWh) | 288887
KINGS HALL | Reading (kWh) | 24605
FRESNO HALL | Reading (kWh) | 45273
STANISLAUS HALL | Reading (kWh) | 39799
SAN JOAQUIN HALL | Reading (kWh) | 60674 |  |  | Reading (gal) | 329898
MERCED HALL | Reading (kWh) | 47599
CALAVERAS HALL | Reading (kWh) | 109408
GALLO REC AND WELLNESS | Reading (kWh) | 63988 | Reading (100 x cub-ft) | 9726

## Utilities Summary Old (hidden)
Utilities Summary for Valley Terraces - Fiscal Year 2006-2007
Building | Billing Month | Electricity | Natural Gas | Water & Sewer | Monthly Total | Cumulative Total
VALLEY DINING COMMONS | January | 1460.3729 | - | - | - | -
| February | 2164.4371 | - | - | - | -
| March | 2513.261 | - | - | 2513.261 | 2513.261
| April | 2178.8764 | 945.809 | 320.3594 | 3445.0449 | 5958.3058
| May | 2305.0138 | 616.466 | 174.405 | 3095.8848 | 9054.1906
| June | 1390.9625 | 289.834 | 197.5258 | 1878.3222 | 10932.5129
| July | 1826.4165 | 298.9398 | 30.4647 | 2155.821 | 13088.3338
| August | 2230.8818 | 368.8709 | 64.4558 | 2664.2085 | 15752.5423
| September | 2453.9424 | 528.2862 | 108.9513 | 3091.1799 | 18843.7222
| October | 3292.6608 | 790.9585 | 158.8095 | 4242.4288 | 23086.151
| November | 1161.6144 | 758.0279 | 61.9847 | 1981.6269 | 25067.7779
| December | 1344.3788 | 939.4219 | 43.2812 | 2327.082 | 27394.8599
TERRACE CENTER COMMONS | January | 754.1227 | - | - | - | -
| February | 1140.2634 | - | - | - | -
| March | 836.365 | - | - | 836.365 | 836.365
| April | 1097.5507 | 945.809 | 144.3108 | 2187.6706 | 3024.0356
| May | 826.3987 | 616.466 | 94.9113 | 1537.776 | 4561.8117
| June | 810.6287 | 289.834 | 8.5495 | 1109.0121 | 5670.8238
| July | 1084.3293 | 298.9398 | 14.3851 | 1397.6542 | 7068.478
| August | 1120.7236 | 368.8709 | 60.0157 | 1549.6101 | 8618.0881
| September | 1050.4176 | 528.2862 | 115.8982 | 1694.602 | 10312.6901
| October | 1410.4376 | 790.9585 | not read | 2201.3961 | 12514.0862
| November | 558.5715 | 758.0279 | not read | 1316.5994 | 13830.6856
| December | 774.5146 | 939.4219 | 515.1344 | 2229.0709 | 16059.7565
KERN HALL | January | 306.9624 | - | - | - | -
| February | 588.6444 | - | - | - | -
| March | 430.1472 | - | - | 430.1472 | 430.1472
| April | 493.7335 | 472.9045 | 64.8763 | 1031.5143 | 1461.6615
| May | 414.288 | 308.233 | 43.2465 | 765.7675 | 2227.429
| June | 146.0435 | 144.917 | 0.41415 | 291.3746 | 2518.8036
| July | 310.9388 | 149.4699 | 0.35416 | 460.7629 | 2979.5665
| August | 430.4203 | 184.4354 | 32.8047 | 647.6605 | 3627.227
| September | 657.7512 | 264.1431 | 92.685 | 1014.5793 | 4641.8062
| October | 873.7872 | 395.4792 | 128.2204 | 1397.4868 | 6039.2931
| November | 329.3384 | 379.0139 | 60.2997 | 768.652 | 6807.9451
| December | 274.8629 | 469.711 | 36.5241 | 781.098 | 7589.0431
TULARE HALL | January | 77.3324 | - | - | - | -
| February | 153.79 | - | - | - | -
| March | 93.4892 | - | - | 93.4892 | 93.4892
| April | 114.4994 | 472.9045 | 80.4247 | 667.8285 | 761.3177
| May | 102.695 | 308.233 | 87.4697 | 498.3977 | 1259.7155
| June | 33.7471 | 144.917 | 0.53434 | 179.1984 | 1438.9139
| July | 123.9333 | 149.4699 | 1.1057 | 274.5089 | 1713.4228
| August | 100.7147 | 184.4354 | 25.8029 | 310.953 | 2024.3758
| September | 116.6424 | 264.1431 | 69.6939 | 450.4794 | 2474.8551
| October | 139.1104 | 395.4792 | 114.3779 | 648.9676 | 3123.8227
| November | 48.3113 | 379.0139 | 62.7447 | 490.0699 | 3613.8926
| December | 51.5255 | 469.711 | 44.6002 | 565.8366 | 4179.7292
MADERA HALL | January | 976.563 | - | - | - | -
| February | 1999.4624 | - | - | - | -
| March | 1398.4628 | - | - | 1398.4628 | 1398.4628
| April | 1690.1747 | 472.9045 | 64.2001 | 2227.2793 | 3625.7421
| May | 1422.6106 | 308.233 | 54.265 | 1785.1086 | 5410.8507
| June | 510.5122 | 144.917 | 0.35188 | 655.7811 | 6066.6318
| July | 601.7458 | 149.4699 | 8.2464 | 759.462 | 6826.0938
| August | 1293.9023 | 184.4354 | 95.4979 | 1573.8356 | 8399.9294
| September | 1950.3576 | 264.1431 | 79.669 | 2294.1697 | 10694.0992
| October | 2738.9648 | 395.4792 | 118.9836 | 3253.4276 | 13947.5268
| November | 1016.0554 | 379.0139 | 57.9898 | 1453.0592 | 15400.5859
| December | 881.1034 | 469.711 | 38.5318 | 1389.3462 | 16789.9321
KINGS HALL | January | 106.9678 | - | - | - | -
| February | 151.958 | - | - | - | -
| March | 83.5106 | - | - | 83.5106 | 83.5106
| April | 97.3501 | 472.9045 | 64.2001 | 634.4547 | 717.9653
| May | 118.1779 | 308.233 | 54.265 | 480.676 | 1198.6413
| June | 115.6711 | 144.917 | 0.35188 | 260.94 | 1459.5812
| July | 136.6176 | 149.4699 | 8.2464 | 294.3339 | 1753.9151
| August | 143.8945 | 184.4354 | 95.4979 | 423.8278 | 2177.7429
| September | 156.0744 | 264.1431 | 79.669 | 499.8865 | 2677.6294
| October | 167.3672 | 395.4792 | 118.9836 | 681.83 | 3359.4595
| November | 60.3668 | 379.0139 | 57.9898 | 497.3706 | 3856.83
| December | 101.7809 | 469.711 | 38.5318 | 610.0237 | 4466.8537
FRESNO HALL | January | 154.4895 | - | - | - | -
| February | 311.4367 | - | - | - | -
| March | 219.2394 | - | - | 219.2394 | 219.2394
| April | 255.5954 | 236.4523 | 64.2001 | 556.2478 | 775.4872
| May | 223.1712 | 154.1165 | 54.265 | 431.5528 | 1207.0399
| June | 74.2436 | 72.4585 | 0.35188 | 147.054 | 1354.0939
| July | 159.1932 | 74.7349 | 8.2464 | 242.1746 | 1596.2685
| August | 214.7508 | 92.2177 | 95.4979 | 402.4664 | 1998.7349
| September | 314.3112 | 132.0716 | 39.8345 | 486.2173 | 2484.9522
| October | 404.1752 | 197.7396 | 59.4918 | 661.4066 | 3146.3588
| November | 154.0425 | 189.507 | 28.9949 | 372.5444 | 3518.9032
| December | 121.3751 | 234.8555 | 19.2659 | 375.4965 | 3894.3996
STANISLAUS HALL | January | 171.0607 | - | - | - | -
| February | 355.0186 | - | - | - | -
| March | 251.6942 | - | - | 251.6942 | 251.6942
| April | 272.642 | 472.9045 | 64.2001 | 809.7466 | 1061.4408
| May | 227.1629 | 308.233 | 54.265 | 589.6609 | 1651.1017
| June | 63.654 | 144.917 | 0.35188 | 208.9229 | 1860.0246
| July | 111.0163 | 149.4699 | 8.2464 | 268.7326 | 2128.7572
| August | 143.7797 | 184.4354 | 95.4979 | 423.713 | 2552.4702
| September | 220.5648 | 264.1431 | 79.669 | 564.3769 | 3116.8471
| October | 319.5192 | 395.4792 | 118.9836 | 833.982 | 3950.8292
| November | 110.1069 | 379.0139 | 57.9898 | 547.1107 | 4497.9398
| December | 102.4159 | 469.711 | 38.5318 | 610.6587 | 5108.5985
SAN JOAQUIN HALL | January | 205.343 | - | - | - | -
| February | 453.7527 | - | - | - | -
| March | 313.6006 | - | - | 313.6006 | 313.6006
| April | 362.4957 | 236.4523 | 47.3008 | 646.2487 | 959.8493
| May | 306.6336 | 154.1165 | 32.0775 | 492.8276 | 1452.6769
| June | 101.0086 | 72.4585 | 0.10571 | 173.5728 | 1626.2497
| July | 179.0924 | 74.7349 | 23.2794 | 277.1067 | 1903.3564
| August | 277.798 | 92.2177 | 227.8846 | 597.9003 | 2501.2566
| September | 350.9448 | 132.0716 | 36.9332 | 519.9495 | 3021.2062
| October | 472.7008 | 197.7396 | 54.8194 | 725.2598 | 3746.4659
| November | 171.456 | 189.507 | 21.8617 | 382.8247 | 4129.2906
| December | 156.4813 | 234.8555 | 14.8971 | 406.2339 | 4535.5245
MERCED HALL | January | 213.6725 | - | - | - | -
| February | 431.9618 | - | - | - | -
| March | 287.8305 | - | - | 287.8305 | 287.8305
| April | 361.058 | 472.9045 | 64.2001 | 898.1626 | 1185.9931
| May | 337.5994 | 308.233 | 54.265 | 700.0974 | 1886.0905
| June | 101.0086 | 144.917 | 0.35188 | 246.2774 | 2132.368
| July | 233.6696 | 149.4699 | 8.2464 | 391.3859 | 2523.7538
| August | 253.337 | 184.4354 | 95.4979 | 533.2703 | 3057.0242
| September | 139.6656 | 264.1431 | 79.669 | 483.4777 | 3540.5019
| October | 114.8576 | 395.4792 | 118.9836 | 629.3204 | 4169.8223
| November | 36.2558 | 379.0139 | 57.9898 | 473.2596 | 4643.0819
| December | 57.3311 | 469.711 | 38.5318 | 565.5739 | 5208.6558
CALAVERAS HALL | January | 444.2669 | - | - | - | -
| February | 912.905 | - | - | - | -
| March | 618.7726 | - | - | 618.7726 | 618.7726
| April | 697.6759 | 472.9045 | 64.2001 | 1234.7805 | 1853.553
| May | 578.5517 | 308.233 | 54.265 | 941.0497 | 2794.6028
| June | 230.7604 | 144.917 | 0.35188 | 376.0292 | 3170.632
| July | 401.5905 | 149.4699 | 8.2464 | 559.3068 | 3729.9388
| August | 616.1166 | 184.4354 | 95.4979 | 896.0499 | 4625.9887
| September | 432.0984 | 264.1431 | 79.669 | 775.9105 | 5401.8992
| October | 486.5432 | 395.4792 | 118.9836 | 1001.006 | 6402.9052
| November | 218.0706 | 379.0139 | 57.9898 | 655.0744 | 7057.9796
| December | 352.7861 | 469.711 | 38.5318 | 861.0289 | 7919.0085
TOTAL | January | 4871.1536 | - | - | - | -
| February | 8663.63 | - | - | - | -
| March | 7046.373 | - | - | 7046.373 | 7046.373
| April | 7621.6518 | 5674.8542 | 1042.4725 | 14338.9785 | 21385.3516
| May | 6862.3027 | 3698.7962 | 757.7002 | 11318.7991 | 32704.1507
| June | 3578.2402 | 1739.0038 | 209.2408 | 5526.4848 | 38230.6354
| July | 5168.5433 | 1793.6386 | 119.0673 | 7081.2493 | 45311.8847
| August | 6826.3193 | 2213.2251 | 983.9509 | 10023.4954 | 55335.3801
| September | 7842.7704 | 3169.7172 | 862.3413 | 11874.8289 | 67210.209
| October | 10420.124 | 4745.751 | 1110.6368 | 16276.5118 | 83486.7207
| November | 3864.1896 | 4548.1673 | 525.8347 | 8938.1916 | 92424.9123
| December | 4218.5556 | 5636.5314 | 866.3622 | 10721.4492 | 103146.3615
Notes:
(a) Electricity bills are based on manual reads of meters for each building.
(b) Water meter readings are available for Valley Dining and Terrace Center Commons, Tulare, Kern, and San Joaquin Halls only.
Other housing buildings are estimated based on a size-weighted average of readings for Tulare, Kern, and San Joaquin Halls.
Full-size buildings are 2/5 times (Tulare + Kern + San Joaquin Hall readings)
Half-size buildings are 1/5 times (Tulare + Kern + San Joaquin Hall readings)
(c) Gas meter readings are available for 2 locations only: HOUSING/COMMONS/DINING & KITCHEN and LAUNDRY.
Individual buildings are estimated based on a weighted average of the two readings.
Valley Dining and Terrace Center Commons are 4/24 times the sum of both readings
Full-size housing buildings are 2/24 times the sum of both readings
Half-size housing buildings are 1/24 times the sum of both readings
(d) Water bills for October and November are incomplete, as meter was not read at Terrace Center Commons. Meter read has
been requested for early January 2007.
Note on C140: John Elliott: Corrected from previous versions
Note on F140: John Elliott: Corrected from previous versions

## Electric old (hidden)
Electricity Bill Details - 2006
Building | Billing Month | Read Date | Reading (kWh) | Usage (kWh) | Unit Cost ($/kWh) (a) | Charges
VALLEY DINING COMMONS | JANUARY | 2007-02-06 | 360022 | 16656 | 0.087678 | 1460.3729
| FEBRUARY | 2006-03-06 | 154174 | 22448 | 0.09642 | 2164.4371 | Ratio of peak month energy over last year (Oct 06) to Feb 06 energy | 1.2822
| MARCH | 2006-04-04 | 180116 | 25942 | 0.09688 | 2513.261 | Ratio of max summer energy last year (Aug 06) to Feb 06 energy | 0.86538
| APRIL | 2006-05-01 | 201334 | 21218 | 0.10269 | 2178.8764 | Ratio of Commons plus Dining annual energy to Dining annual energy | 1.4731
| MAY | 2006-06-01 | 220390 | 19056 | 0.12096 | 2305.0138
| JUNE | 2006-06-28 | 232343 | 11953 | 0.11637 | 1390.9625
| JULY | 2006-07-27 | 248038 | 15695 | 0.11637 | 1826.4165
| AUGUST | 2006-09-05 | 267464 | 19426 | 0.11484 | 2230.8818
| SEPTEMBER | 2006-10-03 | 286756 | 19292 | 0.1272 | 2453.9424
| OCTOBER | 2006-11-14 | 315538 | 28782 | 0.1144 | 3292.6608
| NOVEMBER | 2006-12-05 | 328546 | 13008 | 0.0893 | 1161.6144
| DECEMBER | 2006-01-08 | 343366 | 14820 | 0.090714 | 1344.3788
TERRACE CENTER COMMONS | JANUARY | 2007-02-06 | 174797 | 8601 | 0.087678 | 754.1227
| FEBRUARY | 2006-03-06 | 78620 | 11826 | 0.09642 | 1140.2634
| MARCH | 2006-04-04 | 87253 | 8633 | 0.09688 | 836.365
| APRIL | 2006-05-01 | 97941 | 10688 | 0.10269 | 1097.5507
| MAY | 2006-06-01 | 104773 | 6832 | 0.12096 | 826.3987
| JUNE | 2006-06-28 | 111739 | 6966 | 0.11637 | 810.6287
| JULY | 2006-07-27 | 121057 | 9318 | 0.11637 | 1084.3293
| AUGUST | 2006-09-05 | 130816 | 9759 | 0.11484 | 1120.7236
| SEPTEMBER | 2006-10-03 | 139074 | 8258 | 0.1272 | 1050.4176
| OCTOBER | 2006-11-14 | 151403 | 12329 | 0.1144 | 1410.4376
| NOVEMBER | 2006-12-05 | 157658 | 6255 | 0.0893 | 558.5715
| DECEMBER | 2006-01-08 | 166196 | 8538 | 0.090714 | 774.5146
KERN HALL | JANUARY | 2006-01-30 | 32372 | 3501 | 0.087678 | 306.9624
| FEBRUARY | 2006-03-06 | 38477 | 6105 | 0.09642 | 588.6444
| MARCH | 2006-04-04 | 42917 | 4440 | 0.09688 | 430.1472
| APRIL | 2006-05-01 | 47725 | 4808 | 0.10269 | 493.7335
| MAY | 2006-06-01 | 51150 | 3425 | 0.12096 | 414.288
| JUNE | 2006-06-28 | 52405 | 1255 | 0.11637 | 146.0435
| JULY | 2006-07-27 | 55077 | 2672 | 0.11637 | 310.9388
| AUGUST | 2006-09-05 | 58825 | 3748 | 0.11484 | 430.4203
| SEPTEMBER | 2006-10-03 | 63996 | 5171 | 0.1272 | 657.7512
| OCTOBER | 2006-11-14 | 71634 | 7638 | 0.1144 | 873.7872
| NOVEMBER | 2006-12-05 | 75322 | 3688 | 0.0893 | 329.3384
| DECEMBER | 2006-01-08 | 78352 | 3030 | 0.090714 | 274.8629
TULARE HALL | JANUARY | 2006-01-30 | 8065 | 882 | 0.087678 | 77.3324
| FEBRUARY | 2006-03-06 | 9664 | 1595 | 0.09642 | 153.79
| MARCH | 2006-04-04 | 10629 | 965 | 0.09688 | 93.4892
| APRIL | 2006-05-01 | 11744 | 1115 | 0.10269 | 114.4994
| MAY | 2006-06-01 | 12593 | 849 | 0.12096 | 102.695
| JUNE | 2006-06-28 | 12883 | 290 | 0.11637 | 33.7471
| JULY | 2006-07-27 | 13948 | 1065 | 0.11637 | 123.9333
| AUGUST | 2006-09-05 | 14825 | 877 | 0.11484 | 100.7147
| SEPTEMBER | 2006-10-03 | 15742 | 917 | 0.1272 | 116.6424
| OCTOBER | 2006-11-14 | 16958 | 1216 | 0.1144 | 139.1104
| NOVEMBER | 2006-12-05 | 17499 | 541 | 0.0893 | 48.3113
| DECEMBER | 2006-01-08 | 18067 | 568 | 0.090714 | 51.5255
MADERA HALL | JANUARY | 2006-01-30 | 100061 | 11138 | 0.087678 | 976.563
| FEBRUARY | 2006-03-06 | 120798 | 20737 | 0.09642 | 1999.4624
| MARCH | 2006-04-04 | 135233 | 14435 | 0.09688 | 1398.4628
| APRIL | 2006-05-01 | 151692 | 16459 | 0.10269 | 1690.1747
| MAY | 2006-06-01 | 163453 | 11761 | 0.12096 | 1422.6106
| JUNE | 2006-06-28 | 167840 | 4387 | 0.11637 | 510.5122
| JULY | 2006-07-27 | 173011 | 5171 | 0.11637 | 601.7458
| AUGUST | 2006-09-05 | 184278 | 11267 | 0.11484 | 1293.9023
| SEPTEMBER | 2006-10-03 | 199611 | 15333 | 0.1272 | 1950.3576
| OCTOBER | 2006-11-14 | 223553 | 23942 | 0.1144 | 2738.9648
| NOVEMBER | 2006-12-05 | 234931 | 11378 | 0.0893 | 1016.0554
| DECEMBER | 2006-01-08 | 244644 | 9713 | 0.090714 | 881.1034
KINGS HALL | JANUARY | 2006-01-30 | 9628 | 1220 | 0.087678 | 106.9678
| FEBRUARY | 2006-03-06 | 11206 | 1576 | 0.09642 | 151.958
| MARCH | 2006-04-04 | 12068 | 862 | 0.09688 | 83.5106
| APRIL | 2006-05-01 | 13016 | 948 | 0.10269 | 97.3501
| MAY | 2006-06-01 | 13993 | 977 | 0.12096 | 118.1779
| JUNE | 2006-06-28 | 14987 | 994 | 0.11637 | 115.6711
| JULY | 2006-07-27 | 16161 | 1174 | 0.11637 | 136.6176
| AUGUST | 2006-09-05 | 17414 | 1253 | 0.11484 | 143.8945
| SEPTEMBER | 2006-10-03 | 18641 | 1227 | 0.1272 | 156.0744
| OCTOBER | 2006-11-14 | 20104 | 1463 | 0.1144 | 167.3672
| NOVEMBER | 2006-12-05 | 20780 | 676 | 0.0893 | 60.3668
| DECEMBER | 2006-01-08 | 21902 | 1122 | 0.090714 | 101.7809
FRESNO HALL | JANUARY | 2006-01-30 | 15610 | 1762 | 0.087678 | 154.4895
| FEBRUARY | 2006-03-06 | 18840 | 3230 | 0.09642 | 311.4367
| MARCH | 2006-04-04 | 21103 | 2263 | 0.09688 | 219.2394
| APRIL | 2006-05-01 | 23592 | 2489 | 0.10269 | 255.5954
| MAY | 2006-06-01 | 25437 | 1845 | 0.12096 | 223.1712
| JUNE | 2006-06-28 | 26075 | 638 | 0.11637 | 74.2436
| JULY | 2006-07-27 | 27443 | 1368 | 0.11637 | 159.1932
| AUGUST | 2006-09-05 | 29313 | 1870 | 0.11484 | 214.7508
| SEPTEMBER | 2006-10-03 | 31784 | 2471 | 0.1272 | 314.3112
| OCTOBER | 2006-11-14 | 35317 | 3533 | 0.1144 | 404.1752
| NOVEMBER | 2006-12-05 | 37042 | 1725 | 0.0893 | 154.0425
| DECEMBER | 2006-01-08 | 38380 | 1338 | 0.090714 | 121.3751
STANISLAUS HALL | JANUARY | 2006-01-30 | 14754 | 1951 | 0.087678 | 171.0607
| FEBRUARY | 2006-03-06 | 18436 | 3682 | 0.09642 | 355.0186
| MARCH | 2006-04-04 | 21034 | 2598 | 0.09688 | 251.6942
| APRIL | 2006-05-01 | 23689 | 2655 | 0.10269 | 272.642
| MAY | 2006-06-01 | 25567 | 1878 | 0.12096 | 227.1629
| JUNE | 2006-06-28 | 26114 | 547 | 0.11637 | 63.654
| JULY | 2006-07-27 | 27068 | 954 | 0.11637 | 111.0163
| AUGUST | 2006-09-05 | 28320 | 1252 | 0.11484 | 143.7797
| SEPTEMBER | 2006-10-03 | 30054 | 1734 | 0.1272 | 220.5648
| OCTOBER | 2006-11-14 | 32847 | 2793 | 0.1144 | 319.5192
| NOVEMBER | 2006-12-05 | 34080 | 1233 | 0.0893 | 110.1069
| DECEMBER | 2006-01-08 | 35209 | 1129 | 0.090714 | 102.4159
SAN JOAQUIN HALL | JANUARY | 2006-01-30 | 23118 | 2342 | 0.087678 | 205.343
| FEBRUARY | 2006-03-06 | 27826 | 4706 | 0.09642 | 453.7527
| MARCH | 2006-04-04 | 31063 | 3237 | 0.09688 | 313.6006
| APRIL | 2006-05-01 | 34593 | 3530 | 0.10269 | 362.4957
| MAY | 2006-06-01 | 37128 | 2535 | 0.12096 | 306.6336
| JUNE | 2006-06-28 | 37996 | 868 | 0.11637 | 101.0086
| JULY | 2006-07-27 | 39535 | 1539 | 0.11637 | 179.0924
| AUGUST | 2006-09-05 | 41954 | 2419 | 0.11484 | 277.798
| SEPTEMBER | 2006-10-03 | 44713 | 2759 | 0.1272 | 350.9448
| OCTOBER | 2006-11-14 | 48845 | 4132 | 0.1144 | 472.7008
| NOVEMBER | 2006-12-05 | 50765 | 1920 | 0.0893 | 171.456
| DECEMBER | 2006-01-08 | 52490 | 1725 | 0.090714 | 156.4813
MERCED HALL | JANUARY | 2006-01-30 | 23547 | 2437 | 0.087678 | 213.6725
| FEBRUARY | 2006-03-06 | 28027 | 4480 | 0.09642 | 431.9618
| MARCH | 2006-04-04 | 30998 | 2971 | 0.09688 | 287.8305
| APRIL | 2006-05-01 | 34514 | 3516 | 0.10269 | 361.058
| MAY | 2006-06-01 | 37305 | 2791 | 0.12096 | 337.5994
| JUNE | 2006-06-28 | 38173 | 868 | 0.11637 | 101.0086
| JULY | 2006-07-27 | 40181 | 2008 | 0.11637 | 233.6696
| AUGUST | 2006-09-05 | 42387 | 2206 | 0.11484 | 253.337
| SEPTEMBER | 2006-10-03 | 43485 | 1098 | 0.1272 | 139.6656
| OCTOBER | 2006-11-14 | 44489 | 1004 | 0.1144 | 114.8576
| NOVEMBER | 2006-12-05 | 44895 | 406 | 0.0893 | 36.2558
| DECEMBER | 2006-01-08 | 45532 | 632 | 0.090714 | 57.3311
CALAVERAS HALL | JANUARY | 2006-01-30 | 46264 | 5067 | 0.087678 | 444.2669
| FEBRUARY | 2006-03-06 | 55732 | 9468 | 0.09642 | 912.905
| MARCH | 2006-04-04 | 62119 | 6387 | 0.09688 | 618.7726
| APRIL | 2006-05-01 | 68913 | 6794 | 0.10269 | 697.6759
| MAY | 2006-06-01 | 73696 | 4783 | 0.12096 | 578.5517
| JUNE | 2006-06-28 | 75679 | 1983 | 0.11637 | 230.7604
| JULY | 2006-07-27 | 79130 | 3451 | 0.11637 | 401.5905
| AUGUST | 2006-09-05 | 84495 | 5365 | 0.11484 | 616.1166
| SEPTEMBER | 2006-10-03 | 87892 | 3397 | 0.1272 | 432.0984
| OCTOBER | 2006-11-14 | 92145 | 4253 | 0.1144 | 486.5432
| NOVEMBER | 2006-12-05 | 94587 | 2442 | 0.0893 | 218.0706
| DECEMBER | 2006-01-08 | 98476 | 3889 | 0.090714 | 352.7861
Notes:
(a) Unit Cost is calculated from the main campus feeder (El Capitan) bill from PG&E.

## Gas Old (hidden)
Natural Gas Bill Details - 2006
Building | Billing Month | Date | Prior Meter (100 x cub-ft) | Current Meter (100 x cub-ft) | Usage (therms) | Unit Cost ($/therm) (a) | Charges
HOUSING/COMMONS/DINING & KITCHEN | April | 2006-05-01 | 48534 | 53936 | 5402 |  | 5344.4147
| May | 2006-06-01 | 53936 | 57534 | 3598 |  | 3504.0202
| June | 2006-06-28 | 57534 | 59617 | 2083 |  | 1705.4354
| July | 2006-07-27 | 59617 | 61755 | 2138 |  | 1759.0823
| August | 2006-09-05 | 61755 | 64169 | 2414 |  | 2124.3441
| September | 2006-10-03 | 64169 | 67411 | 3242 | 0.9132 | 2960.5944
| October | 2006-11-14 | 67411 | 73404 | 5993 | 0.7521 | 4507.3353
| November | 2006-12-05 | 73404 | 77739 | 4335 | 1.0069 | 4364.9115
| December | 2006-01-08 | 77739 | 83671 | 5932 | 0.92145 | 5466.0625
LAUNDRY | April | 2006-05-01 | 2444 | 2778 | 334 |  | 330.4396
| May | 2006-06-01 | 2778 | 2978 | 200 |  | 194.776
| June | 2006-06-28 | 2978 | 3019 | 41 |  | 33.5683
| July | 2006-07-27 | 3019 | 3061 | 42 |  | 34.5563
| August | 2006-09-05 | 3061 | 3162 | 101 |  | 88.881
| September | 2006-10-03 | 3162 | 3391 | 229 | 0.9132 | 209.1228
| October | 2006-11-14 | 3391 | 3708 | 317 | 0.7521 | 238.4157
| November | 2006-12-05 | 3708 | 3890 | 182 | 1.0069 | 183.2558
| December | 2006-01-08 | 3890 | 4075 | 185 | 0.92145 | 170.4689
Notes:
(a) Unit Cost is calculated from the main campus supply bill from PG&E.

## Water Old (hidden)
Water & Sewer Bill Details - 2006
BUILDING | Billing Month | Read Date | Reading (gal) | Usage (gal) | Unit Cost ($/1000 gal) | Charges
VALLEY DINING COMMONS (metered) | JANUARY
FEBRUARY
MARCH
| APRIL | 2006-05-01 | 218403 | 218403 | 1.4668 | 320.3594
| MAY | 2006-06-01 | 0 | 119456 | 1.46 | 174.405
| JUNE | 2006-06-28 | 136405 | 136405 | 1.4481 | 197.5258
| JULY | 2006-07-27 | 157566 | 21161 | 1.4397 | 30.4647
| AUGUST | 2006-09-05 | 202655 | 45089 | 1.4295 | 64.4558
| SEPTEMBER | 2006-10-03 | 279159 | 76504 | 1.4241 | 108.9513
| OCTOBER | 2006-11-14 | 390168 | 111009 | 1.4306 | 158.8095
| NOVEMBER | 2006-12-05 | 433393 | 43225 | 1.434 | 61.9847
| DECEMBER | 2006-01-08 | 463056 | 29663 | 1.4591 | 43.2812
TERRACE CENTER COMMONS (metered) | JANUARY
FEBRUARY
| MARCH |  | 357993
| APRIL | 2006-05-02 | 456376 | 98383 | 1.4668 | 144.3108
| MAY | 2006-06-01 | 521384 | 65008 | 1.46 | 94.9113
| JUNE | 2006-06-28 | 527288 | 5904 | 1.4481 | 8.5495
| JULY | 2006-07-27 | 537280 | 9992 | 1.4397 | 14.3851
| AUGUST | 2006-09-05 | 579263 | 41983 | 1.4295 | 60.0157
| SEPTEMBER | 2006-10-03 | 660645 | 81382 | 1.4241 | 115.8982
| OCTOBER | 2006-11-14 | not read | not read | 1.4306 | not read
| NOVEMBER | 2006-12-05 | not read | not read | 1.434 | not read
| DECEMBER | 2006-01-08 | 1013695 | 353050 | 1.4591 | 515.1344
KERN HALL (metered) | JANUARY
FEBRUARY
| MARCH |  | 187391
| APRIL | 2006-05-01 | 231620 | 44229 | 1.4668 | 64.8763
| MAY | 2006-06-01 | 261241 | 29621 | 1.46 | 43.2465
| JUNE | 2006-06-28 | 261527 | 286 | 1.4481 | 0.41415
| JULY | 2006-07-27 | 261773 | 246 | 1.4397 | 0.35416
| AUGUST | 2006-09-05 | 284721 | 22948 | 1.4295 | 32.8047
| SEPTEMBER | 2006-10-03 | 349803 | 65082 | 1.4241 | 92.685
| OCTOBER | 2006-11-14 | 439430 | 89627 | 1.4306 | 128.2204
| NOVEMBER | 2006-12-05 | 481480 | 42050 | 1.434 | 60.2997
| DECEMBER | 2006-01-08 | 506512 | 25032 | 1.4591 | 36.5241
TULARE HALL (metered) | JANUARY
FEBRUARY
| MARCH |  | 507695
| APRIL | 2006-05-01 | 562524 | 54829 | 1.4668 | 80.4247
| MAY | 2006-06-01 | 622435 | 59911 | 1.46 | 87.4697
| JUNE | 2006-06-28 | 622804 | 369 | 1.4481 | 0.53434
| JULY | 2006-07-27 | 623572 | 768 | 1.4397 | 1.1057
| AUGUST | 2006-09-05 | 641622 | 18050 | 1.4295 | 25.8029
| SEPTEMBER | 2006-10-03 | 690560 | 48938 | 1.4241 | 69.6939
| OCTOBER | 2006-11-14 | 770511 | 79951 | 1.4306 | 114.3779
| NOVEMBER | 2006-12-05 | 814266 | 43755 | 1.434 | 62.7447
| DECEMBER | 2006-01-08 | 844833 | 30567 | 1.4591 | 44.6002
MADERA HALL (estimated) (b) | JANUARY
FEBRUARY
MARCH
| APRIL | 2006-05-01 |  | 43768 | 1.4668 | 64.2001
| MAY | 2006-06-01 |  | 37168 | 1.46 | 54.265
| JUNE | 2006-06-28 |  | 243 | 1.4481 | 0.35188
| JULY | 2006-07-27 |  | 5728 | 1.4397 | 8.2464
| AUGUST | 2006-09-05 |  | 66804 | 1.4295 | 95.4979
| SEPTEMBER | 2006-10-03 |  | 55942.4 | 1.4241 | 79.669
| OCTOBER | 2006-11-14 |  | 83170.4 | 1.4306 | 118.9836
| NOVEMBER | 2006-12-05 |  | 40439.2 | 1.434 | 57.9898
| DECEMBER | 2006-01-08 |  | 26408 | 1.4591 | 38.5318
KINGS HALL (estimated) (b) | JANUARY
FEBRUARY
MARCH
| APRIL | 2006-05-01 |  | 43768 | 1.4668 | 64.2001
| MAY | 2006-06-01 |  | 37168 | 1.46 | 54.265
| JUNE | 2006-06-28 |  | 243 | 1.4481 | 0.35188
| JULY | 2006-07-27 |  | 5728 | 1.4397 | 8.2464
| AUGUST | 2006-09-05 |  | 66804 | 1.4295 | 95.4979
| SEPTEMBER | 2006-10-03 |  | 55942.4 | 1.4241 | 79.669
| OCTOBER | 2006-11-14 |  | 83170.4 | 1.4306 | 118.9836
| NOVEMBER | 2006-12-05 |  | 40439.2 | 1.434 | 57.9898
| DECEMBER | 2006-01-08 |  | 26408 | 1.4591 | 38.5318
FRESNO HALL (estimated) (b) | JANUARY
FEBRUARY
MARCH
| APRIL | 2006-05-01 |  | 43768 | 1.4668 | 64.2001
| MAY | 2006-06-01 |  | 37168 | 1.46 | 54.265
| JUNE | 2006-06-28 |  | 243 | 1.4481 | 0.35188
| JULY | 2006-07-27 |  | 5728 | 1.4397 | 8.2464
| AUGUST | 2006-09-05 |  | 66804 | 1.4295 | 95.4979
| SEPTEMBER | 2006-10-03 |  | 27971.2 | 1.4241 | 39.8345
| OCTOBER | 2006-11-14 |  | 41585.2 | 1.4306 | 59.4918
| NOVEMBER | 2006-12-05 |  | 20219.6 | 1.434 | 28.9949
| DECEMBER | 2006-01-08 |  | 13204 | 1.4591 | 19.2659
STANISLAUS HALL (estimated) (b) | JANUARY
FEBRUARY
MARCH
| APRIL | 2006-05-01 |  | 43768 | 1.4668 | 64.2001
| MAY | 2006-06-01 |  | 37168 | 1.46 | 54.265
| JUNE | 2006-06-28 |  | 243 | 1.4481 | 0.35188
| JULY | 2006-07-27 |  | 5728 | 1.4397 | 8.2464
| AUGUST | 2006-09-05 |  | 66804 | 1.4295 | 95.4979
| SEPTEMBER | 2006-10-03 |  | 55942.4 | 1.4241 | 79.669
| OCTOBER | 2006-11-14 |  | 83170.4 | 1.4306 | 118.9836
| NOVEMBER | 2006-12-05 |  | 40439.2 | 1.434 | 57.9898
| DECEMBER | 2006-01-08 |  | 26408 | 1.4591 | 38.5318
SAN JOAQUIN HALL (metered) | JANUARY
FEBRUARY
| MARCH |  | 112633
| APRIL | 2006-05-01 | 144880 | 32247 | 1.4668 | 47.3008
| MAY | 2006-06-01 | 166851 | 21971 | 1.46 | 32.0775
| JUNE | 2006-06-28 | 166924 | 73 | 1.4481 | 0.10571
| JULY | 2006-07-27 | 16170 | 16170 | 1.4397 | 23.2794
| AUGUST | 2006-09-05 | 175583 | 159413 | 1.4295 | 227.8846
| SEPTEMBER | 2006-10-03 | 201419 | 25836 | 1.4241 | 36.9332
| OCTOBER | 2006-11-14 | 239767 | 38348 | 1.4306 | 54.8194
| NOVEMBER | 2006-12-05 | 255060 | 15293 | 1.434 | 21.8617
| DECEMBER | 2006-01-08 | 265481 | 10421 | 1.4591 | 14.8971
MERCED HALL (estimated) (b) | JANUARY
FEBRUARY
MARCH
| APRIL | 2006-05-01 |  | 43768 | 1.4668 | 64.2001
| MAY | 2006-06-01 |  | 37168 | 1.46 | 54.265
| JUNE | 2006-06-28 |  | 243 | 1.4481 | 0.35188
| JULY | 2006-07-27 |  | 5728 | 1.4397 | 8.2464
| AUGUST | 2006-09-05 |  | 66804 | 1.4295 | 95.4979
| SEPTEMBER | 2006-10-03 |  | 55942.4 | 1.4241 | 79.669
| OCTOBER | 2006-11-14 |  | 83170.4 | 1.4306 | 118.9836
| NOVEMBER | 2006-12-05 |  | 40439.2 | 1.434 | 57.9898
| DECEMBER | 2006-01-08 |  | 26408 | 1.4591 | 38.5318
CALAVERAS HALL (estimated) (b) | JANUARY
FEBRUARY
MARCH
| APRIL | 2006-05-01 |  | 43768 | 1.4668 | 64.2001
| MAY | 2006-06-01 |  | 37168 | 1.46 | 54.265
| JUNE | 2006-06-28 |  | 243 | 1.4481 | 0.35188
| JULY | 2006-07-27 |  | 5728 | 1.4397 | 8.2464
| AUGUST | 2006-09-05 |  | 66804 | 1.4295 | 95.4979
| SEPTEMBER | 2006-10-03 |  | 55942.4 | 1.4241 | 79.669
| OCTOBER | 2006-11-14 |  | 83170.4 | 1.4306 | 118.9836
| NOVEMBER | 2006-12-05 |  | 40439.2 | 1.434 | 57.9898
| DECEMBER | 2006-01-08 |  | 26408 | 1.4591 | 38.5318
Notes:
(a) Unit Cost is calculated from the main campus supply bill from the City of Merced.
(b) Estimated bills are a size-weighted average of readings for Tulare, Kern, and San Joaquin Halls.
Full-size buildings are 2/5 times (Tulare + Kern + San Joaquin Hall readings)
Half-size buildings are 1/5 times (Tulare + Kern + San Joaquin Hall readings)
Note on D7: Sajid Mian: Reset the waterr meter at Dining- on previous visit
Note on D19: Sajid Mian: Ramon took meter readings on 5/2/06. Had great difficulty to access the meter
Note on D106: Sajid Mian: Water meter has been reset

## Chilled Water
Chilled Water
BUILDING | Billing Month | 2017-07-01 | 2017-08-01 | 2017-09-01 | 2017-10-01 | 2017-11-01 | 2017-12-01 | 2018-01-01 | 2018-02-01 | 2018-03-01 | 2018-04-01 | 2018-05-01 | 2018-06-01 | Total | Check
| Read Date | 2017-08-03 | 2017-09-03 | 2017-10-01 | 2017-11-01 | 2017-12-01 | 2017-01-01 | 2018-02-01 | 2018-03-02 | 2017-04-01 | 2017-05-04 | 2017-06-01 | 2017-07-01
| Unit Cost ($/ton-hr) | 0.11235 | 0.11235 | 0.11235 | 0.11235 | 0.1124 | 0.11235 | 0.11235 | 0.11235 | 0.11235 | 0.11235 | 0.11235 | 0.11235
VALLEY | Usage (ton-hr) | 21973.05 | 25845.0788 | 22499.325 | 10437.0124 | 4808.8247 | 1844.0565 | 3958.7807 | 3374 | 5875.674 | 6453.692 | 9909.379 | 19691.2973 | 136670.1705
DINING COMMONS | Charges | 2468.78 | 2903.82 | 2527.91 | 1172.65 | 540.51 | 207.19 | 444.79 | 379.09 | 660.16 | 725.1 | 1113.37 | 2212.42 | 15355.79
0214
Total Usage (ton-hr) |  | 21973.05 | 25845.0788 | 22499.325 | 10437.0124 | 4808.8247 | 1844.0565 | 3958.7807 | 3374 | 5875.674 | 6453.692 | 9909.379 | 19691.2973 | 136670.1705 | 136670.1705
Total Charges |  | 2468.78 | 2903.82 | 2527.91 | 1172.65 | 540.51 | 207.19 | 444.79 | 379.09 | 660.16 | 725.1 | 1113.37 | 2212.42 | 15355.79 | 15355.79
Notes:
(a) Unit Cost is calculated from the main campus electricity feeder (El Capitan) bill from PG&E and an average plant efficiency of 0.75 kW/ton.
(b) Chilled water data was not available for 18 days of November. Therefore, recorded chilled water flows are corrected by a factor of 30/12.
(c) Due to a database problem in the energy management control system, chilled water trend data to calculate recharges is not available for Dec-09 through Mar-10.
Mar-10 values are totals of chilled water usage from Dec-08 through Mar-09 with current average water rates from Dec-09 through Mar-10.