## Load Shape (hidden)
Load Shape
JANUARY | 55557 | 7.355%
FEBRUARY | 89853 | 11.9%
MARCH | 72733 | 9.629%
APRIL | 74220 | 9.826%
MAY | 56732 | 7.511%
JUNE | 30749 | 4.071%
JULY | 44415 | 5.88%
AUGUST | 59442 | 7.869%
SEPTEMBER | 61657 | 8.163%
OCTOBER | 70000 | 9.267%
NOVEMBER | 70000 | 9.267%
DECEMBER | 70000 | 9.267%
Total | 755358

## Utility Summary
Housing Utility Summary
Building | Billing Month | 2017-07-14 | 2017-08-14 | 2017-09-14 | 2017-10-14 | 2017-11-14 | 2017-12-14 | 2018-01-14 | 2018-02-14 | 2018-03-14 | 2018-04-14 | 2018-05-14 | 2018-06-14 | Total | Check
TERRACE CENTER | Electricity | 3131.32 | 2077.41 | 28680.92 | 3709.85 | 3390.56 | 4977.78 | 2284.81 | 2890.02 | 3118.44 | -29977.91 | 2341.17 | 2757.61 | 29381.98
COMMONS | Gas | 147.8067 | 229.5767 | 392.5583 | 443.9833 | 592.4783 | 1236.2267 | 598.4083 | 197.3617 | -4838.105 | 1224.6267 | 601.9383 | 99.6372 | 926.4972
| Water | 107.3 | 699.65 | 716.99 | 758.9 | 669.89 | 452.38 | 385.52 | 701.3 | 702.67 | 694.09 | 365.22 | 93.91 | 6347.82
| Chilled Water | 1412.65 | 1424.41 | 994 | 421.69 | 210.09 | 280.66 | 57.64 | 326.24 | 177.53 | 195.64 | 531.63 | 1052.37 | 7084.55
KERN HALL | Electricity | 363.16 | 397.47 | 671.59 | 724.22 | 643.87 | 517.97 | 416.12 | 625.65 | 609.71 | 555.72 | 327.98 | 266.77 | 6120.23
| Gas | 73.9033 | 114.7883 | 196.2792 | 221.9917 | 296.2392 | 618.1133 | 299.2042 | 98.6808 | -2419.0525 | 612.3133 | 300.9692 | 49.8186 | 463.2486
| Water | 4.16 | 136.85 | 251.68 | 264.04 | 227.08 | 121.21 | 121.91 | 275.71 | 251.17 | 299.95 | 128.06 | 2.5 | 2084.32
| Chilled Water | 1093.03 | 1106.88 | 613.88 | 309.78 | 460.98 | 289.52 | 103.93 | 720.83 | 481.87 | 125.88 | 507.69 | 555.54 | 6369.81
TULARE HALL | Electricity | 331.79 | 617.82 | 836.69 | 929.73 | 803.58 | 590.27 | 552.37 | 715.78 | 777.08 | 715.81 | 424.96 | 336.74 | 7632.62
| Gas | 73.9033 | 114.7883 | 196.2792 | 221.9917 | 296.2392 | 618.1133 | 299.2042 | 98.6808 | -2419.0525 | 612.3133 | 300.9692 | 49.8186 | 463.2486
| Water | 15.51 | 231.15 | 544.72 | 739.71 | 318.04 | 144.71 | 217.74 | 387.57 | 227.67 | 326.68 | 119.5 | 24.02 | 3297.02
| Chilled Water | 243.11 | 591.45 | 320.74 | 638.13 | 177.09 | 54.83 | 86.23 | 113.39 | 245.95 | 169.39 | 221.15 | 242.18 | 3103.64
MADERA HALL | Electricity | 461.7 | 579.9 | 1158.68 | 1298.92 | 1130.24 | 851.63 | 800.45 | 1002.48 | 1127.96 | 956.48 | 562.06 | 508.65 | 10439.15
| Gas | 73.9033 | 114.7883 | 196.2792 | 221.9917 | 296.2392 | 618.1133 | 299.2042 | 98.6808 | -2419.0525 | 612.3133 | 300.9692 | 49.8186 | 463.2486
| Water | 197.18 | 129.09 | 313.84 | 340.62 | 303.41 | 179.46 | 182.63 | 328.72 | 263.67 | 274.54 | 156.37 | 47.58 | 2717.11
| Chilled Water | 368.61 | 67.13 | 211.39 | 400.01 | 359.2 | 232.5 | 58.65 | 325.4 | 308.66 | 83.06 | 205.23 | 289.7 | 2909.54
KINGS HALL | Electricity | 378.19 | 657.07 | 915.68 | 964.79 | 746.92 | 563.31 | 494.93 | 703.34 | 809.02 | 750.64 | 465.13 | 344.36 | 7793.38
| Gas | 73.9033 | 114.7883 | 196.2792 | 221.9917 | 296.2392 | 618.1133 | 299.2042 | 98.6808 | -2419.0525 | 612.3133 | 300.9692 | 49.8186 | 463.2486
| Water | 197.18 | 129.09 | 313.84 | 340.62 | 303.41 | 179.46 | 182.63 | 328.72 | 263.67 | 274.54 | 156.37 | 47.58 | 2717.11
| Chilled Water | 481.79 | 639.5 | 602.63 | 309.78 | 184.12 | 168.02 | 54.16 | 125.98 | 214.61 | 112.32 | 250.13 | 516.33 | 3659.37
FRESNO HALL | Electricity | 243.93 | 366.41 | 434.71 | 472.09 | 403.88 | 324.77 | 288.21 | 403.09 | 429.8 | 391.81 | 313.31 | 169.82 | 4241.83
| Gas | 36.9517 | 57.3942 | 98.1396 | 110.9958 | 148.1196 | 309.0567 | 149.6021 | 49.3404 | -1209.5262 | 306.1567 | 150.4846 | 24.9093 | 231.6243
| Water | 197.18 | 129.09 | 313.84 | 340.62 | 303.41 | 179.46 | 182.63 | 328.72 | 263.67 | 274.54 | 156.37 | 47.58 | 2717.11
| Chilled Water | 182.26 | 284.59 | 346.42 | 196.11 | 113.95 | 67.55 | 29.55 | 103.12 | 100.8 | 87.8 | 165.26 | 152.59 | 1830
STANISLAUS | Electricity | 445.94 | 621.23 | 911.06 | 925.73 | 834.96 | 665.69 | 701.94 | 794.3 | 867.1 | 776.53 | 548.92 | 456.43 | 8549.83
HALL | Gas | 73.9033 | 114.7883 | 196.2792 | 221.9917 | 296.2392 | 618.1133 | 299.2042 | 98.6808 | -2419.0525 | 612.3133 | 300.9692 | 49.8186 | 463.2486
| Water | 197.18 | 129.09 | 313.84 | 340.62 | 303.41 | 179.46 | 182.63 | 328.72 | 263.67 | 274.54 | 156.37 | 47.58 | 2717.11
| Chilled Water | 2881.65 | 2971.44 | 2653.03 | 2218.8 | 2094.38 | 139.62 | 353.3 | 66.53 | 120.36 | 683.69 | 1048.84 | 1258.79 | 16490.43
SAN JOAQUIN | Electricity | 183.23 | 360.23 | 536.44 | 552.12 | 464.98 | 339.29 | 282.05 | 452.58 | 502.69 | 502.69 | 502.69 | 502.69 | 5181.68
HALL | Gas | 36.9517 | 57.3942 | 98.1396 | 110.9958 | 148.1196 | 309.0567 | 149.6021 | 49.3404 | -1209.5262 | 306.1567 | 150.4846 | 24.9093 | 231.62
| Water | 58.32 | 113.4 | 191.13 | 190.25 | 169.17 | 90.06 | 89.7 | 180.97 | 156.52 | 167.53 | 77.26 | 8.04 | 1492.35
| Chilled Water | 259.99 | 625.88 | 381.47 | 242.64 | 199.76 | 111.92 | 35 | 376.63 | 96.47 | 153.69 | 139.26 | 251.27 | 2873.98
MERCED HALL | Electricity | 463.96 | 641.58 | 902.16 | 898.97 | 782.75 | 602.13 | 528.47 | 752.27 | 863.92 | 840.83 | 519.01 | 333.09 | 8129.14
| Gas | 73.9033 | 114.7883 | 196.2792 | 221.9917 | 296.2392 | 618.1133 | 299.2042 | 98.6808 | -2419.0525 | 612.3133 | 300.9692 | 49.8186 | 463.24
| Water | 19.8 | 157.13 | 374.96 | 301.87 | 258.15 | 141.9 | 143.74 | 288.1 | 355.06 | 360.35 | 206.35 | 129.88 | 2737.29
| Chilled Water | 538.97 | 629.8 | 676.72 | 362.71 | 229.54 | 250.28 | 77.97 | 161.86 | 317.45 | 388.12 | 369.27 | 591.09 | 4593.78
CALAVERAS | Electricity | 637.55 | 835.61 | 1054.57 | 1105.03 | 925.25 | 703.47 | 673.4 | 895.21 | 812.43 | 825.38 | 575.07 | 396.87 | 9439.84
HALL | Gas | 73.9033 | 114.7883 | 196.2792 | 221.9917 | 296.2392 | 618.1133 | 299.2042 | 98.6808 | -2419.0525 | 612.3133 | 300.9692 | 49.8186 | 463.24
| Water | 19.8 | 157.13 | 374.96 | 301.87 | 258.15 | 141.9 | 143.74 | 288.1 | 355.06 | 360.35 | 206.35 | 129.88 | 2737.29
| Chilled Water | 305.92 | 438.79 | 488.36 | 227.34 | 188.29 | 91.44 | 26.74 | 258.52 | 155.44 | 135.78 | 369.27 | 324.68 | 3010.57
SIERRA | Electricity | 502.99 | 103.67 | 37.84 | 9788.07 | 7237.12 | 4143.82 | 4386.02 | 6498.57 | 10009.08 | 4356.74 | 4319.54 | 3253.45 | 54636.91
TERRACES | Gas | 73.56 | 78.13 | 261.86 | 311.32 | 396.46 | 372.4 | 459.49 | 645.42 | -3514.45 | 438.15 | 200.53 | 58.6772 | -218.45
| Water | 1143.88 | 1214.2 | 3381.46 | 3845.35 | 3611.83 | 3210.25 | 3090.61 | 5319.1 | 3681.09 | 3650.38 | 2316.92 | 796.9 | 35261.97
| Chilled Water | 2842.31 | 3698.67 | 3478.99 | 1693.66 | 718.44 | 499.42 | 265.44 | 387 | 672.71 | 1399.9 | 1622.89 | 2312.55 | 19591.98
Summits - Tenaya | Electricity | 3618.88 | 4596.69 | 5316.49 | 5640.13 | 4531.2 | 4322.2 | 4471.76 | 4544.23 | 4722.72 | 4344.66 | 3696.18 | 2980.54 | 52785.68
(East) | Gas | 71.74 | 112.67 | 349.63 | 523.58 | 986.59 | 1496.42 | 1251.33 | 1619.01 | -7751.5 | 632.88 | 253.17 | 79.94 | -374.54
| Water | 329.29 | 646.76 | 801.59 | 856.93 | 753.1 | 473.51 | 525.45 | 1008.86 | 654.71 | 1734.99 | 618.65 | 325.35 | 8729.19
| Chilled Water | 1446.04 | 1956.2 | 1666.54 | 711.92 | 190.44 | 68.07 | 81.72 | 41.98 | 253.23 | 574.59 | 512.15 | 600.96 | 8103.84
Summits - Cathedral | Electricity | 4630.86 | 5709.33 | 7053.14 | 7821.75 | 6128.69 | 4963.85 | 5089.45 | 5645.36 | 5830.71 | 5244.43 | 4585.08 | 4007.67 | 66710.32
(West) | Gas | 163.7 | 184.03 | 424.55 | 469.21 | 637.31 | 616.98 | 603.3 | 1031.94 | -5418.6 | 547.26 | 264.03 | 127.56 | -348.73
| Water | 157.14 | 710.08 | 1209.02 | 1325.29 | 1327.53 | 776.19 | 740.43 | 1371.04 | 833.58 | 2073.53 | 517.61 | 123.39 | 11164.83
| Chilled Water | 1514.27 | 2043.39 | 1923.06 | 940.93 | 566.42 | 262.76 | 278.61 | 125.88 | 375.25 | 734.53 | 698.3 | 1035.87 | 10499.27
Summits - Half Dome | Electricity | 5288.49 | 5702.34 | 6882.54 | 7853.06 | 6603.79 | 5208.51 | 5889.19 | 6514.4 | 6445.76 | 6743.65 | 5571.34 | 4505.48 | 73208.55
| Gas | 349.45 | 299.96 | 666.44 | 772.34 | 1128.95 | 976.6 | 1296.05 | 1673.7 | -9571.31 | 826.77 | 527.23 | 455.81 | -598
| Water | 1254.08 | 2790.43 | 3855.38 | 3801.59 | 2993.56 | 1740.32 | 1605.67 | 3465.54 | 2281.51 | 3130.91 | 1435.88 | 734.21 | 29089.08
| Chilled Water | 4969.26 | 5308.2 | 4720.44 | 2425.31 | 1059.92 | 278.25 | 236.55 | 121.26 | 1373.03 | 1396.1 | 2802.53 | 3078.86 | 27769.71
| Electricity | 20681.99 | 23266.76 | 55392.51 | 42684.46 | 34627.79 | 28774.69 | 26859.17 | 32437.28 | 36926.42 | -2972.54 | 24752.44 | 20820.17 | 344251.14 | 344251.14
| Gas | 1397.48 | 1822.67 | 3665.27 | 4296.37 | 6111.7 | 9643.53 | 6602.21 | 5956.88 | -50446.39 | 8568.19 | 4254.65 | 1220.17 | 3092.74 | 3092.73
| Water | 3898 | 7373.14 | 12957.25 | 13748.28 | 11800.14 | 8010.27 | 7795.03 | 14601.17 | 10553.72 | 13896.92 | 6617.28 | 2558.4 | 113809.6 | 113809.6
| Chilled Water | 18539.86 | 21786.33 | 19077.67 | 11098.81 | 6752.62 | 2794.84 | 1745.49 | 3254.62 | 4893.36 | 6240.49 | 9443.6 | 12262.78 | 117890.47 | 117890.47
Total |  | 44517.33 | 54248.9 | 91092.7 | 71827.92 | 59292.25 | 49223.33 | 43001.9 | 56249.95 | 1927.11 | 25733.06 | 45067.97 | 36861.52 | 579043.94 | 579043.94
| CHECK Elec | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CHECK Gas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CHECK Wat | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CHECK CHW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Notes:
(a) Electricity usage readings are available for each building separately.
(b) Water meter readings are available for Valley Dining and Terrace Center Commons, Tulare, Kern, and San Joaquin Halls only.
Other housing buildings are estimated based on a size-weighted average of readings for Tulare, Kern, and San Joaquin Halls.
Full-size buildings are 2/5 times (Tulare + Kern + San Joaquin Hall readings)
Half-size buildings are 1/5 times (Tulare + Kern + San Joaquin Hall readings)
(c) Gas meter readings at Valley terraces are available for 2 locations only: HOUSING/COMMONS/DINING & KITCHEN and LAUNDRY.
Individual buildings are estimated based on a weighted average of the two readings.
Valley Dining and Terrace Center Commons are 4/24 times the sum of both readings
Full-size housing buildings are 2/24 times the sum of both readings
Half-size housing buildings are 1/24 times the sum of both readings
(d) Chilled water usage readings are available through metering for each building separately.
Note on H51: John Elliott: Credit from previous incorrect meter reads is applied
Note on D74: Student1: Make sure that it is not counting the overcharge anymore.

## Electricity
Electricity
Building | Billing Month | 2017-07-14 | 2017-08-14 | 2017-09-14 | 2017-10-14 | 2017-11-14 | 2017-12-14 | 2018-01-14 | 2018-02-14 | 2018-03-14 | 2018-04-14 | 2018-05-14 | 2018-06-14 | Total
| Read Date | 2016-08-03 | 2017-09-02 | 2017-10-05 | 2016-11-01 | 2016-12-01 | 2017-01-05 | 2018-01-01 | 2018-03-01 | 2017-04-01 | 2016-05-02 | 2016-06-16 | 2015-07-05
| Unit Cost ($/kWh) (a) | 0.15037 | 0.16031 | 0.15313 | 0.1637 | 0.14809 | 0.1437 | 0.14486 | 0.14745 | 0.1437 | 0.1437 | 0.1437 | 0.1437 | 0.1437
Cathedral | Usage (kWh) | 30796.2609 | 35613.2135 | 46058.3617 | 47782.0608 | 41384.413 | 34543.091 | 35132.37 | 38286.589 | 40575.4506 | 36495.5909 | 31907.1924 | 27889.0949 | 446463.6887
| Charges | 4630.86 | 5709.33 | 7053.14 | 7821.75 | 6128.69 | 4963.85 | 5089.45 | 5645.36 | 5830.71 | 5244.43 | 4585.08 | 4007.67 | 66710.32
Half Dome | Usage (kWh) | 35169.6914 | 35569.6556 | 44944.3 | 47973.3144 | 44592.5695 | 36245.624 | 40652.99 | 44180.369 | 44855.5698 | 46928.5245 | 38770.5213 | 31353.3031 | 491236.4325
| Charges | 5288.49 | 5702.34 | 6882.54 | 7853.06 | 6603.79 | 5208.51 | 5889.19 | 6514.4 | 6445.76 | 6743.65 | 5571.34 | 4505.48 | 73208.55
Tenaya | Usage (kWh) | 24066.3857 | 28672.8907 | 34717.745 | 34454.8494 | 30597.2738 | 30077.8432 | 30868.4816 | 30818.7771 | 32865.0264 | 30234.1678 | 25721.4297 | 20741.3591 | 353836.2294
| Charges | 3618.88 | 4596.69 | 5316.49 | 5640.13 | 4531.2 | 4322.2 | 4471.76 | 4544.23 | 4722.72 | 4344.66 | 3696.18 | 2980.54 | 52785.68
SIERRA TERRACES | Usage (kWh) | 3345 | 646.6527 | 247.1128 | 59794.07 | 48869.2039 | 28836.5 | 30276.5801 | 44073 | 69652.4 | 30318.2355 | 30059.3699 | 22640.5391 | 368758.664
| Charges | 502.99 | 103.67 | 37.84 | 9788.07 | 7237.12 | 4143.82 | 4386.02 | 6498.57 | 10009.08 | 4356.74 | 4319.54 | 3253.45 | 54636.91
vt_CALAVERAS HALL | Usage (kWh) | 4239.8494 | 5212.332 | 6886.5495 | 6750.4859 | 6247.7954 | 4895.388 | 4648.5 | 6071.2508 | 5653.6454 | 5743.7918 | 4001.858 | 2761.7648 | 63113.2108
| Charges | 637.55 | 835.61 | 1054.57 | 1105.03 | 925.25 | 703.47 | 673.4 | 895.21 | 812.43 | 825.38 | 575.07 | 396.87 | 9439.84
vt_commons (Terrace Center Commons) | Reading (kWh) | 2528612 | 2345807 | 2566544 | 2589207 | 2612102 | 2623847 | 2639619 | 2659219 | 2680920 | 2472306 | 2488598 | 2507788
| Usage (kWh) | 20824 | 12958.3291 | 187292 | 22663 | 22895 | 34640 | 15772 | 19600 | 21701 | -208614 | 16292 | 19190 | 185213.3291
| Charges | 3131.32 | 2077.41 | 28680.92 | 3709.85 | 3390.56 | 4977.78 | 2284.81 | 2890.02 | 3118.44 | -29977.91 | 2341.17 | 2757.61 | 29381.98
vt_FRESNO HALL | Usage (kWh) | 1622.1803 | 2285.546 | 2838.75 | 2883.9394 | 2727.1969 | 2260.0443 | 1989.5 | 2733.7503 | 2990.9799 | 2726.5449 | 2180.3297 | 1181.7331 | 28420.495
| Charges | 243.93 | 366.41 | 434.71 | 472.09 | 403.88 | 324.77 | 288.21 | 403.09 | 429.8 | 391.81 | 313.31 | 169.82 | 4241.83
vt_KERN HALL | Usage (kWh) | 2415.1131 | 2479.3183 | 4385.63 | 4424.1573 | 4347.7606 | 3604.5233 | 2872.5 | 4243.1255 | 4242.8916 | 3867.1826 | 2282.3803 | 1856.452 | 41021.0345
| Charges | 363.16 | 397.47 | 671.59 | 724.22 | 643.87 | 517.97 | 416.12 | 625.65 | 609.71 | 555.72 | 327.98 | 266.77 | 6120.23
vt_KINGS HALL | Usage (kWh) | 2515.0353 | 4098.5999 | 5979.5762 | 5893.7586 | 5043.6273 | 3920.0222 | 3416.5 | 4770.0006 | 5629.8889 | 5223.6708 | 3236.7905 | 2396.3922 | 52123.8625
| Charges | 378.19 | 657.07 | 915.68 | 964.79 | 746.92 | 563.31 | 494.93 | 703.34 | 809.02 | 750.64 | 465.13 | 344.36 | 7793.38
vt_MADERA HALL | Usage (kWh) | 3070.4067 | 3617.2526 | 7566.3782 | 7934.9151 | 7632.025 | 5926.4302 | 5525.5 | 6798.7509 | 7849.3727 | 6656.0787 | 3911.3397 | 3539.6866 | 70028.1364
| Charges | 461.7 | 579.9 | 1158.68 | 1298.92 | 1130.24 | 851.63 | 800.45 | 1002.48 | 1127.96 | 956.48 | 562.06 | 508.65 | 10439.15
vt_MERCED HALL | Usage (kWh) | 3085.4118 | 4001.9895 | 5891.2507 | 5491.6672 | 5285.5863 | 4190.1552 | 3648 | 5101.8756 | 6011.9195 | 5851.264 | 3611.7391 | 2317.9355 | 54488.7945
| Charges | 463.96 | 641.58 | 902.16 | 898.97 | 782.75 | 602.13 | 528.47 | 752.27 | 863.92 | 840.83 | 519.01 | 333.09 | 8129.14
vt_SAN JOAQUIN HALL | Usage (kWh) | 1218.5128 | 2247.005 | 3503.0577 | 3372.8171 | 3139.8402 | 2361.092 | 1947 | 3069.3754 | 3498.194 | 3498.194 | 3498.194 | 3498.194 | 3498.194
| Charges | 183.23 | 360.23 | 536.44 | 552.12 | 464.98 | 339.29 | 282.05 | 452.58 | 502.69 | 502.69 | 502.69 | 502.69 | 5181.68
vt_STANISLAUS HALL | Usage (kWh) | 2965.6117 | 3875.0521 | 5949.376 | 5655.1525 | 5638.1223 | 4632.4936 | 4845.5 | 5386.8757 | 6034.0966 | 5403.7948 | 3819.8926 | 3176.2492 | 57382.217
| Charges | 445.94 | 621.23 | 911.06 | 925.73 | 834.96 | 665.69 | 701.94 | 794.3 | 867.1 | 776.53 | 548.92 | 456.43 | 8549.83
vt_TULARE HALL | Usage (kWh) | 2206.4829 | 3853.7635 | 5463.7728 | 5679.6103 | 5426.2601 | 4107.6718 | 3813 | 4854.3756 | 5407.6611 | 4981.2642 | 2957.2662 | 2343.3565 | 51094.485
| Charges | 331.79 | 617.82 | 836.69 | 929.73 | 803.58 | 590.27 | 552.37 | 715.78 | 777.08 | 715.81 | 424.96 | 336.74 | 7632.62
Summits Overcharge
Summits Credit
Total Usage (kWh) |  | 137539.9418 | 145131.6004 | 361723.8606 | 260753.798 | 233826.6744 | 200240.8788 | 185408.4216 | 219988.1155 | 256968.0964 | -20685.6955 | 168752.1094 | 144886.06 | 2266678.7733 | 2294533.8615
Total Charges |  | 20681.99 | 23266.76 | 55392.51 | 42684.46 | 34627.79 | 28774.69 | 26859.17 | 32437.28 | 36926.42 | -2972.54 | 24752.44 | 20820.17 | 344251.14 | 344251.14
Notes:
(a) Unit Cost is calculated from the main campus feeder (El Capitan) bill from PG&E.
(b) The total for the Dining portion for Jovanna
Note on I15: gpicazo: average of last 2 years. Extrapolation was at 12%
Note on J15: gpicazo: average 2 years
Note on I18: ucmuser: Average
Note on I25: ucmuser: average
Note on I28: ucmuser: average
Note on I31: ucmuser: average
Note on I34: ucmuser: average
Note on I37: ucmuser: average
Note on I40: ucmuser: average
Note on I43: ucmuser: average
Note on I46: ucmuser: average

## Gas
Natural Gas
Building | Billing Month | 2017-07-14 | 2017-08-14 | 2017-09-14 | 2017-10-14 | 2017-11-14 | 2017-12-14 | 2018-01-14 | 2018-02-14 | 2018-03-14 | 2018-04-14 | 2018-05-14 | 2018-06-14 | Total | Check
| Read Date | 2017-08-09 | 2017-09-01 | 2017-10-05 | 2016-11-01 | 2016-12-01 | 2017-01-05 | 2018-01-01 | 2018-03-01 | 2017-04-01 | 2016-05-02 | 2016-06-16 | 2015-07-05 | 0 | 0
| Unit Cost ($/therm) (a) | 0.77656 | 0.77911 | 0.71353 | 0.74478 | 0.82768 | 0.85218 | 0.87689 | 0.9116 | 0.88771 | 0.83936 | 0.83554 | 0.85039
DINING BOILER (d) | Reading (100 x cub-ft) | 56099 | 57677 | 60444 | 63416 | 67246 | 70901 | 74582 | 75150 | 42065 | 50373 | 54429 | 55048
| Usage (therms) | 1051 | 1578 | 2767 | 2972 | 3830 | 8338 | 3681 | 568 | -33085 | 8308 | 4056 | 619 | 4683
| Charges | 816.17 | 1229.43 | 1974.33 | 2213.49 | 3170 | 7105.46 | 3227.85 | 517.79 | -29369.96 | 6973.41 | 3388.96 | 526.39 | 1773.32
LAUNDRY | Current Meter (100 x cub-ft) | 44738 | 44738 | 44738 | 44738 | 44738 | 44738 | 0 | 731 | 44738 | 44738 | 44738 | 44738
| Usage (therms) | 91 | 190 | 534 | 604.75 | 465 | 366 | 413.5 | 731 | 384.5 | 446 | 266.5 | 84 | 4576.25
| Charges | 70.67 | 148.03 | 381.02 | 450.41 | 384.87 | 311.9 | 362.6 | 666.38 | 341.33 | 374.35 | 222.67 | 71.4331 | 3785.6631
SIERRA | Reading (100 x cub-ft) | 74260 | 74290 | 74657 | 75075 | 75554 | 75991 | 76515 | 77223 | 73264 | 73786 | 74026 | 74095
TERRACES | Usage (therms) | 94.7222 | 100.2778 | 367 | 418 | 479 | 437 | 524 | 708 | -3959 | 522 | 240 | 69 | 0
| Charges | 73.56 | 78.13 | 261.86 | 311.32 | 396.46 | 372.4 | 459.49 | 645.42 | -3514.45 | 438.15 | 200.53 | 58.6772 | -218.4528
Summits - Tenaya | Read Date | 2017-08-09 | 2017-09-01 | 2017-10-05 | 2016-11-01 | 2016-12-01 | 2017-01-05 | 2018-01-01 | 2018-03-01 | 2017-04-01 | 2016-05-02 | 2016-06-16 | 2015-07-01
(East) | Reading (100 x cub-ft) | 60267 | 60355 | 60845 | 61548 | 62740 | 64496 | 65923 | 67699 | 58967 | 59721 | 60024 | 60118
| Usage (therms) | 92.38 | 144.62 | 490 | 703 | 1192 | 1756 | 1427 | 1776 | -8732 | 754 | 303 | 94 | 0
| Charges | 71.74 | 112.67 | 349.63 | 523.58 | 986.59 | 1496.42 | 1251.33 | 1619.01 | -7751.5 | 632.88 | 253.17 | 79.94 | -374.54
Summits - Cathedral | Read Date | 2017-08-09 | 2017-09-01 | 2017-10-05 | 2016-11-01 | 2016-12-01 | 2017-01-05 | 2018-01-01 | 2018-03-01 | 2017-04-01 | 2016-05-02 | 2016-06-16 | 2015-07-01
(West) | Reading (100 x cub-ft) | 52731 | 52838 | 53433 | 54063 | 54833 | 55557 | 56245 | 57377 | 51273 | 51925 | 52241 | 52391
| Usage (therms) | 210.8 | 236.2 | 595 | 630 | 770 | 724 | 688 | 1132 | -6104 | 652 | 316 | 150 | -2.7285e-12
| Charges | 163.7 | 184.03 | 424.55 | 469.21 | 637.31 | 616.98 | 603.3 | 1031.94 | -5418.6 | 547.26 | 264.03 | 127.56 | -348.73
Summits - Half Dome | Read Date | 2017-08-09 | 2017-09-01 | 2017-10-05 | 2016-11-01 | 2016-12-01 | 2017-01-05 | 2018-01-01 | 2018-03-01 | 2017-04-01 | 2016-05-02 | 2016-06-16 | 2015-07-01
(West) | Reading (100 x cub-ft) | 47941 | 48326 | 49260 | 50297 | 51661 | 52807 | 54285 | 56121 | 45339 | 46324 | 46955 | 47491
| Usage (therms) | 450 | 385 | 934 | 1037 | 1364 | 1146 | 1478 | 1836 | -10782 | 985 | 631 | 536 | 0
| Charges | 349.45 | 299.96 | 666.44 | 772.34 | 1128.95 | 976.6 | 1296.05 | 1673.7 | -9571.31 | 826.77 | 527.23 | 455.81 | -598.01
Over Charge at Summits | Amount Over Charged:
Total Usage (therms) |  | 1989.9022 | 2634.0978 | 5687 | 6364.75 | 8100 | 12767 | 8211.5 | 6751 | -62277.5 | 11667 | 5812.5 | 1552 | 9259.25 | 9259.25
Total Charges (c ) |  | 1397.48 | 1822.67 | 3665.27 | 4296.37 | 6111.7 | 9643.53 | 6602.21 | 5956.88 | -50446.39 | 8568.19 | 4254.65 | 1220.17 | 3092.75 | 3092.73
|  |  |  | #REF! | 5226846 | 9731922 | 12684409 | 20538432 | 27244690 | 30649348 | 35610076
[5 empty] | #REF! | 4505076 | 2952487 | 7854023 | 6706258 | 3404658 | 4960728
[6 empty] | #REF! | #REF! | #REF! | #REF! | #REF!
[6 empty] | 750.846 | 492.0812 | 1309.0038 | 1117.7097 | 567.443
Notes:
(a) Unit Cost is calculated from the main campus supply bill from PG&E.
(b) There is multiple redudant metering for gas at Sierra Terraces. The reported reading is chosen first from manual readings at the common meter if available, then independent Bldg 1 and 2 meters if available, and then totalized readings in ALC when other readings are not available.
(c) O30 is calculated by excluding the amount of gas that is used by dining in order to prevent double charging.
(d) This section is used to calculate Valley Terrace gas consumption. | bar: 2017-07-14 to 2017-08-14
Note on B5: ucmuser: = PGE 0646833510 UCM_Gas
Note on E12: Kanoa: Meter is broken. Averaged last two years
Note on F12: Gabriel: Average of last two years
Note on G12: Gabriel: average usage from 2015/16 recharges
Note on H12: ucmuser: meter broken, avg of last two years
Note on I12: FMEnergy: last 2 year average
Note on K12: James Ly: Last 2 years' average
Note on M12: ucmuser: 2014 and 2015 average-Gp
Note on A16: Ashley Chiang: Muir pass
Note on A34: Daniel:2,000 extra therms were added to Jun 2012 in Cathedral.

## Water
Water and Sewer
BUILDING | Billing Month | 2017-07-14 | 2017-08-14 | 2017-09-14 | 2017-10-14 | 2017-11-14 | 2017-12-14 | 2018-01-14 | 2018-02-14 | 2018-03-14 | 2018-04-14 | 2018-05-14 | 2018-06-14 | Total | Check
| Read Date | 2016-08-03 | 2016-09-02 | 2016-10-03 | 2016-11-01 | 2016-12-01 | 2017-01-05 | 2017-01-01 | 2015-03-02 | 2017-04-01 | 2016-05-02 | 2016-06-16 | 2015-07-01
| Unit Cost ($/1000 gal) | 5.5651 | 5.5709 | 5.5659 | 5.5698 | 5.5814 | 5.5889 | 5.6424 | 5.6039 | 5.5919 | 5.589 | 5.5716 | 5.5834
TERRACE | Reading (gal)
CENTER COMMONS | Usage (gal) | 19280.48 | 125589.965 | 128818.7 | 136251.66 | 120022.04 | 80941.7 | 68325.42 | 125145.21 | 125658.63 | 124188.03 | 65550.21 | 16820.02 | 1136592.065
| Charges | 107.3 | 699.65 | 716.99 | 758.9 | 669.89 | 452.38 | 385.52 | 701.3 | 702.67 | 694.09 | 365.22 | 93.91 | 6347.82
KERN HALL | Reading (gal)
| Usage (gal) | 748.27 | 24565.24 | 45217.6 | 47406 | 40684.6 | 21687.7 | 21606.4 | 49200.7 | 44917.26 | 53668.12 | 22984.86 | 447.04 | 373133.79
| Charges | 4.16 | 136.85 | 251.68 | 264.04 | 227.08 | 121.21 | 121.91 | 275.71 | 251.17 | 299.95 | 128.06 | 2.5 | 2084.32
TULARE HALL | Reading (gal)
| Usage (gal) | 2787.89 | 41491.35 | 97868.08 | 132806.2 | 56981.8 | 25891.7 | 38590.3 | 69161.1 | 40713.66 | 58450.19 | 21447.68 | 4301.74 | 590491.69
| Charges | 15.51 | 231.15 | 544.72 | 739.71 | 318.04 | 144.71 | 217.74 | 387.57 | 227.67 | 326.68 | 119.5 | 24.02 | 3297.02
MADERA HALL | Usage (gal) | 35431.105 | 23172.0625 | 56386.8975 | 61153.4 | 54361.375 | 32109 | 32367.175 | 58658.975 | 47153.0275 | 49120.985 | 28065.4725 | 8520.89 | 486500.365
| Charges | 197.18 | 129.09 | 313.84 | 340.62 | 303.41 | 179.46 | 182.63 | 328.72 | 263.67 | 274.54 | 156.37 | 47.58 | 2717.11
KINGS HALL | Usage (gal) | 35431.105 | 23172.0625 | 56386.8975 | 61153.4 | 54361.375 | 32109 | 32367.175 | 58658.975 | 47153.0275 | 49120.985 | 28065.4725 | 8520.89 | 486500.365
| Charges | 197.18 | 129.09 | 313.84 | 340.62 | 303.41 | 179.46 | 182.63 | 328.72 | 263.67 | 274.54 | 156.37 | 47.58 | 2717.11
FRESNO HALL | Usage (gal) | 35431.105 | 23172.0625 | 56386.8975 | 61153.4 | 54361.375 | 32109 | 32367.175 | 58658.975 | 47153.0275 | 49120.985 | 28065.4725 | 8520.89 | 486500.365
| Charges | 197.18 | 129.09 | 313.84 | 340.62 | 303.41 | 179.46 | 182.63 | 328.72 | 263.67 | 274.54 | 156.37 | 47.58 | 2717.11
STANISLAUS HALL | Usage (gal) | 35431.105 | 23172.0625 | 56386.8975 | 61153.4 | 54361.375 | 32109 | 32367.175 | 58658.975 | 47153.0275 | 49120.985 | 28065.4725 | 8520.89 | 486500.365
| Charges | 197.18 | 129.09 | 313.84 | 340.62 | 303.41 | 179.46 | 182.63 | 328.72 | 263.67 | 274.54 | 156.37 | 47.58 | 2717.11
SAN JOAQUIN HALL | Usage (gal) | 10479.84 | 20355.79 | 34340.21 | 34156.7 | 30309.1 | 16114.6 | 15897.3 | 32293.3 | 27989.89 | 29975.68 | 13866.4 | 1440.66 | 267219.47
| Charges | 58.32 | 113.4 | 191.13 | 190.25 | 169.17 | 90.06 | 89.7 | 180.97 | 156.52 | 167.53 | 77.26 | 8.04 | 1492.35
MERCED HALL | Usage (gal) | 3557.2 | 28204.885 | 67367.115 | 54197.6 | 46251.45 | 25389.55 | 25474.45 | 51411.6 | 63496.305 | 64475.18 | 37035.9 | 23262.74 | 490123.975
| Charges | 19.8 | 157.13 | 374.96 | 301.87 | 258.15 | 141.9 | 143.74 | 288.1 | 355.06 | 360.35 | 206.35 | 129.88 | 2737.29
CALAVERAS HALL | Usage (gal) | 3557.2 | 28204.885 | 67367.115 | 54197.6 | 46251.45 | 25389.55 | 25474.45 | 51411.6 | 63496.305 | 64475.18 | 37035.9 | 23262.74 | 490123.975
| Charges | 19.8 | 157.13 | 374.96 | 301.87 | 258.15 | 141.9 | 143.74 | 288.1 | 355.06 | 360.35 | 206.35 | 129.88 | 2737.29
SIERRA TERRACES | Usage (gal) | 205546.45 | 217952.97 | 607532.47 | 690386.65 | 647118.4 | 574393.25 | 547749.17 | 949181.08 | 658290.3 | 653133.55 | 415842.86 | 142726.16 | 6309853.31
(Tuolumne/Mariposa Halls) | Charges | 1143.88 | 1214.2 | 3381.46 | 3845.35 | 3611.83 | 3210.25 | 3090.61 | 5319.1 | 3681.09 | 3650.38 | 2316.92 | 796.9 | 35261.97
Summits - Tenaya | Usage (gal) | 59171.68 | 116096.33 | 144017.45 | 153851 | 134929.9 | 84722.9 | 93125 | 180027.9 | 117082.23 | 310427.35 | 111035.29 | 58270.57 | 1562757.6
(East) | Charges | 329.29 | 646.76 | 801.59 | 856.93 | 753.1 | 473.51 | 525.45 | 1008.86 | 654.71 | 1734.99 | 618.65 | 325.35 | 8729.19
Summits - Cathedral | Usage (gal) | 28236.06 | 127461.27 | 217219.94 | 237940.6 | 237849.1 | 138879.4 | 131226 | 244658.2 | 149069.7 | 370999.86 | 92900.59 | 22099.821 | 1998540.541
(West) | Charges | 157.14 | 710.08 | 1209.02 | 1325.29 | 1327.53 | 776.19 | 740.43 | 1371.04 | 833.58 | 2073.53 | 517.61 | 123.39 | 11164.83
Summits - Half Dome | Usage (gal) | 225348.78 | 500892.04 | 692678.97 | 682530.1 | 536345.1 | 311386.5 | 284572.1 | 618418.1 | 408003.96 | 560189.32 | 257711.98 | 131498.94 | 5209575.89
| Charges | 1254.08 | 2790.43 | 3855.38 | 3801.59 | 2993.56 | 1740.32 | 1605.67 | 3465.54 | 2281.51 | 3130.91 | 1435.88 | 734.21 | 29089.08
Total Usage (gal) |  | 700438.27 | 1323502.975 | 2327975.24 | 2468337.71 | 2114188.44 | 1433232.85 | 1381509.29 | 2605544.69 | 1887330.35 | 2486466.4 | 1187673.56 | 458213.991 | 20374413.766 | 20374413.766
Total Charges |  | 3898 | 7373.14 | 12957.25 | 13748.28 | 11800.14 | 8010.27 | 7795.03 | 14601.17 | 10553.72 | 13896.92 | 6617.28 | 2558.4 | 113809.6 | 113809.6
Notes:
(a) Unit Cost is calculated from the main campus supply bill from the City of Merced.
(c) Beginning Sept 2011, water reading are based on more accurate metering in Aquacue system for Commons, Kern, Tulare, Mad, Kings, Fre, Stan, San J, Merced, Cal
Note on B5: ucmuser: =City of Merced (Actual*748/1000)/$
Note on D8: ucmuser: keep an eye on meter, avg of two years
Note on D44: ucmuser: keep an eye on this

## Field Form (hidden)
Building | Electricity |  | Natural Gas |  | Water
| Read Date | 2007-04-05 | Read Date | 2007-04-05 | Read Date | 2007-04-05
VALLEY DINING COMMONS | Reading (kWh) | 397812 | Reading (100 x cub-ft) | 1893 | Reading (gal) | 652198
TERRACE CENTER COMMONS | Reading (kWh) | 191212 | Reading (100 x cub-ft) | 4741 | Reading (gal) | 1221637
KERN HALL | Reading (kWh) | 91887 |  |  | Reading (gal) | 660331
TULARE HALL | Reading (kWh) | 20160 |  |  | Reading (gal) | 990145
MADERA HALL | Reading (kWh) | 288887
KINGS HALL | Reading (kWh) | 24605
FRESNO HALL | Reading (kWh) | 45273
STANISLAUS HALL | Reading (kWh) | 39799
SAN JOAQUIN HALL | Reading (kWh) | 60674 |  |  | Reading (gal) | 329898
MERCED HALL | Reading (kWh) | 47599
CALAVERAS HALL | Reading (kWh) | 109408
GALLO REC AND WELLNESS | Reading (kWh) | 63988 | Reading (100 x cub-ft) | 9726

## Utilities Summary Old (hidden)
Utilities Summary for Valley Terraces - Fiscal Year 2006-2007
Building | Billing Month | Electricity | Natural Gas | Water & Sewer | Monthly Total | Cumulative Total
VALLEY DINING COMMONS | January | 1460.3729 | - | - | - | -
| February | 2164.4371 | - | - | - | -
| March | 2513.261 | - | - | 2513.261 | 2513.261
| April | 2178.8764 | 945.809 | 320.3594 | 3445.0449 | 5958.3058
| May | 2305.0138 | 616.466 | 174.405 | 3095.8848 | 9054.1906
| June | 1390.9625 | 289.834 | 197.5258 | 1878.3222 | 10932.5129
| July | 1826.4165 | 298.9398 | 30.4647 | 2155.821 | 13088.3338
| August | 2230.8818 | 368.8709 | 64.4558 | 2664.2085 | 15752.5423
| September | 2453.9424 | 528.2862 | 108.9513 | 3091.1799 | 18843.7222
| October | 3292.6608 | 790.9585 | 158.8095 | 4242.4288 | 23086.151
| November | 1161.6144 | 758.0279 | 61.9847 | 1981.6269 | 25067.7779
| December | 1344.3788 | 939.4219 | 43.2812 | 2327.082 | 27394.8599
TERRACE CENTER COMMONS | January | 754.1227 | - | - | - | -
| February | 1140.2634 | - | - | - | -
| March | 836.365 | - | - | 836.365 | 836.365
| April | 1097.5507 | 945.809 | 144.3108 | 2187.6706 | 3024.0356
| May | 826.3987 | 616.466 | 94.9113 | 1537.776 | 4561.8117
| June | 810.6287 | 289.834 | 8.5495 | 1109.0121 | 5670.8238
| July | 1084.3293 | 298.9398 | 14.3851 | 1397.6542 | 7068.478
| August | 1120.7236 | 368.8709 | 60.0157 | 1549.6101 | 8618.0881
| September | 1050.4176 | 528.2862 | 115.8982 | 1694.602 | 10312.6901
| October | 1410.4376 | 790.9585 | not read | 2201.3961 | 12514.0862
| November | 558.5715 | 758.0279 | not read | 1316.5994 | 13830.6856
| December | 774.5146 | 939.4219 | 515.1344 | 2229.0709 | 16059.7565
KERN HALL | January | 306.9624 | - | - | - | -
| February | 588.6444 | - | - | - | -
| March | 430.1472 | - | - | 430.1472 | 430.1472
| April | 493.7335 | 472.9045 | 64.8763 | 1031.5143 | 1461.6615
| May | 414.288 | 308.233 | 43.2465 | 765.7675 | 2227.429
| June | 146.0435 | 144.917 | 0.41415 | 291.3746 | 2518.8036
| July | 310.9388 | 149.4699 | 0.35416 | 460.7629 | 2979.5665
| August | 430.4203 | 184.4354 | 32.8047 | 647.6605 | 3627.227
| September | 657.7512 | 264.1431 | 92.685 | 1014.5793 | 4641.8062
| October | 873.7872 | 395.4792 | 128.2204 | 1397.4868 | 6039.2931
| November | 329.3384 | 379.0139 | 60.2997 | 768.652 | 6807.9451
| December | 274.8629 | 469.711 | 36.5241 | 781.098 | 7589.0431
TULARE HALL | January | 77.3324 | - | - | - | -
| February | 153.79 | - | - | - | -
| March | 93.4892 | - | - | 93.4892 | 93.4892
| April | 114.4994 | 472.9045 | 80.4247 | 667.8285 | 761.3177
| May | 102.695 | 308.233 | 87.4697 | 498.3977 | 1259.7155
| June | 33.7471 | 144.917 | 0.53434 | 179.1984 | 1438.9139
| July | 123.9333 | 149.4699 | 1.1057 | 274.5089 | 1713.4228
| August | 100.7147 | 184.4354 | 25.8029 | 310.953 | 2024.3758
| September | 116.6424 | 264.1431 | 69.6939 | 450.4794 | 2474.8551
| October | 139.1104 | 395.4792 | 114.3779 | 648.9676 | 3123.8227
| November | 48.3113 | 379.0139 | 62.7447 | 490.0699 | 3613.8926
| December | 51.5255 | 469.711 | 44.6002 | 565.8366 | 4179.7292
MADERA HALL | January | 976.563 | - | - | - | -
| February | 1999.4624 | - | - | - | -
| March | 1398.4628 | - | - | 1398.4628 | 1398.4628
| April | 1690.1747 | 472.9045 | 64.2001 | 2227.2793 | 3625.7421
| May | 1422.6106 | 308.233 | 54.265 | 1785.1086 | 5410.8507
| June | 510.5122 | 144.917 | 0.35188 | 655.7811 | 6066.6318
| July | 601.7458 | 149.4699 | 8.2464 | 759.462 | 6826.0938
| August | 1293.9023 | 184.4354 | 95.4979 | 1573.8356 | 8399.9294
| September | 1950.3576 | 264.1431 | 79.669 | 2294.1697 | 10694.0992
| October | 2738.9648 | 395.4792 | 118.9836 | 3253.4276 | 13947.5268
| November | 1016.0554 | 379.0139 | 57.9898 | 1453.0592 | 15400.5859
| December | 881.1034 | 469.711 | 38.5318 | 1389.3462 | 16789.9321
KINGS HALL | January | 106.9678 | - | - | - | -
| February | 151.958 | - | - | - | -
| March | 83.5106 | - | - | 83.5106 | 83.5106
| April | 97.3501 | 472.9045 | 64.2001 | 634.4547 | 717.9653
| May | 118.1779 | 308.233 | 54.265 | 480.676 | 1198.6413
| June | 115.6711 | 144.917 | 0.35188 | 260.94 | 1459.5812
| July | 136.6176 | 149.4699 | 8.2464 | 294.3339 | 1753.9151
| August | 143.8945 | 184.4354 | 95.4979 | 423.8278 | 2177.7429
| September | 156.0744 | 264.1431 | 79.669 | 499.8865 | 2677.6294
| October | 167.3672 | 395.4792 | 118.9836 | 681.83 | 3359.4595
| November | 60.3668 | 379.0139 | 57.9898 | 497.3706 | 3856.83
| December | 101.7809 | 469.711 | 38.5318 | 610.0237 | 4466.8537
FRESNO HALL | January | 154.4895 | - | - | - | -
| February | 311.4367 | - | - | - | -
| March | 219.2394 | - | - | 219.2394 | 219.2394
| April | 255.5954 | 236.4523 | 64.2001 | 556.2478 | 775.4872
| May | 223.1712 | 154.1165 | 54.265 | 431.5528 | 1207.0399
| June | 74.2436 | 72.4585 | 0.35188 | 147.054 | 1354.0939
| July | 159.1932 | 74.7349 | 8.2464 | 242.1746 | 1596.2685
| August | 214.7508 | 92.2177 | 95.4979 | 402.4664 | 1998.7349
| September | 314.3112 | 132.0716 | 39.8345 | 486.2173 | 2484.9522
| October | 404.1752 | 197.7396 | 59.4918 | 661.4066 | 3146.3588
| November | 154.0425 | 189.507 | 28.9949 | 372.5444 | 3518.9032
| December | 121.3751 | 234.8555 | 19.2659 | 375.4965 | 3894.3996
STANISLAUS HALL | January | 171.0607 | - | - | - | -
| February | 355.0186 | - | - | - | -
| March | 251.6942 | - | - | 251.6942 | 251.6942
| April | 272.642 | 472.9045 | 64.2001 | 809.7466 | 1061.4408
| May | 227.1629 | 308.233 | 54.265 | 589.6609 | 1651.1017
| June | 63.654 | 144.917 | 0.35188 | 208.9229 | 1860.0246
| July | 111.0163 | 149.4699 | 8.2464 | 268.7326 | 2128.7572
| August | 143.7797 | 184.4354 | 95.4979 | 423.713 | 2552.4702
| September | 220.5648 | 264.1431 | 79.669 | 564.3769 | 3116.8471
| October | 319.5192 | 395.4792 | 118.9836 | 833.982 | 3950.8292
| November | 110.1069 | 379.0139 | 57.9898 | 547.1107 | 4497.9398
| December | 102.4159 | 469.711 | 38.5318 | 610.6587 | 5108.5985
SAN JOAQUIN HALL | January | 205.343 | - | - | - | -
| February | 453.7527 | - | - | - | -
| March | 313.6006 | - | - | 313.6006 | 313.6006
| April | 362.4957 | 236.4523 | 47.3008 | 646.2487 | 959.8493
| May | 306.6336 | 154.1165 | 32.0775 | 492.8276 | 1452.6769
| June | 101.0086 | 72.4585 | 0.10571 | 173.5728 | 1626.2497
| July | 179.0924 | 74.7349 | 23.2794 | 277.1067 | 1903.3564
| August | 277.798 | 92.2177 | 227.8846 | 597.9003 | 2501.2566
| September | 350.9448 | 132.0716 | 36.9332 | 519.9495 | 3021.2062
| October | 472.7008 | 197.7396 | 54.8194 | 725.2598 | 3746.4659
| November | 171.456 | 189.507 | 21.8617 | 382.8247 | 4129.2906
| December | 156.4813 | 234.8555 | 14.8971 | 406.2339 | 4535.5245
MERCED HALL | January | 213.6725 | - | - | - | -
| February | 431.9618 | - | - | - | -
| March | 287.8305 | - | - | 287.8305 | 287.8305
| April | 361.058 | 472.9045 | 64.2001 | 898.1626 | 1185.9931
| May | 337.5994 | 308.233 | 54.265 | 700.0974 | 1886.0905
| June | 101.0086 | 144.917 | 0.35188 | 246.2774 | 2132.368
| July | 233.6696 | 149.4699 | 8.2464 | 391.3859 | 2523.7538
| August | 253.337 | 184.4354 | 95.4979 | 533.2703 | 3057.0242
| September | 139.6656 | 264.1431 | 79.669 | 483.4777 | 3540.5019
| October | 114.8576 | 395.4792 | 118.9836 | 629.3204 | 4169.8223
| November | 36.2558 | 379.0139 | 57.9898 | 473.2596 | 4643.0819
| December | 57.3311 | 469.711 | 38.5318 | 565.5739 | 5208.6558
CALAVERAS HALL | January | 444.2669 | - | - | - | -
| February | 912.905 | - | - | - | -
| March | 618.7726 | - | - | 618.7726 | 618.7726
| April | 697.6759 | 472.9045 | 64.2001 | 1234.7805 | 1853.553
| May | 578.5517 | 308.233 | 54.265 | 941.0497 | 2794.6028
| June | 230.7604 | 144.917 | 0.35188 | 376.0292 | 3170.632
| July | 401.5905 | 149.4699 | 8.2464 | 559.3068 | 3729.9388
| August | 616.1166 | 184.4354 | 95.4979 | 896.0499 | 4625.9887
| September | 432.0984 | 264.1431 | 79.669 | 775.9105 | 5401.8992
| October | 486.5432 | 395.4792 | 118.9836 | 1001.006 | 6402.9052
| November | 218.0706 | 379.0139 | 57.9898 | 655.0744 | 7057.9796
| December | 352.7861 | 469.711 | 38.5318 | 861.0289 | 7919.0085
TOTAL | January | 4871.1536 | - | - | - | -
| February | 8663.63 | - | - | - | -
| March | 7046.373 | - | - | 7046.373 | 7046.373
| April | 7621.6518 | 5674.8542 | 1042.4725 | 14338.9785 | 21385.3516
| May | 6862.3027 | 3698.7962 | 757.7002 | 11318.7991 | 32704.1507
| June | 3578.2402 | 1739.0038 | 209.2408 | 5526.4848 | 38230.6354
| July | 5168.5433 | 1793.6386 | 119.0673 | 7081.2493 | 45311.8847
| August | 6826.3193 | 2213.2251 | 983.9509 | 10023.4954 | 55335.3801
| September | 7842.7704 | 3169.7172 | 862.3413 | 11874.8289 | 67210.209
| October | 10420.124 | 4745.751 | 1110.6368 | 16276.5118 | 83486.7207
| November | 3864.1896 | 4548.1673 | 525.8347 | 8938.1916 | 92424.9123
| December | 4218.5556 | 5636.5314 | 866.3622 | 10721.4492 | 103146.3615
Notes:
(a) Electricity bills are based on manual reads of meters for each building.
(b) Water meter readings are available for Valley Dining and Terrace Center Commons, Tulare, Kern, and San Joaquin Halls only.
Other housing buildings are estimated based on a size-weighted average of readings for Tulare, Kern, and San Joaquin Halls.
Full-size buildings are 2/5 times (Tulare + Kern + San Joaquin Hall readings)
Half-size buildings are 1/5 times (Tulare + Kern + San Joaquin Hall readings)
(c) Gas meter readings are available for 2 locations only: HOUSING/COMMONS/DINING & KITCHEN and LAUNDRY.
Individual buildings are estimated based on a weighted average of the two readings.
Valley Dining and Terrace Center Commons are 4/24 times the sum of both readings
Full-size housing buildings are 2/24 times the sum of both readings
Half-size housing buildings are 1/24 times the sum of both readings
(d) Water bills for October and November are incomplete, as meter was not read at Terrace Center Commons. Meter read has
been requested for early January 2007.
Note on C140: John Elliott: Corrected from previous versions
Note on F140: John Elliott: Corrected from previous versions

## Electric old (hidden)
Electricity Bill Details - 2006
Building | Billing Month | Read Date | Reading (kWh) | Usage (kWh) | Unit Cost ($/kWh) (a) | Charges
VALLEY DINING COMMONS | JANUARY | 2007-02-06 | 360022 | 16656 | 0.087678 | 1460.3729
| FEBRUARY | 2006-03-06 | 154174 | 22448 | 0.09642 | 2164.4371 | Ratio of peak month energy over last year (Oct 06) to Feb 06 energy | 1.2822
| MARCH | 2006-04-04 | 180116 | 25942 | 0.09688 | 2513.261 | Ratio of max summer energy last year (Aug 06) to Feb 06 energy | 0.86538
| APRIL | 2006-05-01 | 201334 | 21218 | 0.10269 | 2178.8764 | Ratio of Commons plus Dining annual energy to Dining annual energy | 1.4731
| MAY | 2006-06-01 | 220390 | 19056 | 0.12096 | 2305.0138
| JUNE | 2006-06-28 | 232343 | 11953 | 0.11637 | 1390.9625
| JULY | 2006-07-27 | 248038 | 15695 | 0.11637 | 1826.4165
| AUGUST | 2006-09-05 | 267464 | 19426 | 0.11484 | 2230.8818
| SEPTEMBER | 2006-10-03 | 286756 | 19292 | 0.1272 | 2453.9424
| OCTOBER | 2006-11-14 | 315538 | 28782 | 0.1144 | 3292.6608
| NOVEMBER | 2006-12-05 | 328546 | 13008 | 0.0893 | 1161.6144
| DECEMBER | 2006-01-08 | 343366 | 14820 | 0.090714 | 1344.3788
TERRACE CENTER COMMONS | JANUARY | 2007-02-06 | 174797 | 8601 | 0.087678 | 754.1227
| FEBRUARY | 2006-03-06 | 78620 | 11826 | 0.09642 | 1140.2634
| MARCH | 2006-04-04 | 87253 | 8633 | 0.09688 | 836.365
| APRIL | 2006-05-01 | 97941 | 10688 | 0.10269 | 1097.5507
| MAY | 2006-06-01 | 104773 | 6832 | 0.12096 | 826.3987
| JUNE | 2006-06-28 | 111739 | 6966 | 0.11637 | 810.6287
| JULY | 2006-07-27 | 121057 | 9318 | 0.11637 | 1084.3293
| AUGUST | 2006-09-05 | 130816 | 9759 | 0.11484 | 1120.7236
| SEPTEMBER | 2006-10-03 | 139074 | 8258 | 0.1272 | 1050.4176
| OCTOBER | 2006-11-14 | 151403 | 12329 | 0.1144 | 1410.4376
| NOVEMBER | 2006-12-05 | 157658 | 6255 | 0.0893 | 558.5715
| DECEMBER | 2006-01-08 | 166196 | 8538 | 0.090714 | 774.5146
KERN HALL | JANUARY | 2006-01-30 | 32372 | 3501 | 0.087678 | 306.9624
| FEBRUARY | 2006-03-06 | 38477 | 6105 | 0.09642 | 588.6444
| MARCH | 2006-04-04 | 42917 | 4440 | 0.09688 | 430.1472
| APRIL | 2006-05-01 | 47725 | 4808 | 0.10269 | 493.7335
| MAY | 2006-06-01 | 51150 | 3425 | 0.12096 | 414.288
| JUNE | 2006-06-28 | 52405 | 1255 | 0.11637 | 146.0435
| JULY | 2006-07-27 | 55077 | 2672 | 0.11637 | 310.9388
| AUGUST | 2006-09-05 | 58825 | 3748 | 0.11484 | 430.4203
| SEPTEMBER | 2006-10-03 | 63996 | 5171 | 0.1272 | 657.7512
| OCTOBER | 2006-11-14 | 71634 | 7638 | 0.1144 | 873.7872
| NOVEMBER | 2006-12-05 | 75322 | 3688 | 0.0893 | 329.3384
| DECEMBER | 2006-01-08 | 78352 | 3030 | 0.090714 | 274.8629
TULARE HALL | JANUARY | 2006-01-30 | 8065 | 882 | 0.087678 | 77.3324
| FEBRUARY | 2006-03-06 | 9664 | 1595 | 0.09642 | 153.79
| MARCH | 2006-04-04 | 10629 | 965 | 0.09688 | 93.4892
| APRIL | 2006-05-01 | 11744 | 1115 | 0.10269 | 114.4994
| MAY | 2006-06-01 | 12593 | 849 | 0.12096 | 102.695
| JUNE | 2006-06-28 | 12883 | 290 | 0.11637 | 33.7471
| JULY | 2006-07-27 | 13948 | 1065 | 0.11637 | 123.9333
| AUGUST | 2006-09-05 | 14825 | 877 | 0.11484 | 100.7147
| SEPTEMBER | 2006-10-03 | 15742 | 917 | 0.1272 | 116.6424
| OCTOBER | 2006-11-14 | 16958 | 1216 | 0.1144 | 139.1104
| NOVEMBER | 2006-12-05 | 17499 | 541 | 0.0893 | 48.3113
| DECEMBER | 2006-01-08 | 18067 | 568 | 0.090714 | 51.5255
MADERA HALL | JANUARY | 2006-01-30 | 100061 | 11138 | 0.087678 | 976.563
| FEBRUARY | 2006-03-06 | 120798 | 20737 | 0.09642 | 1999.4624
| MARCH | 2006-04-04 | 135233 | 14435 | 0.09688 | 1398.4628
| APRIL | 2006-05-01 | 151692 | 16459 | 0.10269 | 1690.1747
| MAY | 2006-06-01 | 163453 | 11761 | 0.12096 | 1422.6106
| JUNE | 2006-06-28 | 167840 | 4387 | 0.11637 | 510.5122
| JULY | 2006-07-27 | 173011 | 5171 | 0.11637 | 601.7458
| AUGUST | 2006-09-05 | 184278 | 11267 | 0.11484 | 1293.9023
| SEPTEMBER | 2006-10-03 | 199611 | 15333 | 0.1272 | 1950.3576
| OCTOBER | 2006-11-14 | 223553 | 23942 | 0.1144 | 2738.9648
| NOVEMBER | 2006-12-05 | 234931 | 11378 | 0.0893 | 1016.0554
| DECEMBER | 2006-01-08 | 244644 | 9713 | 0.090714 | 881.1034
KINGS HALL | JANUARY | 2006-01-30 | 9628 | 1220 | 0.087678 | 106.9678
| FEBRUARY | 2006-03-06 | 11206 | 1576 | 0.09642 | 151.958
| MARCH | 2006-04-04 | 12068 | 862 | 0.09688 | 83.5106
| APRIL | 2006-05-01 | 13016 | 948 | 0.10269 | 97.3501
| MAY | 2006-06-01 | 13993 | 977 | 0.12096 | 118.1779
| JUNE | 2006-06-28 | 14987 | 994 | 0.11637 | 115.6711
| JULY | 2006-07-27 | 16161 | 1174 | 0.11637 | 136.6176
| AUGUST | 2006-09-05 | 17414 | 1253 | 0.11484 | 143.8945
| SEPTEMBER | 2006-10-03 | 18641 | 1227 | 0.1272 | 156.0744
| OCTOBER | 2006-11-14 | 20104 | 1463 | 0.1144 | 167.3672
| NOVEMBER | 2006-12-05 | 20780 | 676 | 0.0893 | 60.3668
| DECEMBER | 2006-01-08 | 21902 | 1122 | 0.090714 | 101.7809
FRESNO HALL | JANUARY | 2006-01-30 | 15610 | 1762 | 0.087678 | 154.4895
| FEBRUARY | 2006-03-06 | 18840 | 3230 | 0.09642 | 311.4367
| MARCH | 2006-04-04 | 21103 | 2263 | 0.09688 | 219.2394
| APRIL | 2006-05-01 | 23592 | 2489 | 0.10269 | 255.5954
| MAY | 2006-06-01 | 25437 | 1845 | 0.12096 | 223.1712
| JUNE | 2006-06-28 | 26075 | 638 | 0.11637 | 74.2436
| JULY | 2006-07-27 | 27443 | 1368 | 0.11637 | 159.1932
| AUGUST | 2006-09-05 | 29313 | 1870 | 0.11484 | 214.7508
| SEPTEMBER | 2006-10-03 | 31784 | 2471 | 0.1272 | 314.3112
| OCTOBER | 2006-11-14 | 35317 | 3533 | 0.1144 | 404.1752
| NOVEMBER | 2006-12-05 | 37042 | 1725 | 0.0893 | 154.0425
| DECEMBER | 2006-01-08 | 38380 | 1338 | 0.090714 | 121.3751
STANISLAUS HALL | JANUARY | 2006-01-30 | 14754 | 1951 | 0.087678 | 171.0607
| FEBRUARY | 2006-03-06 | 18436 | 3682 | 0.09642 | 355.0186
| MARCH | 2006-04-04 | 21034 | 2598 | 0.09688 | 251.6942
| APRIL | 2006-05-01 | 23689 | 2655 | 0.10269 | 272.642
| MAY | 2006-06-01 | 25567 | 1878 | 0.12096 | 227.1629
| JUNE | 2006-06-28 | 26114 | 547 | 0.11637 | 63.654
| JULY | 2006-07-27 | 27068 | 954 | 0.11637 | 111.0163
| AUGUST | 2006-09-05 | 28320 | 1252 | 0.11484 | 143.7797
| SEPTEMBER | 2006-10-03 | 30054 | 1734 | 0.1272 | 220.5648
| OCTOBER | 2006-11-14 | 32847 | 2793 | 0.1144 | 319.5192
| NOVEMBER | 2006-12-05 | 34080 | 1233 | 0.0893 | 110.1069
| DECEMBER | 2006-01-08 | 35209 | 1129 | 0.090714 | 102.4159
SAN JOAQUIN HALL | JANUARY | 2006-01-30 | 23118 | 2342 | 0.087678 | 205.343
| FEBRUARY | 2006-03-06 | 27826 | 4706 | 0.09642 | 453.7527
| MARCH | 2006-04-04 | 31063 | 3237 | 0.09688 | 313.6006
| APRIL | 2006-05-01 | 34593 | 3530 | 0.10269 | 362.4957
| MAY | 2006-06-01 | 37128 | 2535 | 0.12096 | 306.6336
| JUNE | 2006-06-28 | 37996 | 868 | 0.11637 | 101.0086
| JULY | 2006-07-27 | 39535 | 1539 | 0.11637 | 179.0924
| AUGUST | 2006-09-05 | 41954 | 2419 | 0.11484 | 277.798
| SEPTEMBER | 2006-10-03 | 44713 | 2759 | 0.1272 | 350.9448
| OCTOBER | 2006-11-14 | 48845 | 4132 | 0.1144 | 472.7008
| NOVEMBER | 2006-12-05 | 50765 | 1920 | 0.0893 | 171.456
| DECEMBER | 2006-01-08 | 52490 | 1725 | 0.090714 | 156.4813
MERCED HALL | JANUARY | 2006-01-30 | 23547 | 2437 | 0.087678 | 213.6725
| FEBRUARY | 2006-03-06 | 28027 | 4480 | 0.09642 | 431.9618
| MARCH | 2006-04-04 | 30998 | 2971 | 0.09688 | 287.8305
| APRIL | 2006-05-01 | 34514 | 3516 | 0.10269 | 361.058
| MAY | 2006-06-01 | 37305 | 2791 | 0.12096 | 337.5994
| JUNE | 2006-06-28 | 38173 | 868 | 0.11637 | 101.0086
| JULY | 2006-07-27 | 40181 | 2008 | 0.11637 | 233.6696
| AUGUST | 2006-09-05 | 42387 | 2206 | 0.11484 | 253.337
| SEPTEMBER | 2006-10-03 | 43485 | 1098 | 0.1272 | 139.6656
| OCTOBER | 2006-11-14 | 44489 | 1004 | 0.1144 | 114.8576
| NOVEMBER | 2006-12-05 | 44895 | 406 | 0.0893 | 36.2558
| DECEMBER | 2006-01-08 | 45532 | 632 | 0.090714 | 57.3311
CALAVERAS HALL | JANUARY | 2006-01-30 | 46264 | 5067 | 0.087678 | 444.2669
| FEBRUARY | 2006-03-06 | 55732 | 9468 | 0.09642 | 912.905
| MARCH | 2006-04-04 | 62119 | 6387 | 0.09688 | 618.7726
| APRIL | 2006-05-01 | 68913 | 6794 | 0.10269 | 697.6759
| MAY | 2006-06-01 | 73696 | 4783 | 0.12096 | 578.5517
| JUNE | 2006-06-28 | 75679 | 1983 | 0.11637 | 230.7604
| JULY | 2006-07-27 | 79130 | 3451 | 0.11637 | 401.5905
| AUGUST | 2006-09-05 | 84495 | 5365 | 0.11484 | 616.1166
| SEPTEMBER | 2006-10-03 | 87892 | 3397 | 0.1272 | 432.0984
| OCTOBER | 2006-11-14 | 92145 | 4253 | 0.1144 | 486.5432
| NOVEMBER | 2006-12-05 | 94587 | 2442 | 0.0893 | 218.0706
| DECEMBER | 2006-01-08 | 98476 | 3889 | 0.090714 | 352.7861
Notes:
(a) Unit Cost is calculated from the main campus feeder (El Capitan) bill from PG&E.

## Gas Old (hidden)
Natural Gas Bill Details - 2006
Building | Billing Month | Date | Prior Meter (100 x cub-ft) | Current Meter (100 x cub-ft) | Usage (therms) | Unit Cost ($/therm) (a) | Charges
HOUSING/COMMONS/DINING & KITCHEN | April | 2006-05-01 | 48534 | 53936 | 5402 |  | 5344.4147
| May | 2006-06-01 | 53936 | 57534 | 3598 |  | 3504.0202
| June | 2006-06-28 | 57534 | 59617 | 2083 |  | 1705.4354
| July | 2006-07-27 | 59617 | 61755 | 2138 |  | 1759.0823
| August | 2006-09-05 | 61755 | 64169 | 2414 |  | 2124.3441
| September | 2006-10-03 | 64169 | 67411 | 3242 | 0.9132 | 2960.5944
| October | 2006-11-14 | 67411 | 73404 | 5993 | 0.7521 | 4507.3353
| November | 2006-12-05 | 73404 | 77739 | 4335 | 1.0069 | 4364.9115
| December | 2006-01-08 | 77739 | 83671 | 5932 | 0.92145 | 5466.0625
LAUNDRY | April | 2006-05-01 | 2444 | 2778 | 334 |  | 330.4396
| May | 2006-06-01 | 2778 | 2978 | 200 |  | 194.776
| June | 2006-06-28 | 2978 | 3019 | 41 |  | 33.5683
| July | 2006-07-27 | 3019 | 3061 | 42 |  | 34.5563
| August | 2006-09-05 | 3061 | 3162 | 101 |  | 88.881
| September | 2006-10-03 | 3162 | 3391 | 229 | 0.9132 | 209.1228
| October | 2006-11-14 | 3391 | 3708 | 317 | 0.7521 | 238.4157
| November | 2006-12-05 | 3708 | 3890 | 182 | 1.0069 | 183.2558
| December | 2006-01-08 | 3890 | 4075 | 185 | 0.92145 | 170.4689
Notes:
(a) Unit Cost is calculated from the main campus supply bill from PG&E.

## Water Old (hidden)
Water & Sewer Bill Details - 2006
BUILDING | Billing Month | Read Date | Reading (gal) | Usage (gal) | Unit Cost ($/1000 gal) | Charges
VALLEY DINING COMMONS (metered) | JANUARY
FEBRUARY
MARCH
| APRIL | 2006-05-01 | 218403 | 218403 | 1.4668 | 320.3594
| MAY | 2006-06-01 | 0 | 119456 | 1.46 | 174.405
| JUNE | 2006-06-28 | 136405 | 136405 | 1.4481 | 197.5258
| JULY | 2006-07-27 | 157566 | 21161 | 1.4397 | 30.4647
| AUGUST | 2006-09-05 | 202655 | 45089 | 1.4295 | 64.4558
| SEPTEMBER | 2006-10-03 | 279159 | 76504 | 1.4241 | 108.9513
| OCTOBER | 2006-11-14 | 390168 | 111009 | 1.4306 | 158.8095
| NOVEMBER | 2006-12-05 | 433393 | 43225 | 1.434 | 61.9847
| DECEMBER | 2006-01-08 | 463056 | 29663 | 1.4591 | 43.2812
TERRACE CENTER COMMONS (metered) | JANUARY
FEBRUARY
| MARCH |  | 357993
| APRIL | 2006-05-02 | 456376 | 98383 | 1.4668 | 144.3108
| MAY | 2006-06-01 | 521384 | 65008 | 1.46 | 94.9113
| JUNE | 2006-06-28 | 527288 | 5904 | 1.4481 | 8.5495
| JULY | 2006-07-27 | 537280 | 9992 | 1.4397 | 14.3851
| AUGUST | 2006-09-05 | 579263 | 41983 | 1.4295 | 60.0157
| SEPTEMBER | 2006-10-03 | 660645 | 81382 | 1.4241 | 115.8982
| OCTOBER | 2006-11-14 | not read | not read | 1.4306 | not read
| NOVEMBER | 2006-12-05 | not read | not read | 1.434 | not read
| DECEMBER | 2006-01-08 | 1013695 | 353050 | 1.4591 | 515.1344
KERN HALL (metered) | JANUARY
FEBRUARY
| MARCH |  | 187391
| APRIL | 2006-05-01 | 231620 | 44229 | 1.4668 | 64.8763
| MAY | 2006-06-01 | 261241 | 29621 | 1.46 | 43.2465
| JUNE | 2006-06-28 | 261527 | 286 | 1.4481 | 0.41415
| JULY | 2006-07-27 | 261773 | 246 | 1.4397 | 0.35416
| AUGUST | 2006-09-05 | 284721 | 22948 | 1.4295 | 32.8047
| SEPTEMBER | 2006-10-03 | 349803 | 65082 | 1.4241 | 92.685
| OCTOBER | 2006-11-14 | 439430 | 89627 | 1.4306 | 128.2204
| NOVEMBER | 2006-12-05 | 481480 | 42050 | 1.434 | 60.2997
| DECEMBER | 2006-01-08 | 506512 | 25032 | 1.4591 | 36.5241
TULARE HALL (metered) | JANUARY
FEBRUARY
| MARCH |  | 507695
| APRIL | 2006-05-01 | 562524 | 54829 | 1.4668 | 80.4247
| MAY | 2006-06-01 | 622435 | 59911 | 1.46 | 87.4697
| JUNE | 2006-06-28 | 622804 | 369 | 1.4481 | 0.53434
| JULY | 2006-07-27 | 623572 | 768 | 1.4397 | 1.1057
| AUGUST | 2006-09-05 | 641622 | 18050 | 1.4295 | 25.8029
| SEPTEMBER | 2006-10-03 | 690560 | 48938 | 1.4241 | 69.6939
| OCTOBER | 2006-11-14 | 770511 | 79951 | 1.4306 | 114.3779
| NOVEMBER | 2006-12-05 | 814266 | 43755 | 1.434 | 62.7447
| DECEMBER | 2006-01-08 | 844833 | 30567 | 1.4591 | 44.6002
MADERA HALL (estimated) (b) | JANUARY
FEBRUARY
MARCH
| APRIL | 2006-05-01 |  | 43768 | 1.4668 | 64.2001
| MAY | 2006-06-01 |  | 37168 | 1.46 | 54.265
| JUNE | 2006-06-28 |  | 243 | 1.4481 | 0.35188
| JULY | 2006-07-27 |  | 5728 | 1.4397 | 8.2464
| AUGUST | 2006-09-05 |  | 66804 | 1.4295 | 95.4979
| SEPTEMBER | 2006-10-03 |  | 55942.4 | 1.4241 | 79.669
| OCTOBER | 2006-11-14 |  | 83170.4 | 1.4306 | 118.9836
| NOVEMBER | 2006-12-05 |  | 40439.2 | 1.434 | 57.9898
| DECEMBER | 2006-01-08 |  | 26408 | 1.4591 | 38.5318
KINGS HALL (estimated) (b) | JANUARY
FEBRUARY
MARCH
| APRIL | 2006-05-01 |  | 43768 | 1.4668 | 64.2001
| MAY | 2006-06-01 |  | 37168 | 1.46 | 54.265
| JUNE | 2006-06-28 |  | 243 | 1.4481 | 0.35188
| JULY | 2006-07-27 |  | 5728 | 1.4397 | 8.2464
| AUGUST | 2006-09-05 |  | 66804 | 1.4295 | 95.4979
| SEPTEMBER | 2006-10-03 |  | 55942.4 | 1.4241 | 79.669
| OCTOBER | 2006-11-14 |  | 83170.4 | 1.4306 | 118.9836
| NOVEMBER | 2006-12-05 |  | 40439.2 | 1.434 | 57.9898
| DECEMBER | 2006-01-08 |  | 26408 | 1.4591 | 38.5318
FRESNO HALL (estimated) (b) | JANUARY
FEBRUARY
MARCH
| APRIL | 2006-05-01 |  | 43768 | 1.4668 | 64.2001
| MAY | 2006-06-01 |  | 37168 | 1.46 | 54.265
| JUNE | 2006-06-28 |  | 243 | 1.4481 | 0.35188
| JULY | 2006-07-27 |  | 5728 | 1.4397 | 8.2464
| AUGUST | 2006-09-05 |  | 66804 | 1.4295 | 95.4979
| SEPTEMBER | 2006-10-03 |  | 27971.2 | 1.4241 | 39.8345
| OCTOBER | 2006-11-14 |  | 41585.2 | 1.4306 | 59.4918
| NOVEMBER | 2006-12-05 |  | 20219.6 | 1.434 | 28.9949
| DECEMBER | 2006-01-08 |  | 13204 | 1.4591 | 19.2659
STANISLAUS HALL (estimated) (b) | JANUARY
FEBRUARY
MARCH
| APRIL | 2006-05-01 |  | 43768 | 1.4668 | 64.2001
| MAY | 2006-06-01 |  | 37168 | 1.46 | 54.265
| JUNE | 2006-06-28 |  | 243 | 1.4481 | 0.35188
| JULY | 2006-07-27 |  | 5728 | 1.4397 | 8.2464
| AUGUST | 2006-09-05 |  | 66804 | 1.4295 | 95.4979
| SEPTEMBER | 2006-10-03 |  | 55942.4 | 1.4241 | 79.669
| OCTOBER | 2006-11-14 |  | 83170.4 | 1.4306 | 118.9836
| NOVEMBER | 2006-12-05 |  | 40439.2 | 1.434 | 57.9898
| DECEMBER | 2006-01-08 |  | 26408 | 1.4591 | 38.5318
SAN JOAQUIN HALL (metered) | JANUARY
FEBRUARY
| MARCH |  | 112633
| APRIL | 2006-05-01 | 144880 | 32247 | 1.4668 | 47.3008
| MAY | 2006-06-01 | 166851 | 21971 | 1.46 | 32.0775
| JUNE | 2006-06-28 | 166924 | 73 | 1.4481 | 0.10571
| JULY | 2006-07-27 | 16170 | 16170 | 1.4397 | 23.2794
| AUGUST | 2006-09-05 | 175583 | 159413 | 1.4295 | 227.8846
| SEPTEMBER | 2006-10-03 | 201419 | 25836 | 1.4241 | 36.9332
| OCTOBER | 2006-11-14 | 239767 | 38348 | 1.4306 | 54.8194
| NOVEMBER | 2006-12-05 | 255060 | 15293 | 1.434 | 21.8617
| DECEMBER | 2006-01-08 | 265481 | 10421 | 1.4591 | 14.8971
MERCED HALL (estimated) (b) | JANUARY
FEBRUARY
MARCH
| APRIL | 2006-05-01 |  | 43768 | 1.4668 | 64.2001
| MAY | 2006-06-01 |  | 37168 | 1.46 | 54.265
| JUNE | 2006-06-28 |  | 243 | 1.4481 | 0.35188
| JULY | 2006-07-27 |  | 5728 | 1.4397 | 8.2464
| AUGUST | 2006-09-05 |  | 66804 | 1.4295 | 95.4979
| SEPTEMBER | 2006-10-03 |  | 55942.4 | 1.4241 | 79.669
| OCTOBER | 2006-11-14 |  | 83170.4 | 1.4306 | 118.9836
| NOVEMBER | 2006-12-05 |  | 40439.2 | 1.434 | 57.9898
| DECEMBER | 2006-01-08 |  | 26408 | 1.4591 | 38.5318
CALAVERAS HALL (estimated) (b) | JANUARY
FEBRUARY
MARCH
| APRIL | 2006-05-01 |  | 43768 | 1.4668 | 64.2001
| MAY | 2006-06-01 |  | 37168 | 1.46 | 54.265
| JUNE | 2006-06-28 |  | 243 | 1.4481 | 0.35188
| JULY | 2006-07-27 |  | 5728 | 1.4397 | 8.2464
| AUGUST | 2006-09-05 |  | 66804 | 1.4295 | 95.4979
| SEPTEMBER | 2006-10-03 |  | 55942.4 | 1.4241 | 79.669
| OCTOBER | 2006-11-14 |  | 83170.4 | 1.4306 | 118.9836
| NOVEMBER | 2006-12-05 |  | 40439.2 | 1.434 | 57.9898
| DECEMBER | 2006-01-08 |  | 26408 | 1.4591 | 38.5318
Notes:
(a) Unit Cost is calculated from the main campus supply bill from the City of Merced.
(b) Estimated bills are a size-weighted average of readings for Tulare, Kern, and San Joaquin Halls.
Full-size buildings are 2/5 times (Tulare + Kern + San Joaquin Hall readings)
Half-size buildings are 1/5 times (Tulare + Kern + San Joaquin Hall readings)
Note on D7: Sajid Mian: Reset the waterr meter at Dining- on previous visit
Note on D19: Sajid Mian: Ramon took meter readings on 5/2/06. Had great difficulty to access the meter
Note on D106: Sajid Mian: Water meter has been reset

## Chilled Water
Chilled Water
BUILDING | Billing Month | 2017-07-14 | 2017-08-14 | 2017-09-14 | 2017-10-14 | 2017-11-14 | 2017-12-14 | 2018-01-14 | 2018-02-14 | 2018-03-14 | 2018-04-14 | 2018-05-14 | 2018-06-14 | Total | Check
| Read Date | 2015-08-03 | 2017-09-02 | 2017-10-05 | 2016-11-01 | 2016-12-01 | 2015-01-01 | 2017-02-02 | 2012-03-01 | 2015-04-01 | 2014-05-04 | 2015-06-01 | 2013-07-01
| Unit Cost ($/ton-hr) | 0.11235 | 0.11235 | 0.11235 | 0.11235 | 0.11235 | 0.11235 | 0.11235 | 0.11235 | 0.11235 | 0.11235 | 0.11235 | 0.11235
TERRACE | Usage (ton-hr) | 12573.12 | 12677.805 | 8846.974 | 3753.1538 | 1869.8838 | 2497.9996 | 513 | 2903.634 | 1580.1232 | 1741.2431 | 4731.7128 | 9366.4642 | 63055.1137
CENTER COMMONS | Charges | 1412.65 | 1424.41 | 994 | 421.69 | 210.09 | 280.66 | 57.64 | 326.24 | 177.53 | 195.64 | 531.63 | 1052.37 | 7084.55
KERN HALL | Usage (ton-hr) | 9728.3922 | 9851.6307 | 5463.7727 | 2757.1305 | 4102.847 | 2576.8113 | 925 | 6415.6882 | 4288.8263 | 1120.3826 | 4518.6062 | 4944.5145 | 56693.6023
0219 | Charges | 1093.03 | 1106.88 | 613.88 | 309.78 | 460.98 | 289.52 | 103.93 | 720.83 | 481.87 | 125.88 | 507.69 | 555.54 | 6369.81
TULARE HALL | Usage (ton-hr) | 2163.7541 | 5264.1166 | 2854.7038 | 5679.6103 | 1576.1697 | 487.9628 | 767.5 | 1009.1817 | 2189.0843 | 1507.6503 | 1968.2972 | 2155.5108 | 27623.5416
0216 | Charges | 243.11 | 591.45 | 320.74 | 638.13 | 177.09 | 54.83 | 86.23 | 113.39 | 245.95 | 169.39 | 221.15 | 242.18 | 3103.64
MADERA HALL | Usage (ton-hr) | 3280.8024 | 597.4642 | 1881.4351 | 3560.1941 | 3196.9873 | 2069.3758 | 522 | 2896.1979 | 2747.1587 | 739.2502 | 1826.584 | 2578.4654 | 25895.9151
0217 | Charges | 368.61 | 67.13 | 211.39 | 400.01 | 359.2 | 232.5 | 58.65 | 325.4 | 308.66 | 83.06 | 205.23 | 289.7 | 2909.54
KINGS HALL | Usage (ton-hr) | 4288.1018 | 5691.7425 | 5363.6224 | 2757.1305 | 1638.691 | 1495.4444 | 482 | 1121.2353 | 1910.0718 | 999.7094 | 2226.2421 | 4595.5122 | 32569.5034
0220 | Charges | 481.79 | 639.5 | 602.63 | 309.78 | 184.12 | 168.02 | 54.16 | 125.98 | 214.61 | 112.32 | 250.13 | 516.33 | 3659.37
FRESNO HALL | Usage (ton-hr) | 1622.1803 | 2532.9523 | 3083.219 | 1745.4711 | 1014.1998 | 601.1993 | 263 | 917.8225 | 897.1541 | 781.4556 | 1470.8845 | 1358.0858 | 16287.6243
0221 | Charges | 182.26 | 284.59 | 346.42 | 196.11 | 113.95 | 67.55 | 29.55 | 103.12 | 100.8 | 87.8 | 165.26 | 152.59 | 1830
STANISLAUS HALL | Usage (ton-hr) | 25647.7379 | 26446.9306 | 23612.8899 | 19748.0932 | 18640.6951 | 1242.6526 | 3144.5 | 592.1828 | 1071.2588 | 6085.0831 | 9335.0846 | 11203.6411 | 146770.7498
0218 | Charges | 2881.65 | 2971.44 | 2653.03 | 2218.8 | 2094.38 | 139.62 | 353.3 | 66.53 | 120.36 | 683.69 | 1048.84 | 1258.79 | 16490.43
SAN JOAQUIN HALL | Usage (ton-hr) | 2314.0027 | 5570.5733 | 3395.2567 | 2159.5907 | 1777.9684 | 996.1713 | 311.5 | 3352.169 | 858.648 | 1367.8924 | 1239.4265 | 2236.3577 | 25579.5566
0222 | Charges | 259.99 | 625.88 | 381.47 | 242.64 | 199.76 | 111.92 | 35 | 376.63 | 96.47 | 153.69 | 139.26 | 251.27 | 2873.98
MERCED HALL | Usage (ton-hr) | 4797.0579 | 5605.4739 | 6023.054 | 3228.2359 | 2043.0249 | 2227.6246 | 694 | 1440.5931 | 2825.4258 | 3454.369 | 3286.6197 | 5260.9159 | 40886.3948
0224 | Charges | 538.97 | 629.8 | 676.72 | 362.71 | 229.54 | 250.28 | 77.97 | 161.86 | 317.45 | 388.12 | 369.27 | 591.09 | 4593.78
CALAVERAS HALL | Usage (ton-hr) | 2722.7598 | 3905.4323 | 4346.6077 | 2023.3697 | 1675.8245 | 813.8227 | 238 | 2300.9257 | 1383.495 | 1208.4807 | 3286.6197 | 2889.7561 | 26795.0941
0223 | Charges | 305.92 | 438.79 | 488.36 | 227.34 | 188.29 | 91.44 | 26.74 | 258.52 | 155.44 | 135.78 | 369.27 | 324.68 | 3010.57
SIERRA TERRACES | Usage (ton-hr) | 25297.5892 | 32919.4881 | 30964.2477 | 15074.1829 | 6394.4169 | 4445 | 2362.5 | 3444.4536 | 5987.3266 | 12459.6528 | 14444.2802 | 20582.5275 | 174375.6657
0212 | Charges | 2842.31 | 3698.67 | 3478.99 | 1693.66 | 718.44 | 499.42 | 265.44 | 387 | 672.71 | 1399.9 | 1622.89 | 2312.55 | 19591.98
Summits - Tenaya | Usage (ton-hr) | 12870.31 | 17410.8704 | 14832.79 | 6336.3442 | 1694.9739 | 605.884 | 727.363 | 373.6281 | 2253.8204 | 5114.0981 | 4558.2882 | 5348.7587 | 72127.1291
(East) | Charges | 1446.04 | 1956.2 | 1666.54 | 711.92 | 190.44 | 68.07 | 81.72 | 41.98 | 253.23 | 574.59 | 512.15 | 600.96 | 8103.84
0227
Summits - Cathedral | Usage (ton-hr) | 13477.5385 | 18186.92 | 17115.8964 | 8374.6243 | 5041.3535 | 2338.682 | 2479.737 | 1120.3726 | 3339.8223 | 6537.5541 | 6215.1198 | 9219.6103 | 93447.2308
(West) | Charges | 1514.27 | 2043.39 | 1923.06 | 940.93 | 566.42 | 262.76 | 278.61 | 125.88 | 375.25 | 734.53 | 698.3 | 1035.87 | 10499.27
0225
Summits - Half Dome | Usage (ton-hr) | 44228.1968 | 47244.88 | 42013.59 | 21586.1645 | 9433.7076 | 2476.523 | 2105.42 | 1079.2742 | 12220.4809 | 12425.8313 | 24943.5087 | 27402.9517 | 247160.5286
| Charges | 4969.26 | 5308.2 | 4720.44 | 2425.31 | 1059.92 | 278.25 | 236.55 | 121.26 | 1373.03 | 1396.1 | 2802.53 | 3078.86 | 27769.71
Total Usage (ton-hr) |  | 165011.5438 | 193906.28 | 169798.0595 | 98783.2957 | 60100.7434 | 24875.1533 | 15535.52 | 28967.3587 | 43552.6965 | 55542.6528 | 84051.2742 | 109143.072 | 1049267.6499 | 1049267.6499
Total Charges |  | 18539.86 | 21786.33 | 19077.67 | 11098.81 | 6752.62 | 2794.84 | 1745.49 | 3254.62 | 4893.36 | 6240.49 | 9443.6 | 12262.78 | 117890.47 | 117890.47
Notes:
(a) Unit Cost is calculated from the main campus electricity feeder (El Capitan) bill from PG&E and an average plant efficiency of 0.75 kW/ton.
(b) Chilled water data was not available for 18 days of November. Therefore, recorded chilled water flows are corrected by a factor of 30/12.
(c) Due to a database problem in the energy management control system, chilled water trend data to calculate recharges is not available for Dec-09 through Mar-10.
Mar-10 values are totals of chilled water usage from Dec-08 through Mar-09 with current average water rates from Dec-09 through Mar-10.
0
0
Note on I6: ucmuser: All of vt are averaged of previous 2 years
Note on A30: ucmuser: Return temp broken, value based on averages from other halls. Used average gallon usage per square foot
Note on K36: FMEnergy: manually calculated from alc