## Load Shape (hidden)
Load Shape
JANUARY | 55557 | 7.355%
FEBRUARY | 89853 | 11.9%
MARCH | 72733 | 9.629%
APRIL | 74220 | 9.826%
MAY | 56732 | 7.511%
JUNE | 30749 | 4.071%
JULY | 44415 | 5.88%
AUGUST | 59442 | 7.869%
SEPTEMBER | 61657 | 8.163%
OCTOBER | 70000 | 9.267%
NOVEMBER | 70000 | 9.267%
DECEMBER | 70000 | 9.267%
Total | 755358

## ECEC Utility Summary
ECEC Utility Summary |  |  |  | 0
Building | Billing Month | 2012-07-01 | 2012-08-01 | 2012-09-01 | 2012-10-01 | 2012-11-01 | 2012-12-01 | 2013-01-01 | 2013-02-01 | 2013-03-01 | 2012-04-01 | 2012-05-01 | 2012-06-01 | Total | Check
Electricity | Read Date | 2012-08-01 | 2012-09-01 | 2012-10-01 | 2012-11-01 | 2012-12-01 | 2013-01-01 | 2013-02-01 | 2013-03-01 | 2013-04-01 | 2012-05-01 | 2012-06-01 | 2012-07-01
Reading (kWh)
| Usage (kWh) | [12 empty] | 0 |  | 0 | 0 | 0
Unit Cost ($/kWh) (a)
| Charges | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0
Water/Sewer | Read Date | [9 empty] | 2012-05-01 | 2012-06-01 | 7//2012
| Usage (gal) | [12 empty] | 0
Unit Cost ($/1000 gal)
| Charges | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0
Cumulative Water Charge
Total |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Notes:
(a) Consumption is based on data collected electronically from the electricity meter.
(b) Unit Cost for electricity is calculated from the main campus feeder (El Capitan) bill from PG&E.
(c) Unit Cost for water/sewer is calculated from the main campus supply bill from the City of Merced.
(d) In July, we found that the building electricity meter was reading high, resulting in an overcharge of $14,411 from last fiscal year. This is applied as a credit (Electricity Credit).
(e) In November, we were able to pull in a history of water usage readings. No water use had been available before. The new usage history is substrated from the credit (Net Credit).
(d) The water data that has been pulled from Aquacue is the 08171953 meter.

## Field Form (hidden)
Building | Electricity |  | Natural Gas |  | Water
| Read Date | 2007-04-05 | Read Date | 2007-04-05 | Read Date | 2007-04-05
VALLEY DINING COMMONS | Reading (kWh) | 397812 | Reading (100 x cub-ft) | 1893 | Reading (gal) | 652198
TERRACE CENTER COMMONS | Reading (kWh) | 191212 | Reading (100 x cub-ft) | 4741 | Reading (gal) | 1221637
KERN HALL | Reading (kWh) | 91887 |  |  | Reading (gal) | 660331
TULARE HALL | Reading (kWh) | 20160 |  |  | Reading (gal) | 990145
MADERA HALL | Reading (kWh) | 288887
KINGS HALL | Reading (kWh) | 24605
FRESNO HALL | Reading (kWh) | 45273
STANISLAUS HALL | Reading (kWh) | 39799
SAN JOAQUIN HALL | Reading (kWh) | 60674 |  |  | Reading (gal) | 329898
MERCED HALL | Reading (kWh) | 47599
CALAVERAS HALL | Reading (kWh) | 109408
GALLO REC AND WELLNESS | Reading (kWh) | 63988 | Reading (100 x cub-ft) | 9726

## Utilities Summary Old (hidden)
Utilities Summary for Valley Terraces - Fiscal Year 2006-2007
Building | Billing Month | Electricity | Natural Gas | Water & Sewer | Monthly Total | Cumulative Total
VALLEY DINING COMMONS | January | 1460.3729 | - | - | - | -
| February | 2164.4371 | - | - | - | -
| March | 2513.261 | - | - | 2513.261 | 2513.261
| April | 2178.8764 | 945.809 | 320.3594 | 3445.0449 | 5958.3058
| May | 2305.0138 | 616.466 | 174.405 | 3095.8848 | 9054.1906
| June | 1390.9625 | 289.834 | 197.5258 | 1878.3222 | 10932.5129
| July | 1826.4165 | 298.9398 | 30.4647 | 2155.821 | 13088.3338
| August | 2230.8818 | 368.8709 | 64.4558 | 2664.2085 | 15752.5423
| September | 2453.9424 | 528.2862 | 108.9513 | 3091.1799 | 18843.7222
| October | 3292.6608 | 790.9585 | 158.8095 | 4242.4288 | 23086.151
| November | 1161.6144 | 758.0279 | 61.9847 | 1981.6269 | 25067.7779
| December | 1344.3788 | 939.4219 | 43.2812 | 2327.082 | 27394.8599
TERRACE CENTER COMMONS | January | 754.1227 | - | - | - | -
| February | 1140.2634 | - | - | - | -
| March | 836.365 | - | - | 836.365 | 836.365
| April | 1097.5507 | 945.809 | 144.3108 | 2187.6706 | 3024.0356
| May | 826.3987 | 616.466 | 94.9113 | 1537.776 | 4561.8117
| June | 810.6287 | 289.834 | 8.5495 | 1109.0121 | 5670.8238
| July | 1084.3293 | 298.9398 | 14.3851 | 1397.6542 | 7068.478
| August | 1120.7236 | 368.8709 | 60.0157 | 1549.6101 | 8618.0881
| September | 1050.4176 | 528.2862 | 115.8982 | 1694.602 | 10312.6901
| October | 1410.4376 | 790.9585 | not read | 2201.3961 | 12514.0862
| November | 558.5715 | 758.0279 | not read | 1316.5994 | 13830.6856
| December | 774.5146 | 939.4219 | 515.1344 | 2229.0709 | 16059.7565
KERN HALL | January | 306.9624 | - | - | - | -
| February | 588.6444 | - | - | - | -
| March | 430.1472 | - | - | 430.1472 | 430.1472
| April | 493.7335 | 472.9045 | 64.8763 | 1031.5143 | 1461.6615
| May | 414.288 | 308.233 | 43.2465 | 765.7675 | 2227.429
| June | 146.0435 | 144.917 | 0.41415 | 291.3746 | 2518.8036
| July | 310.9388 | 149.4699 | 0.35416 | 460.7629 | 2979.5665
| August | 430.4203 | 184.4354 | 32.8047 | 647.6605 | 3627.227
| September | 657.7512 | 264.1431 | 92.685 | 1014.5793 | 4641.8062
| October | 873.7872 | 395.4792 | 128.2204 | 1397.4868 | 6039.2931
| November | 329.3384 | 379.0139 | 60.2997 | 768.652 | 6807.9451
| December | 274.8629 | 469.711 | 36.5241 | 781.098 | 7589.0431
TULARE HALL | January | 77.3324 | - | - | - | -
| February | 153.79 | - | - | - | -
| March | 93.4892 | - | - | 93.4892 | 93.4892
| April | 114.4994 | 472.9045 | 80.4247 | 667.8285 | 761.3177
| May | 102.695 | 308.233 | 87.4697 | 498.3977 | 1259.7155
| June | 33.7471 | 144.917 | 0.53434 | 179.1984 | 1438.9139
| July | 123.9333 | 149.4699 | 1.1057 | 274.5089 | 1713.4228
| August | 100.7147 | 184.4354 | 25.8029 | 310.953 | 2024.3758
| September | 116.6424 | 264.1431 | 69.6939 | 450.4794 | 2474.8551
| October | 139.1104 | 395.4792 | 114.3779 | 648.9676 | 3123.8227
| November | 48.3113 | 379.0139 | 62.7447 | 490.0699 | 3613.8926
| December | 51.5255 | 469.711 | 44.6002 | 565.8366 | 4179.7292
MADERA HALL | January | 976.563 | - | - | - | -
| February | 1999.4624 | - | - | - | -
| March | 1398.4628 | - | - | 1398.4628 | 1398.4628
| April | 1690.1747 | 472.9045 | 64.2001 | 2227.2793 | 3625.7421
| May | 1422.6106 | 308.233 | 54.265 | 1785.1086 | 5410.8507
| June | 510.5122 | 144.917 | 0.35188 | 655.7811 | 6066.6318
| July | 601.7458 | 149.4699 | 8.2464 | 759.462 | 6826.0938
| August | 1293.9023 | 184.4354 | 95.4979 | 1573.8356 | 8399.9294
| September | 1950.3576 | 264.1431 | 79.669 | 2294.1697 | 10694.0992
| October | 2738.9648 | 395.4792 | 118.9836 | 3253.4276 | 13947.5268
| November | 1016.0554 | 379.0139 | 57.9898 | 1453.0592 | 15400.5859
| December | 881.1034 | 469.711 | 38.5318 | 1389.3462 | 16789.9321
KINGS HALL | January | 106.9678 | - | - | - | -
| February | 151.958 | - | - | - | -
| March | 83.5106 | - | - | 83.5106 | 83.5106
| April | 97.3501 | 472.9045 | 64.2001 | 634.4547 | 717.9653
| May | 118.1779 | 308.233 | 54.265 | 480.676 | 1198.6413
| June | 115.6711 | 144.917 | 0.35188 | 260.94 | 1459.5812
| July | 136.6176 | 149.4699 | 8.2464 | 294.3339 | 1753.9151
| August | 143.8945 | 184.4354 | 95.4979 | 423.8278 | 2177.7429
| September | 156.0744 | 264.1431 | 79.669 | 499.8865 | 2677.6294
| October | 167.3672 | 395.4792 | 118.9836 | 681.83 | 3359.4595
| November | 60.3668 | 379.0139 | 57.9898 | 497.3706 | 3856.83
| December | 101.7809 | 469.711 | 38.5318 | 610.0237 | 4466.8537
FRESNO HALL | January | 154.4895 | - | - | - | -
| February | 311.4367 | - | - | - | -
| March | 219.2394 | - | - | 219.2394 | 219.2394
| April | 255.5954 | 236.4523 | 64.2001 | 556.2478 | 775.4872
| May | 223.1712 | 154.1165 | 54.265 | 431.5528 | 1207.0399
| June | 74.2436 | 72.4585 | 0.35188 | 147.054 | 1354.0939
| July | 159.1932 | 74.7349 | 8.2464 | 242.1746 | 1596.2685
| August | 214.7508 | 92.2177 | 95.4979 | 402.4664 | 1998.7349
| September | 314.3112 | 132.0716 | 39.8345 | 486.2173 | 2484.9522
| October | 404.1752 | 197.7396 | 59.4918 | 661.4066 | 3146.3588
| November | 154.0425 | 189.507 | 28.9949 | 372.5444 | 3518.9032
| December | 121.3751 | 234.8555 | 19.2659 | 375.4965 | 3894.3996
STANISLAUS HALL | January | 171.0607 | - | - | - | -
| February | 355.0186 | - | - | - | -
| March | 251.6942 | - | - | 251.6942 | 251.6942
| April | 272.642 | 472.9045 | 64.2001 | 809.7466 | 1061.4408
| May | 227.1629 | 308.233 | 54.265 | 589.6609 | 1651.1017
| June | 63.654 | 144.917 | 0.35188 | 208.9229 | 1860.0246
| July | 111.0163 | 149.4699 | 8.2464 | 268.7326 | 2128.7572
| August | 143.7797 | 184.4354 | 95.4979 | 423.713 | 2552.4702
| September | 220.5648 | 264.1431 | 79.669 | 564.3769 | 3116.8471
| October | 319.5192 | 395.4792 | 118.9836 | 833.982 | 3950.8292
| November | 110.1069 | 379.0139 | 57.9898 | 547.1107 | 4497.9398
| December | 102.4159 | 469.711 | 38.5318 | 610.6587 | 5108.5985
SAN JOAQUIN HALL | January | 205.343 | - | - | - | -
| February | 453.7527 | - | - | - | -
| March | 313.6006 | - | - | 313.6006 | 313.6006
| April | 362.4957 | 236.4523 | 47.3008 | 646.2487 | 959.8493
| May | 306.6336 | 154.1165 | 32.0775 | 492.8276 | 1452.6769
| June | 101.0086 | 72.4585 | 0.10571 | 173.5728 | 1626.2497
| July | 179.0924 | 74.7349 | 23.2794 | 277.1067 | 1903.3564
| August | 277.798 | 92.2177 | 227.8846 | 597.9003 | 2501.2566
| September | 350.9448 | 132.0716 | 36.9332 | 519.9495 | 3021.2062
| October | 472.7008 | 197.7396 | 54.8194 | 725.2598 | 3746.4659
| November | 171.456 | 189.507 | 21.8617 | 382.8247 | 4129.2906
| December | 156.4813 | 234.8555 | 14.8971 | 406.2339 | 4535.5245
MERCED HALL | January | 213.6725 | - | - | - | -
| February | 431.9618 | - | - | - | -
| March | 287.8305 | - | - | 287.8305 | 287.8305
| April | 361.058 | 472.9045 | 64.2001 | 898.1626 | 1185.9931
| May | 337.5994 | 308.233 | 54.265 | 700.0974 | 1886.0905
| June | 101.0086 | 144.917 | 0.35188 | 246.2774 | 2132.368
| July | 233.6696 | 149.4699 | 8.2464 | 391.3859 | 2523.7538
| August | 253.337 | 184.4354 | 95.4979 | 533.2703 | 3057.0242
| September | 139.6656 | 264.1431 | 79.669 | 483.4777 | 3540.5019
| October | 114.8576 | 395.4792 | 118.9836 | 629.3204 | 4169.8223
| November | 36.2558 | 379.0139 | 57.9898 | 473.2596 | 4643.0819
| December | 57.3311 | 469.711 | 38.5318 | 565.5739 | 5208.6558
CALAVERAS HALL | January | 444.2669 | - | - | - | -
| February | 912.905 | - | - | - | -
| March | 618.7726 | - | - | 618.7726 | 618.7726
| April | 697.6759 | 472.9045 | 64.2001 | 1234.7805 | 1853.553
| May | 578.5517 | 308.233 | 54.265 | 941.0497 | 2794.6028
| June | 230.7604 | 144.917 | 0.35188 | 376.0292 | 3170.632
| July | 401.5905 | 149.4699 | 8.2464 | 559.3068 | 3729.9388
| August | 616.1166 | 184.4354 | 95.4979 | 896.0499 | 4625.9887
| September | 432.0984 | 264.1431 | 79.669 | 775.9105 | 5401.8992
| October | 486.5432 | 395.4792 | 118.9836 | 1001.006 | 6402.9052
| November | 218.0706 | 379.0139 | 57.9898 | 655.0744 | 7057.9796
| December | 352.7861 | 469.711 | 38.5318 | 861.0289 | 7919.0085
TOTAL | January | 4871.1536 | - | - | - | -
| February | 8663.63 | - | - | - | -
| March | 7046.373 | - | - | 7046.373 | 7046.373
| April | 7621.6518 | 5674.8542 | 1042.4725 | 14338.9785 | 21385.3516
| May | 6862.3027 | 3698.7962 | 757.7002 | 11318.7991 | 32704.1507
| June | 3578.2402 | 1739.0038 | 209.2408 | 5526.4848 | 38230.6354
| July | 5168.5433 | 1793.6386 | 119.0673 | 7081.2493 | 45311.8847
| August | 6826.3193 | 2213.2251 | 983.9509 | 10023.4954 | 55335.3801
| September | 7842.7704 | 3169.7172 | 862.3413 | 11874.8289 | 67210.209
| October | 10420.124 | 4745.751 | 1110.6368 | 16276.5118 | 83486.7207
| November | 3864.1896 | 4548.1673 | 525.8347 | 8938.1916 | 92424.9123
| December | 4218.5556 | 5636.5314 | 866.3622 | 10721.4492 | 103146.3615
Notes:
(a) Electricity bills are based on manual reads of meters for each building.
(b) Water meter readings are available for Valley Dining and Terrace Center Commons, Tulare, Kern, and San Joaquin Halls only.
Other housing buildings are estimated based on a size-weighted average of readings for Tulare, Kern, and San Joaquin Halls.
Full-size buildings are 2/5 times (Tulare + Kern + San Joaquin Hall readings)
Half-size buildings are 1/5 times (Tulare + Kern + San Joaquin Hall readings)
(c) Gas meter readings are available for 2 locations only: HOUSING/COMMONS/DINING & KITCHEN and LAUNDRY.
Individual buildings are estimated based on a weighted average of the two readings.
Valley Dining and Terrace Center Commons are 4/24 times the sum of both readings
Full-size housing buildings are 2/24 times the sum of both readings
Half-size housing buildings are 1/24 times the sum of both readings
(d) Water bills for October and November are incomplete, as meter was not read at Terrace Center Commons. Meter read has
been requested for early January 2007.
Note on C140: John Elliott: Corrected from previous versions
Note on F140: John Elliott: Corrected from previous versions

## Electric old (hidden)
Electricity Bill Details - 2006
Building | Billing Month | Read Date | Reading (kWh) | Usage (kWh) | Unit Cost ($/kWh) (a) | Charges
VALLEY DINING COMMONS | JANUARY | 2007-02-06 | 360022 | 16656 | 0.087678 | 1460.3729
| FEBRUARY | 2006-03-06 | 154174 | 22448 | 0.09642 | 2164.4371 | Ratio of peak month energy over last year (Oct 06) to Feb 06 energy | 1.2822
| MARCH | 2006-04-04 | 180116 | 25942 | 0.09688 | 2513.261 | Ratio of max summer energy last year (Aug 06) to Feb 06 energy | 0.86538
| APRIL | 2006-05-01 | 201334 | 21218 | 0.10269 | 2178.8764 | Ratio of Commons plus Dining annual energy to Dining annual energy | 1.4731
| MAY | 2006-06-01 | 220390 | 19056 | 0.12096 | 2305.0138
| JUNE | 2006-06-28 | 232343 | 11953 | 0.11637 | 1390.9625
| JULY | 2006-07-27 | 248038 | 15695 | 0.11637 | 1826.4165
| AUGUST | 2006-09-05 | 267464 | 19426 | 0.11484 | 2230.8818
| SEPTEMBER | 2006-10-03 | 286756 | 19292 | 0.1272 | 2453.9424
| OCTOBER | 2006-11-14 | 315538 | 28782 | 0.1144 | 3292.6608
| NOVEMBER | 2006-12-05 | 328546 | 13008 | 0.0893 | 1161.6144
| DECEMBER | 2006-01-08 | 343366 | 14820 | 0.090714 | 1344.3788
TERRACE CENTER COMMONS | JANUARY | 2007-02-06 | 174797 | 8601 | 0.087678 | 754.1227
| FEBRUARY | 2006-03-06 | 78620 | 11826 | 0.09642 | 1140.2634
| MARCH | 2006-04-04 | 87253 | 8633 | 0.09688 | 836.365
| APRIL | 2006-05-01 | 97941 | 10688 | 0.10269 | 1097.5507
| MAY | 2006-06-01 | 104773 | 6832 | 0.12096 | 826.3987
| JUNE | 2006-06-28 | 111739 | 6966 | 0.11637 | 810.6287
| JULY | 2006-07-27 | 121057 | 9318 | 0.11637 | 1084.3293
| AUGUST | 2006-09-05 | 130816 | 9759 | 0.11484 | 1120.7236
| SEPTEMBER | 2006-10-03 | 139074 | 8258 | 0.1272 | 1050.4176
| OCTOBER | 2006-11-14 | 151403 | 12329 | 0.1144 | 1410.4376
| NOVEMBER | 2006-12-05 | 157658 | 6255 | 0.0893 | 558.5715
| DECEMBER | 2006-01-08 | 166196 | 8538 | 0.090714 | 774.5146
KERN HALL | JANUARY | 2006-01-30 | 32372 | 3501 | 0.087678 | 306.9624
| FEBRUARY | 2006-03-06 | 38477 | 6105 | 0.09642 | 588.6444
| MARCH | 2006-04-04 | 42917 | 4440 | 0.09688 | 430.1472
| APRIL | 2006-05-01 | 47725 | 4808 | 0.10269 | 493.7335
| MAY | 2006-06-01 | 51150 | 3425 | 0.12096 | 414.288
| JUNE | 2006-06-28 | 52405 | 1255 | 0.11637 | 146.0435
| JULY | 2006-07-27 | 55077 | 2672 | 0.11637 | 310.9388
| AUGUST | 2006-09-05 | 58825 | 3748 | 0.11484 | 430.4203
| SEPTEMBER | 2006-10-03 | 63996 | 5171 | 0.1272 | 657.7512
| OCTOBER | 2006-11-14 | 71634 | 7638 | 0.1144 | 873.7872
| NOVEMBER | 2006-12-05 | 75322 | 3688 | 0.0893 | 329.3384
| DECEMBER | 2006-01-08 | 78352 | 3030 | 0.090714 | 274.8629
TULARE HALL | JANUARY | 2006-01-30 | 8065 | 882 | 0.087678 | 77.3324
| FEBRUARY | 2006-03-06 | 9664 | 1595 | 0.09642 | 153.79
| MARCH | 2006-04-04 | 10629 | 965 | 0.09688 | 93.4892
| APRIL | 2006-05-01 | 11744 | 1115 | 0.10269 | 114.4994
| MAY | 2006-06-01 | 12593 | 849 | 0.12096 | 102.695
| JUNE | 2006-06-28 | 12883 | 290 | 0.11637 | 33.7471
| JULY | 2006-07-27 | 13948 | 1065 | 0.11637 | 123.9333
| AUGUST | 2006-09-05 | 14825 | 877 | 0.11484 | 100.7147
| SEPTEMBER | 2006-10-03 | 15742 | 917 | 0.1272 | 116.6424
| OCTOBER | 2006-11-14 | 16958 | 1216 | 0.1144 | 139.1104
| NOVEMBER | 2006-12-05 | 17499 | 541 | 0.0893 | 48.3113
| DECEMBER | 2006-01-08 | 18067 | 568 | 0.090714 | 51.5255
MADERA HALL | JANUARY | 2006-01-30 | 100061 | 11138 | 0.087678 | 976.563
| FEBRUARY | 2006-03-06 | 120798 | 20737 | 0.09642 | 1999.4624
| MARCH | 2006-04-04 | 135233 | 14435 | 0.09688 | 1398.4628
| APRIL | 2006-05-01 | 151692 | 16459 | 0.10269 | 1690.1747
| MAY | 2006-06-01 | 163453 | 11761 | 0.12096 | 1422.6106
| JUNE | 2006-06-28 | 167840 | 4387 | 0.11637 | 510.5122
| JULY | 2006-07-27 | 173011 | 5171 | 0.11637 | 601.7458
| AUGUST | 2006-09-05 | 184278 | 11267 | 0.11484 | 1293.9023
| SEPTEMBER | 2006-10-03 | 199611 | 15333 | 0.1272 | 1950.3576
| OCTOBER | 2006-11-14 | 223553 | 23942 | 0.1144 | 2738.9648
| NOVEMBER | 2006-12-05 | 234931 | 11378 | 0.0893 | 1016.0554
| DECEMBER | 2006-01-08 | 244644 | 9713 | 0.090714 | 881.1034
KINGS HALL | JANUARY | 2006-01-30 | 9628 | 1220 | 0.087678 | 106.9678
| FEBRUARY | 2006-03-06 | 11206 | 1576 | 0.09642 | 151.958
| MARCH | 2006-04-04 | 12068 | 862 | 0.09688 | 83.5106
| APRIL | 2006-05-01 | 13016 | 948 | 0.10269 | 97.3501
| MAY | 2006-06-01 | 13993 | 977 | 0.12096 | 118.1779
| JUNE | 2006-06-28 | 14987 | 994 | 0.11637 | 115.6711
| JULY | 2006-07-27 | 16161 | 1174 | 0.11637 | 136.6176
| AUGUST | 2006-09-05 | 17414 | 1253 | 0.11484 | 143.8945
| SEPTEMBER | 2006-10-03 | 18641 | 1227 | 0.1272 | 156.0744
| OCTOBER | 2006-11-14 | 20104 | 1463 | 0.1144 | 167.3672
| NOVEMBER | 2006-12-05 | 20780 | 676 | 0.0893 | 60.3668
| DECEMBER | 2006-01-08 | 21902 | 1122 | 0.090714 | 101.7809
FRESNO HALL | JANUARY | 2006-01-30 | 15610 | 1762 | 0.087678 | 154.4895
| FEBRUARY | 2006-03-06 | 18840 | 3230 | 0.09642 | 311.4367
| MARCH | 2006-04-04 | 21103 | 2263 | 0.09688 | 219.2394
| APRIL | 2006-05-01 | 23592 | 2489 | 0.10269 | 255.5954
| MAY | 2006-06-01 | 25437 | 1845 | 0.12096 | 223.1712
| JUNE | 2006-06-28 | 26075 | 638 | 0.11637 | 74.2436
| JULY | 2006-07-27 | 27443 | 1368 | 0.11637 | 159.1932
| AUGUST | 2006-09-05 | 29313 | 1870 | 0.11484 | 214.7508
| SEPTEMBER | 2006-10-03 | 31784 | 2471 | 0.1272 | 314.3112
| OCTOBER | 2006-11-14 | 35317 | 3533 | 0.1144 | 404.1752
| NOVEMBER | 2006-12-05 | 37042 | 1725 | 0.0893 | 154.0425
| DECEMBER | 2006-01-08 | 38380 | 1338 | 0.090714 | 121.3751
STANISLAUS HALL | JANUARY | 2006-01-30 | 14754 | 1951 | 0.087678 | 171.0607
| FEBRUARY | 2006-03-06 | 18436 | 3682 | 0.09642 | 355.0186
| MARCH | 2006-04-04 | 21034 | 2598 | 0.09688 | 251.6942
| APRIL | 2006-05-01 | 23689 | 2655 | 0.10269 | 272.642
| MAY | 2006-06-01 | 25567 | 1878 | 0.12096 | 227.1629
| JUNE | 2006-06-28 | 26114 | 547 | 0.11637 | 63.654
| JULY | 2006-07-27 | 27068 | 954 | 0.11637 | 111.0163
| AUGUST | 2006-09-05 | 28320 | 1252 | 0.11484 | 143.7797
| SEPTEMBER | 2006-10-03 | 30054 | 1734 | 0.1272 | 220.5648
| OCTOBER | 2006-11-14 | 32847 | 2793 | 0.1144 | 319.5192
| NOVEMBER | 2006-12-05 | 34080 | 1233 | 0.0893 | 110.1069
| DECEMBER | 2006-01-08 | 35209 | 1129 | 0.090714 | 102.4159
SAN JOAQUIN HALL | JANUARY | 2006-01-30 | 23118 | 2342 | 0.087678 | 205.343
| FEBRUARY | 2006-03-06 | 27826 | 4706 | 0.09642 | 453.7527
| MARCH | 2006-04-04 | 31063 | 3237 | 0.09688 | 313.6006
| APRIL | 2006-05-01 | 34593 | 3530 | 0.10269 | 362.4957
| MAY | 2006-06-01 | 37128 | 2535 | 0.12096 | 306.6336
| JUNE | 2006-06-28 | 37996 | 868 | 0.11637 | 101.0086
| JULY | 2006-07-27 | 39535 | 1539 | 0.11637 | 179.0924
| AUGUST | 2006-09-05 | 41954 | 2419 | 0.11484 | 277.798
| SEPTEMBER | 2006-10-03 | 44713 | 2759 | 0.1272 | 350.9448
| OCTOBER | 2006-11-14 | 48845 | 4132 | 0.1144 | 472.7008
| NOVEMBER | 2006-12-05 | 50765 | 1920 | 0.0893 | 171.456
| DECEMBER | 2006-01-08 | 52490 | 1725 | 0.090714 | 156.4813
MERCED HALL | JANUARY | 2006-01-30 | 23547 | 2437 | 0.087678 | 213.6725
| FEBRUARY | 2006-03-06 | 28027 | 4480 | 0.09642 | 431.9618
| MARCH | 2006-04-04 | 30998 | 2971 | 0.09688 | 287.8305
| APRIL | 2006-05-01 | 34514 | 3516 | 0.10269 | 361.058
| MAY | 2006-06-01 | 37305 | 2791 | 0.12096 | 337.5994
| JUNE | 2006-06-28 | 38173 | 868 | 0.11637 | 101.0086
| JULY | 2006-07-27 | 40181 | 2008 | 0.11637 | 233.6696
| AUGUST | 2006-09-05 | 42387 | 2206 | 0.11484 | 253.337
| SEPTEMBER | 2006-10-03 | 43485 | 1098 | 0.1272 | 139.6656
| OCTOBER | 2006-11-14 | 44489 | 1004 | 0.1144 | 114.8576
| NOVEMBER | 2006-12-05 | 44895 | 406 | 0.0893 | 36.2558
| DECEMBER | 2006-01-08 | 45532 | 632 | 0.090714 | 57.3311
CALAVERAS HALL | JANUARY | 2006-01-30 | 46264 | 5067 | 0.087678 | 444.2669
| FEBRUARY | 2006-03-06 | 55732 | 9468 | 0.09642 | 912.905
| MARCH | 2006-04-04 | 62119 | 6387 | 0.09688 | 618.7726
| APRIL | 2006-05-01 | 68913 | 6794 | 0.10269 | 697.6759
| MAY | 2006-06-01 | 73696 | 4783 | 0.12096 | 578.5517
| JUNE | 2006-06-28 | 75679 | 1983 | 0.11637 | 230.7604
| JULY | 2006-07-27 | 79130 | 3451 | 0.11637 | 401.5905
| AUGUST | 2006-09-05 | 84495 | 5365 | 0.11484 | 616.1166
| SEPTEMBER | 2006-10-03 | 87892 | 3397 | 0.1272 | 432.0984
| OCTOBER | 2006-11-14 | 92145 | 4253 | 0.1144 | 486.5432
| NOVEMBER | 2006-12-05 | 94587 | 2442 | 0.0893 | 218.0706
| DECEMBER | 2006-01-08 | 98476 | 3889 | 0.090714 | 352.7861
Notes:
(a) Unit Cost is calculated from the main campus feeder (El Capitan) bill from PG&E.

## Gas Old (hidden)
Natural Gas Bill Details - 2006
Building | Billing Month | Date | Prior Meter (100 x cub-ft) | Current Meter (100 x cub-ft) | Usage (therms) | Unit Cost ($/therm) (a) | Charges
HOUSING/COMMONS/DINING & KITCHEN | April | 2006-05-01 | 48534 | 53936 | 5402 |  | 5344.4147
| May | 2006-06-01 | 53936 | 57534 | 3598 |  | 3504.0202
| June | 2006-06-28 | 57534 | 59617 | 2083 |  | 1705.4354
| July | 2006-07-27 | 59617 | 61755 | 2138 |  | 1759.0823
| August | 2006-09-05 | 61755 | 64169 | 2414 |  | 2124.3441
| September | 2006-10-03 | 64169 | 67411 | 3242 | 0.9132 | 2960.5944
| October | 2006-11-14 | 67411 | 73404 | 5993 | 0.7521 | 4507.3353
| November | 2006-12-05 | 73404 | 77739 | 4335 | 1.0069 | 4364.9115
| December | 2006-01-08 | 77739 | 83671 | 5932 | 0.92145 | 5466.0625
LAUNDRY | April | 2006-05-01 | 2444 | 2778 | 334 |  | 330.4396
| May | 2006-06-01 | 2778 | 2978 | 200 |  | 194.776
| June | 2006-06-28 | 2978 | 3019 | 41 |  | 33.5683
| July | 2006-07-27 | 3019 | 3061 | 42 |  | 34.5563
| August | 2006-09-05 | 3061 | 3162 | 101 |  | 88.881
| September | 2006-10-03 | 3162 | 3391 | 229 | 0.9132 | 209.1228
| October | 2006-11-14 | 3391 | 3708 | 317 | 0.7521 | 238.4157
| November | 2006-12-05 | 3708 | 3890 | 182 | 1.0069 | 183.2558
| December | 2006-01-08 | 3890 | 4075 | 185 | 0.92145 | 170.4689
Notes:
(a) Unit Cost is calculated from the main campus supply bill from PG&E.

## Water Old (hidden)
Water & Sewer Bill Details - 2006
BUILDING | Billing Month | Read Date | Reading (gal) | Usage (gal) | Unit Cost ($/1000 gal) | Charges
VALLEY DINING COMMONS (metered) | JANUARY
FEBRUARY
MARCH
| APRIL | 2006-05-01 | 218403 | 218403 | 1.4668 | 320.3594
| MAY | 2006-06-01 | 0 | 119456 | 1.46 | 174.405
| JUNE | 2006-06-28 | 136405 | 136405 | 1.4481 | 197.5258
| JULY | 2006-07-27 | 157566 | 21161 | 1.4397 | 30.4647
| AUGUST | 2006-09-05 | 202655 | 45089 | 1.4295 | 64.4558
| SEPTEMBER | 2006-10-03 | 279159 | 76504 | 1.4241 | 108.9513
| OCTOBER | 2006-11-14 | 390168 | 111009 | 1.4306 | 158.8095
| NOVEMBER | 2006-12-05 | 433393 | 43225 | 1.434 | 61.9847
| DECEMBER | 2006-01-08 | 463056 | 29663 | 1.4591 | 43.2812
TERRACE CENTER COMMONS (metered) | JANUARY
FEBRUARY
| MARCH |  | 357993
| APRIL | 2006-05-02 | 456376 | 98383 | 1.4668 | 144.3108
| MAY | 2006-06-01 | 521384 | 65008 | 1.46 | 94.9113
| JUNE | 2006-06-28 | 527288 | 5904 | 1.4481 | 8.5495
| JULY | 2006-07-27 | 537280 | 9992 | 1.4397 | 14.3851
| AUGUST | 2006-09-05 | 579263 | 41983 | 1.4295 | 60.0157
| SEPTEMBER | 2006-10-03 | 660645 | 81382 | 1.4241 | 115.8982
| OCTOBER | 2006-11-14 | not read | not read | 1.4306 | not read
| NOVEMBER | 2006-12-05 | not read | not read | 1.434 | not read
| DECEMBER | 2006-01-08 | 1013695 | 353050 | 1.4591 | 515.1344
KERN HALL (metered) | JANUARY
FEBRUARY
| MARCH |  | 187391
| APRIL | 2006-05-01 | 231620 | 44229 | 1.4668 | 64.8763
| MAY | 2006-06-01 | 261241 | 29621 | 1.46 | 43.2465
| JUNE | 2006-06-28 | 261527 | 286 | 1.4481 | 0.41415
| JULY | 2006-07-27 | 261773 | 246 | 1.4397 | 0.35416
| AUGUST | 2006-09-05 | 284721 | 22948 | 1.4295 | 32.8047
| SEPTEMBER | 2006-10-03 | 349803 | 65082 | 1.4241 | 92.685
| OCTOBER | 2006-11-14 | 439430 | 89627 | 1.4306 | 128.2204
| NOVEMBER | 2006-12-05 | 481480 | 42050 | 1.434 | 60.2997
| DECEMBER | 2006-01-08 | 506512 | 25032 | 1.4591 | 36.5241
TULARE HALL (metered) | JANUARY
FEBRUARY
| MARCH |  | 507695
| APRIL | 2006-05-01 | 562524 | 54829 | 1.4668 | 80.4247
| MAY | 2006-06-01 | 622435 | 59911 | 1.46 | 87.4697
| JUNE | 2006-06-28 | 622804 | 369 | 1.4481 | 0.53434
| JULY | 2006-07-27 | 623572 | 768 | 1.4397 | 1.1057
| AUGUST | 2006-09-05 | 641622 | 18050 | 1.4295 | 25.8029
| SEPTEMBER | 2006-10-03 | 690560 | 48938 | 1.4241 | 69.6939
| OCTOBER | 2006-11-14 | 770511 | 79951 | 1.4306 | 114.3779
| NOVEMBER | 2006-12-05 | 814266 | 43755 | 1.434 | 62.7447
| DECEMBER | 2006-01-08 | 844833 | 30567 | 1.4591 | 44.6002
MADERA HALL (estimated) (b) | JANUARY
FEBRUARY
MARCH
| APRIL | 2006-05-01 |  | 43768 | 1.4668 | 64.2001
| MAY | 2006-06-01 |  | 37168 | 1.46 | 54.265
| JUNE | 2006-06-28 |  | 243 | 1.4481 | 0.35188
| JULY | 2006-07-27 |  | 5728 | 1.4397 | 8.2464
| AUGUST | 2006-09-05 |  | 66804 | 1.4295 | 95.4979
| SEPTEMBER | 2006-10-03 |  | 55942.4 | 1.4241 | 79.669
| OCTOBER | 2006-11-14 |  | 83170.4 | 1.4306 | 118.9836
| NOVEMBER | 2006-12-05 |  | 40439.2 | 1.434 | 57.9898
| DECEMBER | 2006-01-08 |  | 26408 | 1.4591 | 38.5318
KINGS HALL (estimated) (b) | JANUARY
FEBRUARY
MARCH
| APRIL | 2006-05-01 |  | 43768 | 1.4668 | 64.2001
| MAY | 2006-06-01 |  | 37168 | 1.46 | 54.265
| JUNE | 2006-06-28 |  | 243 | 1.4481 | 0.35188
| JULY | 2006-07-27 |  | 5728 | 1.4397 | 8.2464
| AUGUST | 2006-09-05 |  | 66804 | 1.4295 | 95.4979
| SEPTEMBER | 2006-10-03 |  | 55942.4 | 1.4241 | 79.669
| OCTOBER | 2006-11-14 |  | 83170.4 | 1.4306 | 118.9836
| NOVEMBER | 2006-12-05 |  | 40439.2 | 1.434 | 57.9898
| DECEMBER | 2006-01-08 |  | 26408 | 1.4591 | 38.5318
FRESNO HALL (estimated) (b) | JANUARY
FEBRUARY
MARCH
| APRIL | 2006-05-01 |  | 43768 | 1.4668 | 64.2001
| MAY | 2006-06-01 |  | 37168 | 1.46 | 54.265
| JUNE | 2006-06-28 |  | 243 | 1.4481 | 0.35188
| JULY | 2006-07-27 |  | 5728 | 1.4397 | 8.2464
| AUGUST | 2006-09-05 |  | 66804 | 1.4295 | 95.4979
| SEPTEMBER | 2006-10-03 |  | 27971.2 | 1.4241 | 39.8345
| OCTOBER | 2006-11-14 |  | 41585.2 | 1.4306 | 59.4918
| NOVEMBER | 2006-12-05 |  | 20219.6 | 1.434 | 28.9949
| DECEMBER | 2006-01-08 |  | 13204 | 1.4591 | 19.2659
STANISLAUS HALL (estimated) (b) | JANUARY
FEBRUARY
MARCH
| APRIL | 2006-05-01 |  | 43768 | 1.4668 | 64.2001
| MAY | 2006-06-01 |  | 37168 | 1.46 | 54.265
| JUNE | 2006-06-28 |  | 243 | 1.4481 | 0.35188
| JULY | 2006-07-27 |  | 5728 | 1.4397 | 8.2464
| AUGUST | 2006-09-05 |  | 66804 | 1.4295 | 95.4979
| SEPTEMBER | 2006-10-03 |  | 55942.4 | 1.4241 | 79.669
| OCTOBER | 2006-11-14 |  | 83170.4 | 1.4306 | 118.9836
| NOVEMBER | 2006-12-05 |  | 40439.2 | 1.434 | 57.9898
| DECEMBER | 2006-01-08 |  | 26408 | 1.4591 | 38.5318
SAN JOAQUIN HALL (metered) | JANUARY
FEBRUARY
| MARCH |  | 112633
| APRIL | 2006-05-01 | 144880 | 32247 | 1.4668 | 47.3008
| MAY | 2006-06-01 | 166851 | 21971 | 1.46 | 32.0775
| JUNE | 2006-06-28 | 166924 | 73 | 1.4481 | 0.10571
| JULY | 2006-07-27 | 16170 | 16170 | 1.4397 | 23.2794
| AUGUST | 2006-09-05 | 175583 | 159413 | 1.4295 | 227.8846
| SEPTEMBER | 2006-10-03 | 201419 | 25836 | 1.4241 | 36.9332
| OCTOBER | 2006-11-14 | 239767 | 38348 | 1.4306 | 54.8194
| NOVEMBER | 2006-12-05 | 255060 | 15293 | 1.434 | 21.8617
| DECEMBER | 2006-01-08 | 265481 | 10421 | 1.4591 | 14.8971
MERCED HALL (estimated) (b) | JANUARY
FEBRUARY
MARCH
| APRIL | 2006-05-01 |  | 43768 | 1.4668 | 64.2001
| MAY | 2006-06-01 |  | 37168 | 1.46 | 54.265
| JUNE | 2006-06-28 |  | 243 | 1.4481 | 0.35188
| JULY | 2006-07-27 |  | 5728 | 1.4397 | 8.2464
| AUGUST | 2006-09-05 |  | 66804 | 1.4295 | 95.4979
| SEPTEMBER | 2006-10-03 |  | 55942.4 | 1.4241 | 79.669
| OCTOBER | 2006-11-14 |  | 83170.4 | 1.4306 | 118.9836
| NOVEMBER | 2006-12-05 |  | 40439.2 | 1.434 | 57.9898
| DECEMBER | 2006-01-08 |  | 26408 | 1.4591 | 38.5318
CALAVERAS HALL (estimated) (b) | JANUARY
FEBRUARY
MARCH
| APRIL | 2006-05-01 |  | 43768 | 1.4668 | 64.2001
| MAY | 2006-06-01 |  | 37168 | 1.46 | 54.265
| JUNE | 2006-06-28 |  | 243 | 1.4481 | 0.35188
| JULY | 2006-07-27 |  | 5728 | 1.4397 | 8.2464
| AUGUST | 2006-09-05 |  | 66804 | 1.4295 | 95.4979
| SEPTEMBER | 2006-10-03 |  | 55942.4 | 1.4241 | 79.669
| OCTOBER | 2006-11-14 |  | 83170.4 | 1.4306 | 118.9836
| NOVEMBER | 2006-12-05 |  | 40439.2 | 1.434 | 57.9898
| DECEMBER | 2006-01-08 |  | 26408 | 1.4591 | 38.5318
Notes:
(a) Unit Cost is calculated from the main campus supply bill from the City of Merced.
(b) Estimated bills are a size-weighted average of readings for Tulare, Kern, and San Joaquin Halls.
Full-size buildings are 2/5 times (Tulare + Kern + San Joaquin Hall readings)
Half-size buildings are 1/5 times (Tulare + Kern + San Joaquin Hall readings)
Note on D7: Sajid Mian: Reset the waterr meter at Dining- on previous visit
Note on D19: Sajid Mian: Ramon took meter readings on 5/2/06. Had great difficulty to access the meter
Note on D106: Sajid Mian: Water meter has been reset

## Gall R&W Utility Summary
Gallo Rec and Wellness Utility Summary
Building | Billing Month | 2017-07-01 | 2017-08-01 | 2017-09-01 | 2017-10-01 | 2017-11-01 | 2017-12-01 | 2018-01-01 | 2018-02-01 | 2018-03-01 | 2018-04-01 | 2018-05-01 | 2018-06-01 | Total | Check
Electricity | Read Date | 2017-08-09 | 2016-09-03 | 2017-10-01 | 2017-11-01 | 2017-12-01 | 2018-01-01 | 2018-02-01 | 2018-03-02 | 2017-04-01 | 2017-05-04 | 2017-06-01 | 2017-07-01
Reading (kWh)
| Usage (kWh) | 42925 | 50150.2108 | 53654.5 | 52635.4366 | 48226.4906 | 41377.5078 | 55317.7396 | 46945.75 | 48713.4944 | 47152.3136 | 41234.7115 | 41424.1331 | 569757.2882
| Unit Cost ($/kWh) (a) | 0.15037 | 0.14916 | 0.15313 | 0.1637 | 0.14809 | 0.1437 | 0.14402 | 0.14745 | 0.15284 | 0.17472 | 0.1952 | 0.19396
| Charges | 6454.66 | 7480.23 | 8216.37 | 8616.23 | 7141.94 | 5945.96 | 7966.83 | 6922.16 | 7445.31 | 8238.52 | 8048.89 | 8034.65 | 90511.75
Natural Gas | Read Date | 2017-08-09 | 2016-09-03 | 2017-10-01 | 2017-11-01 | 2017-12-01 | 2018-01-01 | 2018-02-01 | 2018-03-01 | 2017-04-01 | 2017-05-04 | 2017-06-13 | 2015-07-01
| Reading (100 cub-ft) | 13255 | 13297 | 13902 | 14666 | 15740 | 17662 | 18970 | 20580 | 20580 | 12458 | 12659 | 12941
| Usage (therms) | 180.2593 | 175.7407 | 605 | 764 | 1074 | 1922 | 1308 | 1610 | 0 | -8122 | 201 | 282 | 0
| Unit Cost ($/therm) (a) | 0.77656 | 0.77911 | 0.71353 | 0.74478 | 0.82768 | 0.85218 | 0.87689 | 0.9116 | 0.88771 | 0.83936 | 0.83554 | 0.85039
| Charges | 139.98 | 136.92 | 431.68 | 569.01 | 888.92 | 1637.89 | 1146.98 | 1467.68 | 0 | -6817.29 | 167.94 | 239.81 | 9.52
Water/Sewer | Read Date | 2017-08-09 | 2016-09-03 | 2017-10-01 | 2017-11-01 | 2017-12-01 | 2018-01-01 | 2018-02-01 | 2018-03-01 | 2017-04-01 | 2017-05-04 | 2017-06-13 | 2015-07-01
(Potable) | Reading (gal)
| Usage (gal) | 33602.02 | 54590.77 | 87040.77 | 86451.6 | 65104.4 | 30993.3 | 56370.9 | 95946.2 | 77488.4 | 60696 | 31120 | 28887.03 | 708291.39
| Unit Cost ($/1000 gal) | 5.5651 | 5.5709 | 5.5659 | 5.5698 | 5.5814 | 5.5889 | 5.6424 | 5.6039 | 5.5919 | 5.589 | 5.5716 | 5.5834
| Charges | 187 | 304.12 | 484.46 | 481.52 | 363.37 | 173.22 | 318.07 | 537.67 | 433.31 | 339.23 | 173.39 | 161.29 | 3956.65
Water/Sewer | Read Date | 2017-08-09 | 2016-09-03 | 2017-10-01 | 2017-11-01 | 2017-12-01 | 2018-01-01 | 2018-02-01 | 2018-03-01 | 2017-04-01 | 2017-05-04 | 2017-06-13 | 2015-07-01
(Irrigation) | Usage (gal) Rec Field 1 | 545697.9 | 483672.2 | 277825.8 | 181345 | 34634 | 16680 | 5 | 47074 | 0 | 51163.9 | 290364 | 408542.2
| Usage (gal) Rec Field 2 | 194832.8 | 111107.7 | 80760.6 | 57420 | 12903 | 1.4 | 0 | 29 | 62 | 28911.1 | 107881.6 | 154839.8 | 748749
| Unit Cost ($/1000 gal) | 5.5651 | 5.5709 | 5.5659 | 5.5698 | 5.5814 | 5.5889 | 5.6424 | 5.6039 | 5.5919 | 5.589 | 5.5716 | 5.5834
| Charges | 4121.1 | 3313.48 | 1995.86 | 1329.89 | 265.32 | 93.23 | 0.03 | 263.96 | 0.35 | 447.54 | 2218.87 | 3145.58 | 17195.21
Chilled Water | Read Date | 2017-08-09 | 2016-09-03 | 2017-10-01 | 2015-11-03 | 2017-12-01 | 2018-01-01 | 2018-02-01 | 2018-03-02 | 2017-04-01 | 2017-05-04 | 2017-06-13 | 2017-07-13
| Usage (ton-hr) | 28435.767 | 23216.326 | 21189.1099 | 12714.456 | 5406.2962 | 2044.9761 | 4364.7005 | 4009.989 | 6115.7173 | 9095.9325 | 16593.5872 | 27526.608
Usage (gal)
| Unit Cost ($/ton-hr) | 0.1124 | 0.11235 | 0.11235 | 0.11235 | 0.11235 | 0.11235 | 0.11235 | 0.11235 | 0.11235 | 0.11235 | 0.11235 | 0.11235
| Charges | 3196.18 | 2608.47 | 2380.7 | 1428.53 | 607.42 | 229.76 | 490.4 | 450.54 | 687.13 | 1021.97 | 1864.37 | 3092.75 | 18058.22
Total |  | 14098.92 | 13843.22 | 13509.07 | 12425.18 | 9266.97 | 8080.06 | 9922.31 | 9642.01 | 8566.1 | 3229.97 | 12473.46 | 14674.08 | 129731.35 | 129731.35
Notes:
(a) Consumption is based on manually collected readings of building metering,
except chilled water usage which is from readings collected through the campus building automation system.
Beginning Sept 11, water reading are colected through Aquacue system.
(b) Unit Cost for electricity is calculated from the main campus feeder (El Capitan) bill from PG&E.
(c) Unit Cost for Natural Gas is calculated from the main campus supply bill from PG&E.
(d) Unit Cost for water/sewer is calculated from the main campus supply bill from the City of Merced.
Note on B8: ucmuser: = (Wilson + ElCap+ Sunpower +Nobles)/(Wilson+ElCap+Sunpower)
Note on B14: ucmuser: = PGE 0646833510
Note on B20: ucmuser: =$/City of Merced (Actual*748/1000)
Note on H25: gpicazo: Average of 2016/17

## Facilities Utility Summary
Facilities Utility Summary
sq ft Factor
Building | Billing Month | 2017-07-01 | 2017-08-01 | 2017-09-01 | 2017-10-01 | 2017-11-01 | 2017-12-01 | 2018-01-01 | 2018-02-01 | 2018-03-01 | 2018-04-01 | 2018-05-01 | 2018-06-01 | Total | Check | 0.082513
Electricity | Read Date | 2017-08-09 | 2016-09-03 | 2017-10-01 | 2017-11-01 | 2017-12-01 | 2018-01-01 | 2018-02-01 | 2018-03-02 | 2017-04-01 | 2017-05-04 | 2017-06-01 | 2017-07-01
| Usage (kWh) | 6412.718 | 6656.7764 | 5996.4798 | 6060.8 | 5495.7615 | 5389.8957 | 5530.867 | 5038.12 | 6191.3745 | 5614.8992 | 6084.2898 | 6131.7282 | 70603.7102
| Unit Cost ($/kWh) (a) | 0.15037 | 0.16031 | 0.15313 | 0.1637 | 0.14809 | 0.1437 | 0.14402 | 0.14745 | 0.15284 | 0.17472 | 0.1952 | 0.19396
| Charges | 79.57 | 88.06 | 75.77 | 81.86 | 67.16 | 63.91 | 65.73 | 61.3 | 78.08 | 80.95 | 98 | 98.13 | 938.52
Natural Gas | Read Date
| Usage (therms) | [12 empty] | 0
Unit Cost ($/therm) (a)
| Charges | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water/Sewer | Read Date | 2017-08-09 | 2016-09-03 | 2017-10-01 | 2017-11-01 | 2017-12-01 | 2018-01-01 | 2018-02-01 | 2018-03-02 | 2017-04-01 | 2017-05-04 | 2017-06-01 | 2017-07-01
| Usage (gal) | 13178.97 | 22146.901 | 17888.55 | 14874.3 | 12986.4 | 9482.1 | 10677.3 | 14169.7 | 14147.16 | 9643.1 | 13652.32 | 12893.47 | 165740.271
| Unit Cost ($/1000 gal) | 5.5651 | 5.5709 | 5.5659 | 5.5698 | 5.5814 | 5.5889 | 5.6424 | 5.6039 | 5.5919 | 5.589 | 5.5716 | 5.5834
| Charges | 6.05 | 10.18 | 8.22 | 6.84 | 5.98 | 4.37 | 4.97 | 6.55 | 6.53 | 4.45 | 6.28 | 5.94 | 76.36
Chilled Water | Read Date | 2017-08-09 | 2016-09-03 | 2017-10-01 | 2017-11-01 | 2017-12-01 | 2018-01-01 | 2018-02-01 | 2018-03-02 | 2017-04-01 | 2017-05-04 | 2017-06-01 | 2017-07-01
| Usage (ton-hr) | 22015.6177 | 14014.3 | 16006.8564 | 4779.8 | 2474.7786 | 1350.4558 | 2543.9043 | 1899.679 | 5796.1444 | 5242.8569 | 10636.4308 | 111266.6799
| Unit Cost ($/ton-hr) | 0.1124 | 0.1124 | 0.11235 | 0.11235 | 0.11235 | 0.11235 | 0.11235 | 0.11235 | 0.11235 | 0.11235 | 0.11235 | 0.11235
| Charges | 204.18 | 129.98 | 148.4 | 44.31 | 22.94 | 12.52 | 23.58 | 17.61 | 53.73 | 48.61 | 98.61 | 1031.53 | 1836
TAPS Total (e) |  | 289.8 | 228.22 | 232.39 | 133.01 | 96.08 | 80.8 | 94.28 | 85.46 | 138.34 | 134.01 | 202.89 | 1135.6 | 2850.88 | 2850.88
Notes:
(a) Consumption is based on manually collected readings of building metering,
except chilled water usage which is from readings collected through the campus building automation system.
Beginning Sept 11, water reading are colected through Aquacue system.
(b) Unit Cost for electricity is calculated from the main campus feeder (El Capitan) bill from PG&E.
(c) Unit Cost for Natural Gas is calculated from the main campus supply bill from PG&E.
(d) Unit Cost for water/sewer is calculated from the main campus supply bill from the City of Merced.
(e) The sqft for TAPS is 2222 sqft, the building has 26,929 sqft
(f) All charges are calculated according to the sqft ratio @ Q3

## Library Utility Summary
Kolligian Library Utility Summary
sqft Factor
Building | Billing Month | 2017-07-01 | 2017-08-01 | 2017-09-01 | 2017-10-01 | 2017-11-01 | 2017-12-01 | 2018-01-01 | 2018-02-01 | 2018-03-01 | 2018-04-01 | 2018-05-01 | 2018-06-01 | Total | Check | 0.011488
Electricity | Read Date | 2017-08-09 | 2016-09-03 | 2017-10-01 | 2017-11-01 | 2017-12-01 | 2018-01-01 | 2018-02-01 | 2018-03-02 | 2017-04-01 | 2017-05-04 | 2017-06-01 | 2017-07-01
| Usage (kWh) | 158310.9795 | 171196.1279 | 162361.8783 | 156652.1857 | 150633.4796 | 132827.25 | 148186.821 | 143190.89 | 156776.0451 | 158904.4762 | 154228.6273 | 155360.297 | 1848629.0575
| Unit Cost ($/kWh) (a) | 0.15037 | 0.16031 | 0.15313 | 0.1637 | 0.14809 | 0.1437 | 0.14402 | 0.14745 | 0.15284 | 0.17472 | 0.1952 | 0.19396
| Charges | 273.48 | 315.29 | 285.63 | 294.59 | 256.27 | 219.28 | 245.18 | 242.55 | 275.27 | 318.95 | 345.85 | 346.18 | 3418.52
Natural Gas | Read Date | 2017-08-09 | 2016-09-03 | 2017-10-01 | 2017-11-01 | 2017-12-01 | 2018-01-01 | 2018-02-01 | 2018-03-02 | 2017-04-01 | 2017-05-04 | 2017-06-01 | 2017-07-01
(Actually hw) | Usage (therms) | 321.9289 | 254.5263 | 344.1535 | 1220.6899 | 1767.6981 | 4257.5382 | 4543.1967 | 3427.6656 | 3344.8291 | 1838.0335 | 1025.2697 | 327.9405 | 22673.47
| Unit Cost ($/therm) (a) | 0.77656 | 0.77911 | 0.71353 | 0.74478 | 0.82768 | 0.85218 | 0.87689 | 0.9116 | 0.88771 | 0.83936 | 0.83554 | 0.85039
| Charges | 2.87 | 2.28 | 2.82 | 10.44 | 16.81 | 41.68 | 45.77 | 35.9 | 34.11 | 17.72 | 9.84 | 3.2 | 223.44
Water/Sewer | Read Date | 2017-08-09 | 2016-09-03 | 2017-10-01 | 2017-11-01 | 2017-12-01 | 2018-01-01 | 2018-02-01 | 2018-03-02 | 2017-04-01 | 2017-05-04 | 2017-06-01 | 2017-07-01
| Usage (gal) | 84312.33 | 113252.92 | 175071.01 | 171438.3 | 146857.5 | 92429.2 | 77609.4 | 163944.7 | 160636.73 | 179054.32 | 124335.26 | 71171.63 | 1560113.3
| Unit Cost ($/1000 gal) | 5.5651 | 5.5709 | 0.71353 | 5.5698 | 5.5814 | 5.5889 | 5.6424 | 5.6039 | 5.5919 | 5.589 | 5.5716 | 5.5834
| Charges | 5.39 | 7.25 | 1.44 | 10.97 | 9.42 | 5.93 | 5.03 | 918.73 | 10.32 | 11.5 | 7.96 | 4.57 | 998.51
Chilled Water | Read Date | 2017-08-09 | 2016-09-03 | 2017-10-01 | 2017-11-01 | 2017-12-01 | 2018-01-01 | 2018-02-01 | 2018-03-02 | 2017-04-01 | 2017-05-04 | 2017-06-01 | 2017-07-01
| Usage (ton-hr) | 96204.8138 | 104968.645 | 81638.7966 | 43396.6423 | 27633.6 | 13629.1014 | 17272.7221 | 20201.44 | 26145.7968 | 29121.687 | 59962.5806 | 89532.8619
Usage (gal)
| Unit Cost ($/ton-hr) | 0.11235 | 0.11235 | 0.11235 | 0.11235 | 0.11235 | 0.11235 | 0.11235 | 0.11235 | 0.11235 | 0.11235 | 0.11235 | 0.11235
| Charges | 124.18 | 135.49 | 105.37 | 56.01 | 35.67 | 17.59 | 22.29 | 26.07 | 33.75 | 37.59 | 77.4 | 115.56 | 786.97
Total Student Store |  | 405.92 | 460.31 | 395.26 | 372.01 | 318.17 | 284.48 | 318.27 | 1223.25 | 353.45 | 385.76 | 441.05 | 469.51 | 5427.44 | 5427.44
Notes:
(a) Consumption is based on manually collected readings of building metering,
except chilled water usage which is from readings collected through the campus building automation system.
Beginning Sept 11, water reading are colected through Aquacue system.
(b) Unit Cost for electricity is calculated from the main campus feeder (El Capitan) bill from PG&E.
(c) Unit Cost for Natural Gas is calculated from the main campus supply bill from PG&E.
(d) Unit Cost for water/sewer is calculated from the main campus supply bill from the City of Merced.
(e) The sqft for the Student Store is 1109 sqft Rm156, 378 sqft Rm 164, 691 sqft Rm 171, 100 sqft Rm171A. Total is 2278 sqft, the building total is 198293 sqft
(f) Charges are all calculated according to sqft, usage is the entire building.
[7 empty] | Room | Sqft
[7 empty] | 156 | 1109
[7 empty] | 164 | 378
[7 empty] | 171 | 691
[7 empty] | 171A | 100
2278
Note on I6: gpicazo: meter was down. Avg(2016,2017)
Note on J6: gpicazo: avg(16,17)
Note on K6: gpicazo: avg(16,17)
Note on B11: ucmuser: therms = (supplyT - returnT)*flow * 499 * 0.25 /100,000
Note on B21: ucmuser: from kol_tonhr_monthly in DB