## Load Shape (hidden)
Load Shape
70000
70000
70000
Total

## Utility Summary
Housing Utility Summary
Building | Billing Month | 2017-07-14 | 2017-08-14 | 2017-09-14 | 2017-10-14 | 2017-11-14 | 2017-12-14 | 2018-01-14 | 2018-02-14 | 2018-03-14 | 2018-04-14 | 2018-05-14 | 2018-06-14 | Total | Check
TERRACE CENTER | Electricity
COMMONS | Gas
Water
Chilled Water
KERN HALL | Electricity
Gas
Water
Chilled Water
TULARE HALL | Electricity
Gas
Water
Chilled Water
MADERA HALL | Electricity
Gas
Water
Chilled Water
KINGS HALL | Electricity
Gas
Water
Chilled Water
FRESNO HALL | Electricity
Gas
Water
Chilled Water
STANISLAUS | Electricity
HALL | Gas
Water
Chilled Water
SAN JOAQUIN | Electricity
HALL | Gas
Water
Chilled Water
MERCED HALL | Electricity
Gas
Water
Chilled Water
CALAVERAS | Electricity
HALL | Gas
Water
Chilled Water
SIERRA | Electricity
TERRACES | Gas
Water
Chilled Water
Summits - Tenaya | Electricity
(East) | Gas
Water
Chilled Water
Summits - Cathedral | Electricity
(West) | Gas
Water
Chilled Water
Summits - Half Dome | Electricity
Gas
Water
Chilled Water
Electricity
Gas
Water
Chilled Water
Total
CHECK Elec
CHECK Gas
CHECK Wat
CHECK CHW
Notes:
(a) Electricity usage readings are available for each building separately.
(b) Water meter readings are available for Valley Dining and Terrace Center Commons, Tulare, Kern, and San Joaquin Halls only.
Other housing buildings are estimated based on a size-weighted average of readings for Tulare, Kern, and San Joaquin Halls.
Full-size buildings are 2/5 times (Tulare + Kern + San Joaquin Hall readings)
Half-size buildings are 1/5 times (Tulare + Kern + San Joaquin Hall readings)
(c) Gas meter readings at Valley terraces are available for 2 locations only: HOUSING/COMMONS/DINING & KITCHEN and LAUNDRY.
Individual buildings are estimated based on a weighted average of the two readings.
Valley Dining and Terrace Center Commons are 4/24 times the sum of both readings
Full-size housing buildings are 2/24 times the sum of both readings
Half-size housing buildings are 1/24 times the sum of both readings
(d) Chilled water usage readings are available through metering for each building separately.

## Electricity
Electricity
Building | Billing Month | [12 empty] | Total
| Read Date | 2016-08-03 | 2017-09-02 | 2017-10-05 | 2016-11-01 | 2016-12-01 | 2017-01-05 | 2018-01-01 | 2018-03-01 | 2017-04-01 | 2016-05-02 | 2016-06-16 | 2015-07-05
Unit Cost ($/kWh) (a)
Cathedral | Usage (kWh)
Charges
Half Dome | Usage (kWh)
Charges
Tenaya | Usage (kWh)
Charges
SIERRA TERRACES | Usage (kWh)
Charges
vt_CALAVERAS HALL | Usage (kWh)
Charges
vt_commons (Terrace Center Commons) | Reading (kWh) |  | 2345807 | 2566544 | 2589207 | 2612102 | 2623847 | 2639619 | 2680920 | 2680920 | 2472306 | 2488598 | 2507788
Usage (kWh)
Charges
vt_FRESNO HALL | Usage (kWh)
Charges
vt_KERN HALL | Usage (kWh)
Charges
vt_KINGS HALL | Usage (kWh)
Charges
vt_MADERA HALL | Usage (kWh)
Charges
vt_MERCED HALL | Usage (kWh)
Charges
vt_SAN JOAQUIN HALL | Usage (kWh)
Charges
vt_STANISLAUS HALL | Usage (kWh)
Charges
vt_TULARE HALL | Usage (kWh)
Charges
Summits Overcharge
Summits Credit
Total Usage (kWh)
Total Charges
Notes:
(a) Unit Cost is calculated from the main campus feeder (El Capitan) bill from PG&E.
(b) The total for the Dining portion for Jovanna

## Gas
Natural Gas
Building | Billing Month | [12 empty] | Total | Check
| Read Date | 2017-08-09 | 2017-09-01
Unit Cost ($/therm) (a)
DINING BOILER (d) | Reading (100 x cub-ft) |  | 57677 | 60444 | 63416 | 67246 | 70901 | 74582 | 75150 | 75150 | 50373 | 54429 | 55048
Usage (therms)
Charges
LAUNDRY | Current Meter (100 x cub-ft) | 44738 | 44738 | 44738 | 44738 | 44738 | 44738 | 0 | 1841 | 1841 | 44738 | 44738 | 44738
| Usage (therms) | [5 empty] | 366 | [5 empty] | 84
Charges
SIERRA | Reading (100 x cub-ft) | 74260 | 74290 | 74657 | 75075 | 75554 | 75991 | 76515 | 77944 | 77944 | 73786 | 74026 | 74095
TERRACES | Usage (therms)
Charges
Summits - Tenaya | Read Date | [11 empty] | 2015-07-01
(East) | Reading (100 x cub-ft) | 60267 | 60355 | 60845 | 61548 | 62740 | 64496 | 65923 | 69536 | 69536 | 59721 | 60024 | 60118
Usage (therms)
Charges
Summits - Cathedral | Read Date | [11 empty] | 2015-07-01
(West) | Reading (100 x cub-ft) | 52731 | 52838 | 53433 | 54063 | 54833 | 55557 | 56245 | 58547 | 58547 | 51925 | 52241 | 52391
Usage (therms)
Charges
Summits - Half Dome | Read Date | [11 empty] | 2015-07-01
(West) | Reading (100 x cub-ft) | 47941 | 48326 | 49260 | 50297 | 51661 | 52807 | 54285 | 58173 | 58173 | 46324 | 46955 | 47491
Usage (therms)
Charges
Over Charge at Summits | Amount Over Charged:
Total Usage (therms)
Total Charges (c )
[5 empty] | 5226846 | 9731922 | 12684409 | 20538432 | 27244690 | 30649348 | 35610076
Notes:
(a) Unit Cost is calculated from the main campus supply bill from PG&E.
(b) There is multiple redudant metering for gas at Sierra Terraces. The reported reading is chosen first from manual readings at the common meter if available, then independent Bldg 1 and 2 meters if available, and then totalized readings in ALC when other readings are not available.
(c) O30 is calculated by excluding the amount of gas that is used by dining in order to prevent double charging.
(d) This section is used to calculate Valley Terrace gas consumption.

## Water
Water and Sewer
BUILDING | Billing Month | [12 empty] | Total | Check
| Read Date | 2016-08-03 |  |  | 2016-11-01 | [7 empty] | 2015-07-01
Unit Cost ($/1000 gal)
TERRACE | Reading (gal)
CENTER COMMONS | Usage (gal) | 19280.48 |  | 128818.7 | 136251.66 | 120022.04 | 80941.7 | 68325.42 | 145812.67 | 145812.67 | 124188.03 | 65550.21 | 16820.02
Charges
KERN HALL | Reading (gal)
| Usage (gal) | 748.27 | 24565.24 | 45217.6 | 47406 | 40684.6 | 21687.7 | 21606.4 | 44414.6 | 44414.6 | 53668.12 | 22984.86 | 447.04
Charges
TULARE HALL | Reading (gal)
| Usage (gal) | 2787.89 | 41491.35 | 97868.08 | 132806.2 | 56981.8 | 25891.7 | 38590.3 | 67322 | 67322 | 58450.19 | 21447.68 | 4301.74
Charges
MADERA HALL | Usage (gal) | [7 empty] | 60561
| Charges | [8 empty] | 60561
KINGS HALL | Usage (gal) | [7 empty] | 60561
| Charges | [8 empty] | 60561
FRESNO HALL | Usage (gal) | [7 empty] | 60561
| Charges | [8 empty] | 60561
STANISLAUS HALL | Usage (gal) | [7 empty] | 60561
| Charges | [8 empty] | 60561
SAN JOAQUIN HALL | Usage (gal) | 10479.84 | 20355.79 | 34340.21 | 34156.7 | 30309.1 | 16114.6 | 15897.3 | 24648.9 | 24648.9 | 29975.68 | 13866.4 | 1440.66
Charges
MERCED HALL | Usage (gal) | [7 empty] | 48791.15 | 48791.15
Charges
CALAVERAS HALL | Usage (gal) | [7 empty] | 48791.15 | 48791.15
Charges
SIERRA TERRACES | Usage (gal) | 205546.45 | 217952.97 | 607532.47 | 690386.65 | 647118.4 | 574393.25 | 547749.17 | 953782.81 | 953782.81 | 653133.55 | 415842.86 | 142726.16
(Tuolumne/Mariposa Halls) | Charges
Summits - Tenaya | Usage (gal) | 59171.68 | 116096.33 | 144017.45 | 153851 | 134929.9 | 84722.9 | 93125 | 168294.4 | 168294.4 | 310427.35 | 111035.29 | 58270.57
(East) | Charges
Summits - Cathedral | Usage (gal) | 28236.06 | 127461.27 | 217219.94 | 237940.6 | 237849.1 | 138879.4 | 131226 | 235512.4 | 235512.4 | 370999.86 | 92900.59 | 22099.821
(West) | Charges
Summits - Half Dome | Usage (gal) | 225348.78 | 500892.04 | 692678.97 | 682530.1 | 536345.1 | 311386.5 | 284572.1 | 562069.9 | 562069.9 | 560189.32 | 257711.98 | 131498.94
Charges
Total Usage (gal)
Total Charges
Notes:
(a) Unit Cost is calculated from the main campus supply bill from the City of Merced.
(c) Beginning Sept 2011, water reading are based on more accurate metering in Aquacue system for Commons, Kern, Tulare, Mad, Kings, Fre, Stan, San J, Merced, Cal

## Field Form (hidden)
Building | Electricity |  | Natural Gas |  | Water
| Read Date | 2007-04-05 | Read Date | 2007-04-05 | Read Date | 2007-04-05
VALLEY DINING COMMONS | Reading (kWh) | 397812 | Reading (100 x cub-ft) | 1893 | Reading (gal) | 652198
TERRACE CENTER COMMONS | Reading (kWh) | 191212 | Reading (100 x cub-ft) | 4741 | Reading (gal) | 1221637
KERN HALL | Reading (kWh) | 91887 |  |  | Reading (gal) | 660331
TULARE HALL | Reading (kWh) | 20160 |  |  | Reading (gal) | 990145
MADERA HALL | Reading (kWh) | 288887
KINGS HALL | Reading (kWh) | 24605
FRESNO HALL | Reading (kWh) | 45273
STANISLAUS HALL | Reading (kWh) | 39799
SAN JOAQUIN HALL | Reading (kWh) | 60674 |  |  | Reading (gal) | 329898
MERCED HALL | Reading (kWh) | 47599
CALAVERAS HALL | Reading (kWh) | 109408
GALLO REC AND WELLNESS | Reading (kWh) | 63988 | Reading (100 x cub-ft) | 9726

## Utilities Summary Old (hidden)
Utilities Summary for Valley Terraces - Fiscal Year 2006-2007
Building | Billing Month | Electricity | Natural Gas | Water & Sewer | Monthly Total | Cumulative Total
VALLEY DINING COMMONS | January |  | - |  | - | -
| February |  | - |  | - | -
| March |  | -
April
May
June
July
August
September
October
November
December
TERRACE CENTER COMMONS |  |  | - |  | - | -
|  |  | - |  | - | -
-
KERN HALL |  |  | - |  | - | -
|  |  | - |  | - | -
-
TULARE HALL |  |  | - |  | - | -
|  |  | - |  | - | -
-
MADERA HALL |  |  | - |  | - | -
|  |  | - |  | - | -
-
KINGS HALL |  |  | - |  | - | -
|  |  | - |  | - | -
-
FRESNO HALL |  |  | - |  | - | -
|  |  | - |  | - | -
-
STANISLAUS HALL |  |  | - |  | - | -
|  |  | - |  | - | -
-
SAN JOAQUIN HALL |  |  | - |  | - | -
|  |  | - |  | - | -
-
MERCED HALL |  |  | - |  | - | -
|  |  | - |  | - | -
-
CALAVERAS HALL |  |  | - |  | - | -
|  |  | - |  | - | -
-
TOTAL |  |  |  |  | - | -
[5 empty] | - | -
1110.6368
525.8347
Notes:
(a) Electricity bills are based on manual reads of meters for each building.
(b) Water meter readings are available for Valley Dining and Terrace Center Commons, Tulare, Kern, and San Joaquin Halls only.
Other housing buildings are estimated based on a size-weighted average of readings for Tulare, Kern, and San Joaquin Halls.
Full-size buildings are 2/5 times (Tulare + Kern + San Joaquin Hall readings)
Half-size buildings are 1/5 times (Tulare + Kern + San Joaquin Hall readings)
(c) Gas meter readings are available for 2 locations only: HOUSING/COMMONS/DINING & KITCHEN and LAUNDRY.
Individual buildings are estimated based on a weighted average of the two readings.
Valley Dining and Terrace Center Commons are 4/24 times the sum of both readings
Full-size housing buildings are 2/24 times the sum of both readings
Half-size housing buildings are 1/24 times the sum of both readings
(d) Water bills for October and November are incomplete, as meter was not read at Terrace Center Commons. Meter read has
been requested for early January 2007.

## Electric old (hidden)
Electricity Bill Details - 2006
Building | Billing Month | Read Date | Reading (kWh) | Usage (kWh) | Unit Cost ($/kWh) (a) | Charges
VALLEY DINING COMMONS | JANUARY | 2007-02-06 | 360022 |  | 0.087678
| FEBRUARY | 2006-03-06 | 154174 | 22448 | 0.09642 |  | Ratio of peak month energy over last year (Oct 06) to Feb 06 energy
| MARCH | 2006-04-04 | 180116 | 25942 | 0.09688 |  | Ratio of max summer energy last year (Aug 06) to Feb 06 energy
| APRIL | 2006-05-01 | 201334 | 21218 | 0.10269 |  | Ratio of Commons plus Dining annual energy to Dining annual energy
| MAY | 2006-06-01 | 220390 | 19056 | 0.12096
| JUNE | 2006-06-28 | 232343 | 11953 | 0.11637
| JULY | 2006-07-27 | 248038 | 15695 | 0.11637
| AUGUST | 2006-09-05 | 267464 | 19426 | 0.11484
| SEPTEMBER | 2006-10-03 | 286756 | 19292 | 0.1272
| OCTOBER | 2006-11-14 | 315538 | 28782 | 0.1144
| NOVEMBER | 2006-12-05 | 328546 | 13008 | 0.0893
| DECEMBER | 2006-01-08 | 343366 | 14820 | 0.090714
TERRACE CENTER COMMONS | JANUARY | 2007-02-06 | 174797
| FEBRUARY | 2006-03-06 | 78620 | 11826
| MARCH | 2006-04-04 | 87253 | 8633 | 0.09688
| APRIL | 2006-05-01 | 97941 | 10688 | 0.10269
| MAY | 2006-06-01 | 104773 | 6832 | 0.12096
| JUNE | 2006-06-28 | 111739 | 6966 | 0.11637
| JULY | 2006-07-27 | 121057 | 9318 | 0.11637
| AUGUST | 2006-09-05 | 130816 | 9759 | 0.11484
| SEPTEMBER | 2006-10-03 | 139074 | 8258 | 0.1272
| OCTOBER | 2006-11-14 | 151403 | 12329 | 0.1144
| NOVEMBER | 2006-12-05 | 157658 | 6255 | 0.0893
| DECEMBER | 2006-01-08 | 166196 | 8538 | 0.090714
KERN HALL | JANUARY | 2006-01-30 | 32372 | 3501
| FEBRUARY | 2006-03-06 | 38477 | 6105
| MARCH | 2006-04-04 | 42917 | 4440 | 0.09688
| APRIL | 2006-05-01 | 47725 | 4808 | 0.10269
| MAY | 2006-06-01 | 51150 | 3425 | 0.12096
| JUNE | 2006-06-28 | 52405 | 1255 | 0.11637
| JULY | 2006-07-27 | 55077 | 2672 | 0.11637
| AUGUST | 2006-09-05 | 58825 | 3748 | 0.11484
| SEPTEMBER | 2006-10-03 | 63996 | 5171 | 0.1272
| OCTOBER | 2006-11-14 | 71634 | 7638 | 0.1144
| NOVEMBER | 2006-12-05 | 75322 | 3688 | 0.0893
| DECEMBER | 2006-01-08 | 78352 | 3030 | 0.090714
TULARE HALL | JANUARY | 2006-01-30 | 8065 | 882
| FEBRUARY | 2006-03-06 | 9664 | 1595
| MARCH | 2006-04-04 | 10629 | 965 | 0.09688
| APRIL | 2006-05-01 | 11744 | 1115 | 0.10269
| MAY | 2006-06-01 | 12593 | 849 | 0.12096
| JUNE | 2006-06-28 | 12883 | 290 | 0.11637
| JULY | 2006-07-27 | 13948 | 1065 | 0.11637
| AUGUST | 2006-09-05 | 14825 | 877 | 0.11484
| SEPTEMBER | 2006-10-03 | 15742 | 917 | 0.1272
| OCTOBER | 2006-11-14 | 16958 | 1216 | 0.1144
| NOVEMBER | 2006-12-05 | 17499 | 541 | 0.0893
| DECEMBER | 2006-01-08 | 18067 | 568 | 0.090714
MADERA HALL | JANUARY | 2006-01-30 | 100061 | 11138
| FEBRUARY | 2006-03-06 | 120798 | 20737
| MARCH | 2006-04-04 | 135233 | 14435 | 0.09688
| APRIL | 2006-05-01 | 151692 | 16459 | 0.10269
| MAY | 2006-06-01 | 163453 | 11761 | 0.12096
| JUNE | 2006-06-28 | 167840 | 4387 | 0.11637
| JULY | 2006-07-27 | 173011 | 5171 | 0.11637
| AUGUST | 2006-09-05 | 184278 | 11267 | 0.11484
| SEPTEMBER | 2006-10-03 | 199611 | 15333 | 0.1272
| OCTOBER | 2006-11-14 | 223553 | 23942 | 0.1144
| NOVEMBER | 2006-12-05 | 234931 | 11378 | 0.0893
| DECEMBER | 2006-01-08 | 244644 | 9713 | 0.090714
KINGS HALL | JANUARY | 2006-01-30 | 9628 | 1220
| FEBRUARY | 2006-03-06 | 11206 | 1576
| MARCH | 2006-04-04 | 12068 | 862 | 0.09688
| APRIL | 2006-05-01 | 13016 | 948 | 0.10269
| MAY | 2006-06-01 | 13993 | 977 | 0.12096
| JUNE | 2006-06-28 | 14987 | 994 | 0.11637
| JULY | 2006-07-27 | 16161 | 1174 | 0.11637
| AUGUST | 2006-09-05 | 17414 | 1253 | 0.11484
| SEPTEMBER | 2006-10-03 | 18641 | 1227 | 0.1272
| OCTOBER | 2006-11-14 | 20104 | 1463 | 0.1144
| NOVEMBER | 2006-12-05 | 20780 | 676 | 0.0893
| DECEMBER | 2006-01-08 | 21902 | 1122 | 0.090714
FRESNO HALL | JANUARY | 2006-01-30 | 15610 | 1762
| FEBRUARY | 2006-03-06 | 18840 | 3230
| MARCH | 2006-04-04 | 21103 | 2263 | 0.09688
| APRIL | 2006-05-01 | 23592 | 2489 | 0.10269
| MAY | 2006-06-01 | 25437 | 1845 | 0.12096
| JUNE | 2006-06-28 | 26075 | 638 | 0.11637
| JULY | 2006-07-27 | 27443 | 1368 | 0.11637
| AUGUST | 2006-09-05 | 29313 | 1870 | 0.11484
| SEPTEMBER | 2006-10-03 | 31784 | 2471 | 0.1272
| OCTOBER | 2006-11-14 | 35317 | 3533 | 0.1144
| NOVEMBER | 2006-12-05 | 37042 | 1725 | 0.0893
| DECEMBER | 2006-01-08 | 38380 | 1338 | 0.090714
STANISLAUS HALL | JANUARY | 2006-01-30 | 14754 | 1951
| FEBRUARY | 2006-03-06 | 18436 | 3682
| MARCH | 2006-04-04 | 21034 | 2598 | 0.09688
| APRIL | 2006-05-01 | 23689 | 2655 | 0.10269
| MAY | 2006-06-01 | 25567 | 1878 | 0.12096
| JUNE | 2006-06-28 | 26114 | 547 | 0.11637
| JULY | 2006-07-27 | 27068 | 954 | 0.11637
| AUGUST | 2006-09-05 | 28320 | 1252 | 0.11484
| SEPTEMBER | 2006-10-03 | 30054 | 1734 | 0.1272
| OCTOBER | 2006-11-14 | 32847 | 2793 | 0.1144
| NOVEMBER | 2006-12-05 | 34080 | 1233 | 0.0893
| DECEMBER | 2006-01-08 | 35209 | 1129 | 0.090714
SAN JOAQUIN HALL | JANUARY | 2006-01-30 | 23118 | 2342
| FEBRUARY | 2006-03-06 | 27826 | 4706
| MARCH | 2006-04-04 | 31063 | 3237 | 0.09688
| APRIL | 2006-05-01 | 34593 | 3530 | 0.10269
| MAY | 2006-06-01 | 37128 | 2535 | 0.12096
| JUNE | 2006-06-28 | 37996 | 868 | 0.11637
| JULY | 2006-07-27 | 39535 | 1539 | 0.11637
| AUGUST | 2006-09-05 | 41954 | 2419 | 0.11484
| SEPTEMBER | 2006-10-03 | 44713 | 2759 | 0.1272
| OCTOBER | 2006-11-14 | 48845 | 4132 | 0.1144
| NOVEMBER | 2006-12-05 | 50765 | 1920 | 0.0893
| DECEMBER | 2006-01-08 | 52490 | 1725 | 0.090714
MERCED HALL | JANUARY | 2006-01-30 | 23547 | 2437
| FEBRUARY | 2006-03-06 | 28027 | 4480
| MARCH | 2006-04-04 | 30998 | 2971 | 0.09688
| APRIL | 2006-05-01 | 34514 | 3516 | 0.10269
| MAY | 2006-06-01 | 37305 | 2791 | 0.12096
| JUNE | 2006-06-28 | 38173 | 868 | 0.11637
| JULY | 2006-07-27 | 40181 | 2008 | 0.11637
| AUGUST | 2006-09-05 | 42387 | 2206 | 0.11484
| SEPTEMBER | 2006-10-03 | 43485 | 1098 | 0.1272
| OCTOBER | 2006-11-14 | 44489 | 1004 | 0.1144
| NOVEMBER | 2006-12-05 | 44895 | 406 | 0.0893
| DECEMBER | 2006-01-08 | 45532 | 632 | 0.090714
CALAVERAS HALL | JANUARY | 2006-01-30 | 46264 | 5067
| FEBRUARY | 2006-03-06 | 55732 | 9468
| MARCH | 2006-04-04 | 62119 | 6387 | 0.09688
| APRIL | 2006-05-01 | 68913 | 6794 | 0.10269
| MAY | 2006-06-01 | 73696 | 4783 | 0.12096
| JUNE | 2006-06-28 | 75679 | 1983 | 0.11637
| JULY | 2006-07-27 | 79130 | 3451 | 0.11637
| AUGUST | 2006-09-05 | 84495 | 5365 | 0.11484
| SEPTEMBER | 2006-10-03 | 87892 | 3397 | 0.1272
| OCTOBER | 2006-11-14 | 92145 | 4253 | 0.1144
| NOVEMBER | 2006-12-05 | 94587 | 2442 | 0.0893
| DECEMBER | 2006-01-08 | 98476 | 3889 | 0.090714
Notes:
(a) Unit Cost is calculated from the main campus feeder (El Capitan) bill from PG&E.

## Gas Old (hidden)
Natural Gas Bill Details - 2006
Building | Billing Month | Date | Prior Meter (100 x cub-ft) | Current Meter (100 x cub-ft) | Usage (therms) | Unit Cost ($/therm) (a) | Charges
HOUSING/COMMONS/DINING & KITCHEN | April | 2006-05-01 | 48534 | 53936
| May | 2006-06-01 | 53936 | 57534
| June | 2006-06-28 | 57534 | 59617
| July | 2006-07-27 | 59617 | 61755
| August | 2006-09-05 | 61755 | 64169
| September | 2006-10-03 |  | 67411 |  | 0.9132
| October | 2006-11-14 |  | 73404 |  | 0.7521
| November | 2006-12-05 |  | 77739 |  | 1.0069
| December | 2006-01-08 |  | 83671 |  | 0.92145
LAUNDRY | April | 2006-05-01 | 2444 | 2778
| May | 2006-06-01 | 2778 | 2978
| June | 2006-06-28 | 2978 | 3019
| July | 2006-07-27 | 3019 | 3061
| August | 2006-09-05 | 3061 | 3162
| September | 2006-10-03 |  | 3391 |  | 0.9132
| October | 2006-11-14 |  | 3708 |  | 0.7521
| November | 2006-12-05 |  | 3890 |  | 1.0069
| December | 2006-01-08 |  | 4075 |  | 0.92145
Notes:
(a) Unit Cost is calculated from the main campus supply bill from PG&E.

## Water Old (hidden)
Water & Sewer Bill Details - 2006
BUILDING | Billing Month | Read Date | Reading (gal) | Usage (gal) | Unit Cost ($/1000 gal) | Charges
VALLEY DINING COMMONS (metered) | JANUARY
FEBRUARY
MARCH
| APRIL | 2006-05-01 | 218403 | 218403 | 1.4668
| MAY | 2006-06-01 | 0 | 119456 | 1.46
| JUNE | 2006-06-28 | 136405 | 136405 | 1.4481
| JULY | 2006-07-27 | 157566 | 21161 | 1.4397
| AUGUST | 2006-09-05 | 202655 |  | 1.4295
| SEPTEMBER | 2006-10-03 | 279159 |  | 1.4241
| OCTOBER | 2006-11-14 | 390168 |  | 1.4306
| NOVEMBER | 2006-12-05 | 433393 |  | 1.434
| DECEMBER | 2006-01-08 | 463056 |  | 1.4591
TERRACE CENTER COMMONS (metered) | JANUARY
FEBRUARY
| MARCH |  | 357993
| APRIL | 2006-05-02 | 456376 |  | 1.4668
| MAY | 2006-06-01 | 521384 |  | 1.46
| JUNE | 2006-06-28 | 527288 |  | 1.4481
| JULY | 2006-07-27 | 537280 | 9992 | 1.4397
| AUGUST | 2006-09-05 | 579263 |  | 1.4295
| SEPTEMBER | 2006-10-03 | 660645 |  | 1.4241
| OCTOBER | 2006-11-14 | not read | not read | 1.4306 | not read
| NOVEMBER | 2006-12-05 | not read | not read | 1.434 | not read
| DECEMBER | 2006-01-08 | 1013695 |  | 1.4591
KERN HALL (metered) | JANUARY
FEBRUARY
| MARCH |  | 187391
| APRIL | 2006-05-01 | 231620 |  | 1.4668
| MAY | 2006-06-01 | 261241 |  | 1.46
| JUNE | 2006-06-28 | 261527 |  | 1.4481
| JULY | 2006-07-27 | 261773 | 246 | 1.4397
| AUGUST | 2006-09-05 | 284721 |  | 1.4295
| SEPTEMBER | 2006-10-03 | 349803 |  | 1.4241
| OCTOBER | 2006-11-14 | 439430 |  | 1.4306
| NOVEMBER | 2006-12-05 | 481480 |  | 1.434
| DECEMBER | 2006-01-08 | 506512 |  | 1.4591
TULARE HALL (metered) | JANUARY
FEBRUARY
| MARCH |  | 507695
| APRIL | 2006-05-01 | 562524 |  | 1.4668
| MAY | 2006-06-01 | 622435 |  | 1.46
| JUNE | 2006-06-28 | 622804 |  | 1.4481
| JULY | 2006-07-27 | 623572 | 768 | 1.4397
| AUGUST | 2006-09-05 | 641622 |  | 1.4295
| SEPTEMBER | 2006-10-03 | 690560 |  | 1.4241
| OCTOBER | 2006-11-14 | 770511 |  | 1.4306
| NOVEMBER | 2006-12-05 | 814266 |  | 1.434
| DECEMBER | 2006-01-08 | 844833 |  | 1.4591
MADERA HALL (estimated) (b) | JANUARY
FEBRUARY
MARCH
| APRIL | 2006-05-01 |  | 43768 | 1.4668
| MAY | 2006-06-01 |  | 37168 | 1.46
| JUNE | 2006-06-28 |  | 243 | 1.4481
| JULY | 2006-07-27 |  | 5728 | 1.4397
| AUGUST | 2006-09-05 |  | 66804 | 1.4295
| SEPTEMBER | 2006-10-03 |  |  | 1.4241
| OCTOBER | 2006-11-14 |  |  | 1.4306
| NOVEMBER | 2006-12-05 |  |  | 1.434
| DECEMBER | 2006-01-08 |  |  | 1.4591
KINGS HALL (estimated) (b) | JANUARY
FEBRUARY
MARCH
| APRIL | 2006-05-01 |  | 43768 | 1.4668
| MAY | 2006-06-01 |  | 37168 | 1.46
| JUNE | 2006-06-28 |  | 243 | 1.4481
| JULY | 2006-07-27 |  | 5728 | 1.4397
| AUGUST | 2006-09-05 |  | 66804 | 1.4295
| SEPTEMBER | 2006-10-03 |  |  | 1.4241
| OCTOBER | 2006-11-14 |  |  | 1.4306
| NOVEMBER | 2006-12-05 |  |  | 1.434
| DECEMBER | 2006-01-08 |  |  | 1.4591
FRESNO HALL (estimated) (b) | JANUARY
FEBRUARY
MARCH
| APRIL | 2006-05-01 |  | 43768 | 1.4668
| MAY | 2006-06-01 |  | 37168 | 1.46
| JUNE | 2006-06-28 |  | 243 | 1.4481
| JULY | 2006-07-27 |  | 5728 | 1.4397
| AUGUST | 2006-09-05 |  | 66804 | 1.4295
| SEPTEMBER | 2006-10-03 |  |  | 1.4241
| OCTOBER | 2006-11-14 |  |  | 1.4306
| NOVEMBER | 2006-12-05 |  |  | 1.434
| DECEMBER | 2006-01-08 |  |  | 1.4591
STANISLAUS HALL (estimated) (b) | JANUARY
FEBRUARY
MARCH
| APRIL | 2006-05-01 |  | 43768 | 1.4668
| MAY | 2006-06-01 |  | 37168 | 1.46
| JUNE | 2006-06-28 |  | 243 | 1.4481
| JULY | 2006-07-27 |  | 5728 | 1.4397
| AUGUST | 2006-09-05 |  | 66804 | 1.4295
| SEPTEMBER | 2006-10-03 |  |  | 1.4241
| OCTOBER | 2006-11-14 |  |  | 1.4306
| NOVEMBER | 2006-12-05 |  |  | 1.434
| DECEMBER | 2006-01-08 |  |  | 1.4591
SAN JOAQUIN HALL (metered) | JANUARY
FEBRUARY
| MARCH |  | 112633
| APRIL | 2006-05-01 | 144880 |  | 1.4668
| MAY | 2006-06-01 | 166851 |  | 1.46
| JUNE | 2006-06-28 | 166924 |  | 1.4481
| JULY | 2006-07-27 | 16170 | 16170 | 1.4397
| AUGUST | 2006-09-05 | 175583 |  | 1.4295
| SEPTEMBER | 2006-10-03 | 201419 |  | 1.4241
| OCTOBER | 2006-11-14 | 239767 |  | 1.4306
| NOVEMBER | 2006-12-05 | 255060 |  | 1.434
| DECEMBER | 2006-01-08 | 265481 |  | 1.4591
MERCED HALL (estimated) (b) | JANUARY
FEBRUARY
MARCH
| APRIL | 2006-05-01 |  | 43768 | 1.4668
| MAY | 2006-06-01 |  | 37168 | 1.46
| JUNE | 2006-06-28 |  | 243 | 1.4481
| JULY | 2006-07-27 |  | 5728 | 1.4397
| AUGUST | 2006-09-05 |  | 66804 | 1.4295
| SEPTEMBER | 2006-10-03 |  |  | 1.4241
| OCTOBER | 2006-11-14 |  |  | 1.4306
| NOVEMBER | 2006-12-05 |  |  | 1.434
| DECEMBER | 2006-01-08 |  |  | 1.4591
CALAVERAS HALL (estimated) (b) | JANUARY
FEBRUARY
MARCH
| APRIL | 2006-05-01 |  | 43768 | 1.4668
| MAY | 2006-06-01 |  | 37168 | 1.46
| JUNE | 2006-06-28 |  | 243 | 1.4481
| JULY | 2006-07-27 |  | 5728 | 1.4397
| AUGUST | 2006-09-05 |  | 66804 | 1.4295
| SEPTEMBER | 2006-10-03 |  |  | 1.4241
| OCTOBER | 2006-11-14 |  |  | 1.4306
| NOVEMBER | 2006-12-05 |  |  | 1.434
| DECEMBER | 2006-01-08 |  |  | 1.4591
Notes:
(a) Unit Cost is calculated from the main campus supply bill from the City of Merced.
(b) Estimated bills are a size-weighted average of readings for Tulare, Kern, and San Joaquin Halls.
Full-size buildings are 2/5 times (Tulare + Kern + San Joaquin Hall readings)
Half-size buildings are 1/5 times (Tulare + Kern + San Joaquin Hall readings)

## Chilled Water
Chilled Water
BUILDING | Billing Month | [12 empty] | Total | Check
| Read Date | 2015-08-03 |  |  | 2016-11-01 | 2016-12-01 | 2015-01-01 | 2017-02-02 | 2012-03-01 | 2015-04-01 | 2014-05-04 | 2015-06-01 | 2013-07-01
| Unit Cost ($/ton-hr) | 0.11235 | 0.11235 | 0.11235 | 0.11235 | 0.11235 | 0.11235 | 0.11235 | 0.11235 | 0.11235 | 0.11235 | 0.11235 | 0.11235
TERRACE | Usage (ton-hr)
CENTER COMMONS | Charges
KERN HALL | Usage (ton-hr)
0219 | Charges
TULARE HALL | Usage (ton-hr)
0216 | Charges
MADERA HALL | Usage (ton-hr)
0217 | Charges
KINGS HALL | Usage (ton-hr)
0220 | Charges
FRESNO HALL | Usage (ton-hr)
0221 | Charges
STANISLAUS HALL | Usage (ton-hr)
0218 | Charges
SAN JOAQUIN HALL | Usage (ton-hr)
0222 | Charges
MERCED HALL | Usage (ton-hr)
0224 | Charges
CALAVERAS HALL | Usage (ton-hr)
0223 | Charges
SIERRA TERRACES | Usage (ton-hr)
0212 | Charges
Summits - Tenaya | Usage (ton-hr)
(East) | Charges
0227
Summits - Cathedral | Usage (ton-hr)
(West) | Charges
0225
Summits - Half Dome | Usage (ton-hr)
Charges
Total Usage (ton-hr)
Total Charges
Notes:
(a) Unit Cost is calculated from the main campus electricity feeder (El Capitan) bill from PG&E and an average plant efficiency of 0.75 kW/ton.
(b) Chilled water data was not available for 18 days of November. Therefore, recorded chilled water flows are corrected by a factor of 30/12.
(c) Due to a database problem in the energy management control system, chilled water trend data to calculate recharges is not available for Dec-09 through Mar-10.
Mar-10 values are totals of chilled water usage from Dec-08 through Mar-09 with current average water rates from Dec-09 through Mar-10.
0